## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295024EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) HPCS | 4.2 | A1 | 295024
2 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.7 | A2 | 295018
3 | (295038EK2.07) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Control room heating, ventilation and air conditioning | 3.5 | K2 | 295038
4 | (295025EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Decay heat | 3.8 | K1 | 295025
5 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 295005
6 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
7 | (295023AA1.10) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Alternate fuel pool makeup systems | 3.5 | A1 | 295023
8 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
9 | (295021AK2.04) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Component cooling water systems | 3.4 | K2 | 295021
10 | (295001AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Thermal-hydraulic instabilities | 4.3 | K1 | 295001
11 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 295030
12 | (295037EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Recirculation pump trip/runback | 3.9 | K3 | 295037
13 | (295004AA1.01) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) DC electrical distribution | 3.8 | A1 | 295004
14 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
15 | (295026EK2.08) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.8 | K2 | 295026
16 | (295006AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Pressure control | 4.1 | K1 | 295006
17 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 295031
18 | (295027EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Containment spray | 4.2 | K3 | 295027
19 | (295016AA1.05) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) DC electrical distribution | 3.5 | A1 | 295016
20 | (700000AA2.06) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator frequency limitations | 3.2 | A2 | 700000
21 | (295014AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.8 to 41.10) Void concentration | 3.7 | K1 | 295014
22 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 295017
23 | (295032EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.5 / 45.6) Reactor SCRAM | 4 | K3 | 295032
24 | (295033EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295033
25 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 4.2 | A2 | 295013
26 | (295008AK2.01) Knowledge of the relationship between the (APE 8) HIGH REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RPS | 3.9 | K2 | 295008
27 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
28 | (262002A2.05) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of UPS | 3.8 | A2 | 262002
29 | (263000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution | 4 | K1 | 263000
30 | (215005A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Lights and alarms | 3.8 | A1 | 215005
31 | (205000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) Component cooling water systems | 3.2 | K6 | 205000
32 | (217000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Flow control | 3.8 | K5 | 217000
33 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 215003
34 | (209002A4.03) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Injection valve | 4.3 | A4 | 209002
35 | (203000K3.03) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Automatic depressurization logic | 4 | K3 | 203000
36 | (209001K4.01) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overpressurization of core spray piping | 3.5 | K4 | 209001
37 | (264000A3.06) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Cooling water system operation | 3.6 | A3 | 264000
38 | (215004K2.01) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SRMS channels/detectors | 3.3 | K2 | 215004
39 | (211000A2.09) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Automatic or manual initiation failure | 4.4 | A2 | 211000
40 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
41 | (510000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) Intake screen differential pressure/level | 3.1 | A1 | 510000
42 | (218000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.5 | K6 | 218000
43 | (261000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Primary containment pressure changes | 3.3 | K5 | 261000
44 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291007K1.04) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Purpose of a demineralizer | 2.9 | C | 300000
45 | (223002A4.04) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) System indicating lights and alarms | 3.8 | A4 | 223002
46 | (400000K3.06) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Recirculation system | 3.8 | K3 | 400000
47 | (212000K4.03) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Transferring RPS power supplies | 3.7 | K4 | 212000
48 | (262001A3.06) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Tap changers | 2.9 | A3 | 262001
49 | (239002A2.01) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck-open vacuum breakers | 3.7 | K2 | 239002
50 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
51 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
52 | (215005A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) LPRM, APRM, or OPRM channel bypass status | 3.7 | A1 | 215005
53 | (202002K4.07) Knowledge of (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Minimum and maximum pump speed setpoints | 3.2 | K4 | 202002
54 | (215001A3.06) Ability to monitor automatic operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.7 / 45.7) TIP detector insertion into the reactor core | 2.9 | A3 | 215001
55 | (290001K2.01) (SF5 SC) SECONDARY CONTAINMENT Knowledge of electrical power supplies to the following: (CFR: 41.7) Airlock door interlock | 2.7 | K2 | 290001
56 | (230000A2.04) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve openings due to malfunction(s) | 3.6 | A2 | 230000
57 | (201003K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and the following systems: (CFR: 41.1 to 41.10 / 45.1 to 45.8) Control rod drive hydraulic system | 3.9 | K1 | 201003
58 | (245000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.5 / 45.5) Turbine lube oil pressure | 2.9 | A1 | 245000
59 | (233000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP: (CFR: 41.7 / 45.7) Residual heat removal system | 2.8 | K6 | 233000
60 | (201005K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.5 to 41.7 / 45.3 / 45.5) High-power setpoints | 3.7 | K5 | 201005
61 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 201001
62 | (234000A4.02) Ability to manually operate and/or monitor the (SF8 FH) FUEL HANDLING in the control room: (CFR: 41.7 / 45.5 to 45.8) Control rod drive system | 3.9 | A4 | 234000
63 | (271000K3.04) Knowledge of the effect that a loss or malfunction of the (SF9 OG) OFFGAS SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Hydrogen concentration | 3.1 | K3 | 271000
64 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
70 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
71 | (292004K1.01) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the moderator temperature coefficient of reactivity | 3.2 | R | 292004
72 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
73 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
74 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
75 | (293007K1.12) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define percent reactor power | 2.7 | T | 293007
76 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 295024
77 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.5 | A2 | 295018
78 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 295038
79 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
80 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295005
81 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.7 | A2 | 600000
82 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 295023
83 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295002
84 | (295036EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Cause of the high water level | 3.6 | A2 | 295036
85 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295035
86 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 205000
87 | (217000A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation signal | 4.2 | A2 | 217000
88 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 215003
89 | (209002A2.16) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Emergency diesel generator failure | 3.9 | A2 | 209002
90 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 203000
91 | (272000A2.04) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) DC electrical failure | 3.2 | A2 | 272000
92 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 216000
93 | (256000A2.14) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low condensate storage tank level | 3 | A2 | 256000
94 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4