## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295025EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) HPCI operation | 3.5 | K3 | 295025
2 | (295006AA1.07) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Control rod position | 4.2 | A1 | 295006
3 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 295016
4 | (295023AK2.03) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Radiation monitoring system | 3.7 | K2 | 295023
5 | (295024EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.5 | A2 | 295024
6 | (700000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Over-excitation | 3.1 | K1 | 700000
7 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
8 | (295038EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.8 | A1 | 295038
9 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 295018
10 | (295001AK2.03) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 3.4 | K2 | 295001
11 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
12 | (295030EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Downcomer/horizontal vent submergence | 3.9 | K1 | 295030
13 | (295037EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Bypassing rod insertion blocks | 3.8 | K3 | 295037
14 | (295003AA1.01) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) AC electrical distribution system | 4 | A1 | 295003
15 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 295019
16 | (295004AK2.01) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Battery charger | 3.8 | K2 | 295004
17 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295031
18 | (295005AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Core thermal limits | 3.8 | K1 | 295005
19 | (295026EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Emergency/normal depressurization | 4.3 | K3 | 295026
20 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
21 | (295009AK2.04) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Recirculation flow control system | 3.5 | K2 | 295009
22 | (295020AA2.08) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) High-energy line break | 3.6 | A2 | 295020
23 | (295029EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Venting the suppression pool (Mark I containment) | 4 | K1 | 295029
24 | (295002AK3.11) Knowledge of the reasons for the following responses or actions as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.5 / 45.6) Bypass augmented offgas system | 3.1 | K3 | 295002
25 | (500000EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.7 / 45.6) Drywell sprays | 3.6 | A1 | 500000
26 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 295036
27 | (205000A4.01) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) SDC/RHR pumps | 3.9 | A4 | 205000
28 | (262001A3.02) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Bus transfer | 3.7 | A3 | 262001
29 | (300000K2.01) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 300000
30 | (239002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) AC power | 3.2 | K6 | 239002
31 | (215004A2.05) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/system | 3.7 | A2 | 215004
32 | (215005A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Lights and alarms | 3.8 | A1 | 215005
33 | (203000K4.04) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump seal cooler | 2.7 | K4 | 203000
34 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 510000
35 | (212000K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Process radiation monitoring | 3.1 | K3 | 212000
36 | (217000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.5 / 45.3) Adequate core cooling | 4.2 | K5 | 217000
37 | (209002K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection | 3.2 | K1 | 209002
38 | (215003A4.04) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM back panel switches, meters, and indicating lights | 3.2 | A4 | 215003
39 | (264000A3.05) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Load shedding and sequencing | 3.9 | A3 | 264000
40 | (262002K2.01) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Static switch/inverter | 3.3 | K2 | 262002
41 | (218000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) Reactor water level instrumentation | 4.1 | K6 | 218000
42 | (223002A2.04) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Process radiation monitoring system failures | 3.4 | A2 | 223002
43 | (209001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Torus/suppression pool water level | 3.6 | A1 | 209001
44 | (400000K4.02) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Containment isolation | 3.6 | K4 | 400000
45 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (291003K1.03) CONTROLLERS AND POSITIONERS (CFR: 41.7) Operation of valve controllers in manual and automatic modes, including seal-in features | 3.4 | C | 211000
46 | (261000K3.03) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Primary containment pressure (Mark I and II) | 3.7 | K3 | 261000
47 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
48 | (259002K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor water level | 4.2 | K1 | 259002
49 | (205000A4.06) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor water level | 4 | A4 | 205000
50 | (262001A3.01) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Breaker tripping | 3.6 | A3 | 262001
51 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
52 | (239002K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.7 / 45.5 to 45.8) Discharge line vacuum breaker | 3.4 | K6 | 239002
53 | (201005K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.5 to 41.7 / 45.3 / 45.5) Position indication | 3.8 | K5 | 201005
54 | (259001K1.19) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 FWS) FEEDWATER SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.3 | K1 | 259001
55 | (271000A4.02) Ability to manually operate and/or monitor the (SF9 OG) OFFGAS SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System flows | 3.3 | A4 | 271000
56 | (239003A3.04) Ability to monitor automatic operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.7 / 45.7) MSIV leakage flows | 2.7 | A3 | 239003
57 | (245000K2.04) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Hydrogen seal oil pumps | 2.9 | K2 | 245000
58 | (239001K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM: (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.8 | K6 | 239001
59 | (202001A2.12) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of reactor feedwater | 3.9 | A2 | 202001
60 | (204000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM including: (CFR: 41.5 / 45.5) Component cooling water temperature | 3 | A1 | 204000
61 | (201001K4.10) Knowledge of (SF1 CRDH) CRD HYDRAULIC SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.2-3 / 41.6-7 / 41.10 / 41.12 / 45.1-6) Control of rod movement with HCU directional control valves | 3.8 | K4 | 201001
62 | (234000) (SF8 FH) FUEL HANDLING (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 234000
63 | (268000K3.06) Knowledge of the effect that a loss or malfunction of the (SF9 RW) RADWASTE SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Secondary containment drain sumps | 2.8 | K3 | 268000
64 | (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (292006K1.03) FISSION PRODUCT POISONS (CFR: 41.1) Describe the production of xenon-135 | 2.9 | R | 292006
71 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
72 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
73 | (293009K1.31) CORE THERMAL LIMITS (CFR: 41.14) (PELLET-CLAD INTERACTION) Describe pellet-clad interaction | 3.4 | T | 293009
74 | (293007K1.07) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Describe how the presence of gases or steam can | 2.9 | T | 293007
75 | (293010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the definition of nil-ductility transition temperature | 2.7 | T | 293010
76 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295025
77 | (295006) (APE 6) SCRAM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 295006
78 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.8 | A2 | 295016
79 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295023
80 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.7 | A2 | 295024
81 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 700000
82 | (600000AA2.05) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Ventilation alignment necessary to secure affected area | 3.2 | A2 | 600000
83 | (295007AA2.04) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Bypass valve capacity | 4 | A2 | 295007
84 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 295035
85 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 4 | A2 | 295032
86 | (215004A2.02) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) SRMS inoperable condition | 3.7 | A2 | 215004
87 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 215005
88 | (203000A2.07) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump seal failure | 2.9 | A2 | 203000
89 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 510000
90 | (212000A2.14) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High SCRAM discharge instrument volume water level | 4.1 | A2 | 212000
91 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 286000
92 | (219000A2.05) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC electrical failures | 3.8 | A2 | 219000
93 | (241000) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 241000
94 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4