## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295004AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.7 | K1 | 295004
2 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.9 | A2 | 295023
3 | (295018AA1.01) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Backup systems | 3.3 | A1 | 295018
4 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 295025
5 | (295006AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor power response | 4.2 | K3 | 295006
6 | (295037EK2.17) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Reactor water level control system | 4.1 | K2 | 295037
7 | (295005AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor level control | 3.8 | K1 | 295005
8 | (295016AA2.02) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295016
9 | (295038EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Post\u2011accident sample system | 3 | A1 | 295038
10 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G | 295019
11 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
12 | (295031EK2.14) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Emergency generators | 4.1 | K2 | 295031
13 | (295001AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Thermal-hydraulic instabilities | 4.3 | K1 | 295001
14 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
15 | (295021AA1.01) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295021
16 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295030
17 | (295024EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Suppression pool spray | 4.1 | K3 | 295024
18 | (700000AK2.02) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Breakers, relays | 3.2 | K2 | 700000
19 | (600000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 24) PLANT FIRE ON SITE: (CFR: 41.8 / 41.10 / 45.3) Firefighting methods for each type of fire | 3.4 | K1 | 600000
20 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
21 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 3.8 | G | 295029
22 | (295020AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Suppression chamber pressure response | 3.5 | K3 | 295020
23 | (500000EK2.10) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Drywell hydrogen mixing compressors (BWR 6) | 3.6 | K2 | 500000
24 | (295002AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.8 to 41.10) Loss of heat sink | 4.1 | K1 | 295002
25 | (295017AA2.06) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 3.4 | A2 | 295017
26 | (295014AA1.08) Ability to operate and/or monitor the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.7 / 45.6) HPCI | 3.7 | A1 | 295014
27 | (211000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Plant air systems | 2.5 | K6 | 211000
28 | (217000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main steam system | 3.6 | K1 | 217000
29 | (209002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Indications of pump cavitation | 3.5 | K5 | 209002
30 | (262002A3.01) Ability to monitor automatic operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.7 / 45.7) Transfer of power sources | 3.4 | A3 | 262002
31 | (212000A4.18) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Transferring RPS power supplies | 3.6 | A4 | 212000
32 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 215004
33 | (205000A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.5 / 45.5) Throttle valve position | 3.2 | A1 | 205000
34 | (300000K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Plant ventilation systems | 3 | K3 | 300000
35 | (259002A2.01) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of any number of main steam flow inputs | 3.8 | A2 | 259002
36 | (203000K2.01) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Pumps | 4.1 | K2 | 203000
37 | (218000K4.02) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Allow manual initiation of ADS logic | 4.1 | K4 | 218000
38 | (510000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Intake/traveling screen high differential pressure/ differential level | 3.2 | K6 | 510000
39 | (261000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 2.8 | K1 | 261000
40 | (264000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Parallel vs. isochronous operation | 3.6 | K5 | 264000
41 | (263000A3.03) Ability to monitor automatic operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Transfers | 3.3 | A3 | 263000
42 | (209001A4.02) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valves | 4.2 | A4 | 209001
43 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291008K1.01) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Purpose for racking out breakers (deenergize components and associated control and indication circuits) | 3.6 | C | 400000
44 | (215005A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Reactor power indication | 4.3 | A1 | 215005
45 | (215003K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM system | 3.4 | K3 | 215003
46 | (262001A2.01) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine/generator trip | 4 | A2 | 262001
47 | (223002K2.01) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF Knowledge of electrical power supplies to the following: (CFR: 41.7) Logic power supplies | 3.6 | K2 | 223002
48 | (239002K4.10) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Methods for determining position of SRV | 4.1 | K4 | 239002
49 | (211000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.7 | K6 | 211000
50 | (217000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler Instrumentation | 3.7 | K1 | 217000
51 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
52 | (262002K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Radiation monitoring system | 2.9 | A3 | 262002
53 | (233000K2.01) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP Knowledge of electrical power supplies to the following: (CFR: 41.7) Fuel pool cooling pumps | 3.1 | K2 | 233000
54 | (230000K4.06) Knowledge of (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Pump motor cooling | 2.7 | K4 | 230000
55 | (290003K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 CRV) CONTROL ROOM VENTILATION: (CFR: 41.7 / 45.7) Component cooling water system | 2.9 | K6 | 290003
56 | (234000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FH) FUEL HANDLING and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.4 | K1 | 234000
57 | (223001K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES: (CFR: 41.5 / 45.3) Oxygen concentration | 3.6 | K5 | 223001
58 | (290001A3.03) Ability to monitor automatic operation of the (SF5 SC) SECONDARY CONTAINMENT including: (CFR: 41.7 / 45.7) Plant ventilation systems | 3.3 | A3 | 290001
59 | (239001A4.12) Ability to manually operate and/or monitor the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) MSR steam admission valves | 2.8 | A4 | 239001
60 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 256000
61 | (241000A1.22) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM including: (CFR: 41.5 / 45.5) Reactor cooldown | 3.8 | A1 | 241000
62 | (259001K3.09) Knowledge of the effect that a loss or malfunction of the (SF2 FWS) FEEDWATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Extraction steam system | 2.7 | K3 | 259001
63 | (286000A2.09) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Valve closures due to malfunction(s) | 2.9 | A2 | 286000
64 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G2.4 | G2.4
70 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
71 | (292004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain Doppler broadening and self-shielding | 2.7 | R | 292004
72 | (292005K1.07) CONTROL RODS (CFR: 41.1) Define control rod worth, differential CRW, and integral control rod worth | 2.6 | R | 292005
73 | (293007K1.07) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Describe how the presence of gases or steam can | 2.9 | T | 293007
74 | (293006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14) Discuss methods of prevention of fluid/water hammer | 3.2 | T | 293006
75 | (293004K1.13) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain vacuum formation in condenser processes | 2.6 | T | 293004
76 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 295004
77 | (295023AA2.05) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.4 | A2 | 295023
78 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295018
79 | (295025EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.2 | A2 | 295025
80 | (295006) (APE 6) SCRAM (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 295006
81 | (295037EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Containment conditions/isolations | 4.1 | A2 | 295037
82 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 295005
83 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295013
84 | (295022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) CRD mechanism temperatures | 3.1 | A2 | 295022
85 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295007
86 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 212000
87 | (215004A2.03) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck detector | 3.2 | A2 | 215004
88 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 205000
89 | (300000A2.03) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low instrument air pressure | 3.8 | A2 | 300000
90 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 259002
91 | (201003A2.05) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Reactor SCRAM | 4.3 | A2 | 201003
92 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 226001
93 | (272000A2.01) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Fuel element failure | 4.2 | A2 | 272000
94 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4