## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295030EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.1 | A2 | 295030
2 | (600000AK2.08) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Portable fire suppression systems | 3 | K2 | 600000
3 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
4 | (295037EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Bypassing rod insertion blocks | 3.8 | K3 | 295037
5 | (295038EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) MSIV leakage control | 3.1 | A1 | 295038
6 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 295024
7 | (295005AA2.03) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine valve position | 4.4 | A2 | 295005
8 | (295004AK2.02) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Batteries | 4.1 | K2 | 295004
9 | (295021AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Adequate core cooling | 4.4 | K1 | 295021
10 | (295018AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Starting the standby pump | 3.5 | K3 | 295018
11 | (295016AA1.13) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Shutdown cooling system (RHR shutdown cooling mode) | 3.7 | A1 | 295016
12 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295025
13 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.9 | A2 | 295023
14 | (295001AK2.02) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Nuclear boiler instrumentation | 3.6 | K2 | 295001
15 | (295003AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Station blackout | 4.3 | K1 | 295003
16 | (295019AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Leak isolation | 3.3 | K3 | 295019
17 | (700000AA1.04) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Reactor controls | 3.6 | A1 | 700000
18 | (295006) (APE 6) SCRAM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295006
19 | (295027EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295027
20 | (295026EK2.07) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.8 | K2 | 295026
21 | (295033EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.5 / 45.6) Anticipated/emergency depressurization | 4.1 | K3 | 295033
22 | (295008AA1.01) Ability to operate and/or monitor the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) Reactor water level control | 4.4 | A1 | 295008
23 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295022
24 | (295002AA2.02) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295002
25 | (295010AK2.06) Knowledge of the relationship between the (APE 10) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Primary containment and auxiliaries | 3.8 | K2 | 295010
26 | (295017AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.6 | K1 | 295017
27 | (239002A4.01) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) SRVs | 4.4 | A4 | 239002
28 | (218000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Primary containment/drywell pressure | 3.7 | A1 | 218000
29 | (209002A3.01) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Valve operation | 4.2 | A3 | 209002
30 | (262002K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 2.6 | K1 | 262002
31 | (264000K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) AC electrical distribution | 4.4 | K3 | 264000
32 | (211000K2.01) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SLCS pumps | 3.6 | K2 | 211000
33 | (215003A2.01) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Power supply degradation | 3.1 | A2 | 215003
34 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 212000
35 | (205000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) Valve operation | 3.5 | K5 | 205000
36 | (263000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Degraded voltage | 3.6 | K6 | 263000
37 | (261000K4.05) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Fission product gas removal | 3.3 | K4 | 261000
38 | (203000A4.01) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Pumps | 4.2 | A4 | 203000
39 | (223002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Secondary containment temperature | 3.6 | A1 | 223002
40 | (215005A3.05) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Flow converter/comparator signals | 3.2 | A3 | 215005
41 | (262001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 AC) AC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Emergency generators | 4.7 | K1 | 262001
42 | (510000K3.16) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Service water system temperature | 3.6 | K3 | 510000
43 | (217000K2.03) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) RCIC flow controller | 3.5 | K2 | 217000
44 | (215004A2.05) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/system | 3.7 | A2 | 215004
45 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291004K1.03) PUMPS (CFR: 41.3) (CENTRIFUGAL) Consequences of air/steam binding | 2.9 | C | 300000
46 | (259002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Moisture carryover/carryunder | 3.1 | K5 | 259002
47 | (400000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution system | 3.5 | K6 | 400000
48 | (209001K4.01) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overpressurization of core spray piping | 3.5 | K4 | 209001
49 | (239002A4.05) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor pressure | 4.4 | A4 | 239002
50 | (218000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) ADS valve pneumatic supply pressure | 3.5 | A1 | 218000
51 | (209002A3.02) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump start | 4.1 | A3 | 209002
52 | (262002K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment system and auxiliaries | 3.1 | K1 | 262002
53 | (219000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.7 / 45.7) Keep fill system | 3.3 | K6 | 219000
54 | (245000K4.05) Knowledge of (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS design features and/or interlocks that provide for the following: (CFR: 41.7) Turbine protection | 3.5 | K4 | 245000
55 | (272000A4.06) Ability to manually operate and/or monitor the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Process radiation monitor logic | 2.9 | A4 | 272000
56 | (271000A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.5 / 45.3 / 45.5) Steam supply pressures | 2.7 | A1 | 271000
57 | (201003K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and the following systems: (CFR: 41.1 to 41.10 / 45.1 to 45.8) Control rod drive hydraulic system | 3.9 | A3 | 201003
58 | (256000K1.29) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 CDS) CONDENSATE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Hydrogen water chemistry system | 2.8 | K1 | 256000
59 | (239003K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3 | K3 | 239003
60 | (288000K2.02) (SF9 PVS) PLANT VENTILATION SYSTEMS Knowledge of electrical power supplies to the following: (CFR: 41.7) Auxiliary building supply and exhaust fans (turbine building/radwaste building) | 2.6 | K2 | 288000
61 | (268000A2.05) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal primary containment sump pump run time | 3.4 | A2 | 268000
62 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 204000
63 | (290001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 SC) SECONDARY CONTAINMENT: (CFR: 41.5 / 45.3) Flow measurement (BWR 3) | 2.9 | K5 | 290001
64 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292001K1.03) NEUTRONS (CFR: 41.1) Define thermal neutrons | 2.7 | R | 292001
71 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
72 | (292006K1.05) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Equilibrium xenon | 2.9 | R | 292006
73 | (293009K1.16) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Discuss how changes in the heat generation rate | 2.8 | T | 293009
74 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
75 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
76 | (295030EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 3.5 | A2 | 295030
77 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 600000
78 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
79 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 295037
80 | (295038EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.5 | A2 | 295038
81 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295024
82 | (295005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295005
83 | (295036EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Water level in the affected area | 3.8 | A2 | 295036
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295020
85 | (295035EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Radiation release rate | 3.9 | A2 | 295035
86 | (264000A2.09) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of safety bus | 4.3 | A2 | 264000
87 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 211000
88 | (215003A2.02) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) IRM inoperable condition | 3.7 | A2 | 215003
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 212000
90 | (205000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low shutdown cooling suction pressure | 3.4 | A2 | 205000
91 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 510001
92 | (230000A2.02) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 3.9 | A2 | 230000
93 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 215001
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4