## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003AA1.08) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) Station blackout instrumentation | 4.3 | A1 | 295003
2 | (295030EK2.01) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 4 | K2 | 295030
3 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295025
4 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
5 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
6 | (600000AA2.13) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Need for emergency plant shutdown | 3.8 | A2 | 600000
7 | (295023AA1.03) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel handling equipment | 3.1 | A1 | 295023
8 | (295001AK2.09) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 2.8 | K2 | 295001
9 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 295038
10 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
11 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
12 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.8 | A2 | 295004
13 | (700000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Emergency generators (diesel/jet) | 3.8 | A1 | 700000
14 | (295037EK2.17) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Reactor water level control system | 4.1 | K2 | 295037
15 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295018
16 | (295005AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Feedwater temperature decrease | 3.2 | K3 | 295005
17 | (295016AK2.13) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) RPS | 3.4 | K1 | 295016
18 | (295024EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.1 | A2 | 295024
19 | (295006AA1.04) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Recirculation system | 3.8 | A1 | 295006
20 | (295027EK2.01) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI: containment spray system mode | 4 | K2 | 295027
21 | (295002AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.5 / 45.6) Main steam isolation valve closure | 3.8 | K3 | 295002
22 | (295029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Containment integrity | 3.8 | K1 | 295029
23 | (295014AA2.06) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cold water injection | 4.2 | A2 | 295014
24 | (295012AA1.03) Ability to operate and/or monitor the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.7 / 45.6) Drywell pressure | 4.2 | A1 | 295012
25 | (295036EK2.03) Knowledge of the relationship between the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Radwaste system | 2.9 | K2 | 295036
26 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295032
27 | (212000K4.12) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Bypassing SCRAM signals | 3.8 | K4 | 212000
28 | (300000A2.02) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Component cooling water system malfunction | 3.4 | A2 | 300000
29 | (215005K3.09) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Recirculation flow control system | 3.3 | K3 | 215005
30 | (264000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Load sequencing | 3.9 | K5 | 264000
31 | (262001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Load currents | 3.2 | A1 | 262001
32 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 262002
33 | (223002K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor water cleanup | 3.8 | K1 | 223002
34 | (261000A4.04) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Primary containment pressure | 3.6 | A4 | 261000
35 | (209001K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) ECCS room integrity | 3.1 | K6 | 209001
36 | (215003K2.01) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) IRM channels/detectors | 3.4 | K2 | 215003
37 | (510000A3.01) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Pump starts | 3.5 | A3 | 510000
38 | (259002K4.06) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Control signal failure | 3.2 | K4 | 259002
39 | (205000A2.10) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position | 3.6 | A2 | 205000
40 | (209002K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 3.6 | K3 | 209002
41 | (263000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Battery ventilation | 2.9 | K5 | 263000
42 | (217000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 217000
43 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (291008K1.11) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Control room indication of a breaker status | 3.3 | C | 203000
44 | (218000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 3.9 | K1 | 218000
45 | (239002A4.05) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor pressure | 4.4 | A4 | 239002
46 | (215004K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) Detectors | 3.2 | K6 | 215004
47 | (211000K2.03) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Heater power | 2.5 | K2 | 211000
48 | (400000A3.06) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System response due to a LOOP signal | 3.7 | A3 | 400000
49 | (212000K4.08) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) SCRAM reset time delay | 3.3 | K4 | 212000
50 | (300000A2.01) Ability to (a) predict the impacts of the following on the (SF8 IA) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Air dryer and filter malfunctions | 3.8 | A2 | 300000
51 | (215005K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor recirculation system (BWR 5, 6) | 3.6 | K3 | 215005
52 | (264000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Parallel vs. isochronous operation | 3.6 | K5 | 264000
53 | (215001K2.02) (SF7 TIP) TRAVERSING IN CORE PROBE Knowledge of electrical power supplies to the following: (CFR: 41.7) Ball valves (BWR 2, 3, 4, 5) | 3 | K2 | 215001
54 | (204000A3.01) Ability to monitor automatic operation of the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM including: (CFR: 41.7 / 45.7) System pressure control for low pressure piping | 2.9 | A3 | 204000
55 | (233000K4.02) Knowledge of (SF9 FPCCU) FUEL POOL COOLING/CLEANUP design features and/or interlocks that provide for the following: (CFR: 41.7) Pool clarity | 2.7 | K4 | 233000
56 | (201003A2.07) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Abnormal CRD drive water flow | 3.6 | A2 | 201003
57 | (239003K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3 | K3 | 239003
58 | (271000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.4) Heat addition mechanisms | 2.6 | K5 | 271000
59 | (256000A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 CDS) CONDENSATE SYSTEM including: (CFR: 41.5 / 45.5) Condenser vacuum | 3.5 | A1 | 256000
60 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 201005
61 | (216000K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Feedwater system | 3.6 | K1 | 216000
62 | (510001A4.02) Ability to manually operate and/or monitor the (SF8 CWS*) CIRCULATING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Circulating water valves | 3.1 | A4 | 510001
63 | (286000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) DC electrical distribution | 3 | K6 | 286000
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
71 | (292003K1.09) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define doubling time and calculate it using the power | 2.6 | R | 292003
72 | (292004K1.15) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain the differences between reactivity coefficients and reactivity defects | 2.7 | R | 292004
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
75 | (293007K1.11) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.1 | T | 293007
76 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.3 | A2 | 295003
77 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 295030
78 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.4 | A2 | 295025
79 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295021
80 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
81 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 600000
82 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.2 | A2 | 295023
83 | (295013AA2.01) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.2 | A2 | 295013
84 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 295017
85 | (295007AA2.01) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295007
86 | (262001A2.02) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.2 | A2 | 262001
87 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 262002
88 | (223002A2.04) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Process radiation monitoring system failures | 3.3 | A2 | 223002
89 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 261000
90 | (209001A2.03) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC failures | 4 | A2 | 209001
91 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 230000
92 | (202002A2.13) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of loop flow signal | 3.5 | A2 | 202002
93 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 259001
94 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4