## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.7 | A2 | 295018
2 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
3 | (295003AA1.02) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) Emergency generators | 4.5 | A1 | 295003
4 | (295006AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor water level response | 4 | K3 | 295006
5 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295031
6 | (295026EK2.01) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.8 | K2 | 295026
7 | (295005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.5 | A2 | 295005
8 | (295027EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Reactor water level measurement | 4.1 | K1 | 295027
9 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
10 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
11 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 600000
12 | (295030EK2.06) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup system(s) | 3.5 | K2 | 295030
13 | (295001AA2.11) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual loop flow(s) | 3.6 | A2 | 295001
14 | (295019AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Leak isolation | 3.3 | K1 | 295019
15 | (295016AA1.10) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Safety/relief valves | 3.9 | A1 | 295016
16 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
17 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 295038
18 | (295023AK2.02) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.4 | K2 | 295023
19 | (295037EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Standby liquid control system tank level | 3.8 | A2 | 295037
20 | (295025EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Safety/relief valve tailpipe temperature/pressure relationships | 4.1 | K1 | 295025
21 | (295036EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.5 / 41.10 / 45.6) Normal reactor shutdown | 3.3 | K3 | 295036
22 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295029
23 | (295011AK2.01) Knowledge of the relationship between the (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.8 | K2 | 295011
24 | (295017AA2.04) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.9 | A2 | 295017
25 | (500000EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Drywell nitrogen purge | 3.8 | K1 | 500000
26 | (295032EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Leak detection system | 3.8 | A1 | 295032
27 | (205000K4.01) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) High temperature isolation /protection | 3.6 | K4 | 205000
28 | (262002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) DC electrical distribution | 3.4 | K6 | 262002
29 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
30 | (262001A2.01) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine/generator trip | 4 | A2 | 262001
31 | (209001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Torus/suppression pool water level | 3.6 | A1 | 209001
32 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
33 | (259002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Controller operation | 3.8 | K5 | 259002
34 | (215004K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 3.5 | K1 | 215004
35 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 217000
36 | (215005K3.07) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) ROD BLOCK MONITOR SYSTEM (BWR 3, 4, 5) | 3.7 | K3 | 215005
37 | (264000A4.03) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of emergency control between manual and automatic | 3.6 | A4 | 264000
38 | (211000K4.09) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dampening of positive displacement pump discharge oscillations | 2.7 | K4 | 211000
39 | (261000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution | 3.5 | K6 | 261000
40 | (223002K2.01) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF Knowledge of electrical power supplies to the following: (CFR: 41.7) Logic power supplies | 3.6 | K2 | 223002
41 | (203000A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump runout | 3.7 | A2 | 203000
42 | (218000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.8 | A1 | 218000
43 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
44 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
45 | (215003K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 3 | K1 | 215003
46 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291002K1.16) SENSORS AND DETECTORS (CFR: 41.7) (POSITION DETECTORS) Failure modes of reed switches, LVDTs, limit switches, and potentiometers | 2.7 | C | 209002
47 | (239002K3.04) Knowledge of the effect that a loss or malfunction of the (SF3 SRV) SAFETY RELIEF VALVES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Automatic depressurization system | 4.5 | K3 | 239002
48 | (510000A4.01) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Pump operations | 3.7 | A4 | 510000
49 | (205000K4.03) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) Low reactor water level | 3.9 | K4 | 205000
50 | (262002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) Static switch/inverter | 3.4 | K6 | 262002
51 | (400000K2.01) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW pumps | 3.4 | K2 | 400000
52 | (262001A2.09) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding voltage limitations | 3.8 | A2 | 262001
53 | (290003K3.05) Knowledge of the effect that a loss or malfunction of the (SF9 CRV) CONTROL ROOM VENTILATION will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Control room humidity | 2.7 | K3 | 290003
54 | (245000A4.04) Ability to manually operate and/or monitor the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS in the control room: (CFR: 41.7 / 45.5 to 45.8) Hydrogen seal oil pumps | 3.2 | A4 | 245000
55 | (290002K4.02) Knowledge of (SF4 RVI) REACTOR VESSEL INTERNALS design features and/or interlocks that provide for the following: (CFR: 41.7) Flow paths within the reactor vessel | 3.9 | K4 | 290002
56 | (202001K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1, SF4 RS) RECIRCULATION SYSTEM: (CFR: 41.7 / 45.7) Redundant reactivity control system | 3.4 | K6 | 202001
57 | (233000K2.01) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP Knowledge of electrical power supplies to the following: (CFR: 41.7) Fuel pool cooling pumps | 3.1 | K2 | 233000
58 | (256000A2.17) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Feedwater heater string trip | 3.6 | A2 | 256000
59 | (241000A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM including: (CFR: 41.5 / 45.5) Reactor/turbine pressure regulating system load set/reference | 3.5 | A1 | 241000
60 | (201003K4.09) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Movement of a control rod | 4 | A3 | 201003
61 | (201001K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.5-7 / 41.10 / 45.1-6 / 45.12-13) Solenoid-operated valves | 3.3 | K5 | 201001
62 | (226001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment | 4.2 | K1 | 226001
63 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 4 | G | 259001
64 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (292008K1.08) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (CRITICALITY) Describe reactor power and startup rate/period response once criticality is reached | 4.1 | R | 292008
71 | (292006K1.02) FISSION PRODUCT POISONS (CFR: 41.1) State the characteristics of xenon-135 as a fission product poison | 3.1 | R | 292006
72 | (292002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1) Evaluate change in shutdown margin due to changes in plant parameters | 2.9 | R | 292002
73 | (293007K1.06) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Discuss the factors that affect heat transfer rate in | 2.8 | T | 293007
74 | (293003K1.23) STEAM (CFR: 41.14) Use saturated and superheated steam tables | 3.1 | T | 293003
75 | (293009K1.31) CORE THERMAL LIMITS (CFR: 41.14) (PELLET-CLAD INTERACTION) Describe pellet-clad interaction | 3.4 | T | 293009
76 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.5 | A2 | 295018
77 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295024
78 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
79 | (295006) (APE 6) SCRAM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 295006
80 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
81 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 295026
82 | (295005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295005
83 | (295009AA2.03) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown rate | 2.9 | A2 | 295009
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 295020
85 | (295002AA2.07) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Turbine limitations | 3.4 | A2 | 295002
86 | (209001A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation | 4.3 | A2 | 209001
87 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 300000
88 | (259002A2.04) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) RFP runout condition | 3 | A2 | 259002
89 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 215004
90 | (217000A2.06) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of instrument air systems | 2.5 | A2 | 217000
91 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 288000
92 | (202002A2.01) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation pump trip | 4.3 | A2 | 202002
93 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 204000
94 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
95 | (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
96 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4