## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295031EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) | 4.1 | A1 | 295031
2 | (295016AK2.04) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.5 | K2 | 295016
3 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
4 | (295003AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Load sequencing | 3.8 | K1 | 295003
5 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 295001
6 | (295006AA2.03) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.3 | A2 | 295006
7 | (295037EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) RMCS (BWR 2, 3, 4, 5) | 4 | A1 | 295037
8 | (295027EK2.03) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.4 | K2 | 295027
9 | (295019AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Dryer/filter realignment | 3 | K3 | 295019
10 | (295021AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Decay heat | 4.4 | K1 | 295021
11 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 295005
12 | (295038EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 3.6 | A2 | 295038
13 | (295026EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) RHR/LPCI | 4 | A1 | 295026
14 | (295018AK2.06) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.8 | K2 | 295018
15 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
16 | (295025EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Pressure effects on reactor water level | 3.8 | K1 | 295025
17 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 700000
18 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
19 | (295023AA1.01) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Secondary containment ventilation | 3.8 | A1 | 295023
20 | (295024EK2.12) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool cooling | 3.7 | K2 | 295024
21 | (295032EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.8 to 41.10) Impact of operating environment on components | 3.1 | K1 | 295032
22 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295008
23 | (295014AA2.02) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Reactor period | 4.5 | A2 | 295014
24 | (295036EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.7 / 45.6 / 45.8) Systems for emergency depressurization | 3.9 | A1 | 295036
25 | (295009AK2.08) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) CRD system | 2.9 | K2 | 295009
26 | (295029EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Lowering suppression pool water level | 3.7 | K3 | 295029
27 | (400000K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) (BWR 4, 5, 6) | 3.1 | K1 | 400000
28 | (264000A2.10) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.7 | A2 | 264000
29 | (209001K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Heat removal (transfer) mechanisms | 3.2 | K5 | 209001
30 | (261000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) SGTS train temperature | 3 | A1 | 261000
31 | (212000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Condensate system | 2.5 | K6 | 212000
32 | (259002A3.12) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Transfer from three-element to one-element control | 3.4 | A3 | 259002
33 | (209002K2.03) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.2 | K2 | 209002
34 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 203000
35 | (263000K4.03) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Ground detection | 2.9 | K4 | 263000
36 | (205000A4.12) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) Recirculation loop temperatures | 3.7 | A4 | 205000
37 | (262002K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level control system | 3.5 | K3 | 262002
38 | (211000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) CRD system | 2.7 | K1 | 211000
39 | (215004A2.01) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Degraded power supply | 3.1 | A2 | 215004
40 | (215003K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Reactor power indication response to rod position changes | 3.8 | K5 | 215003
41 | (218000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4 | A1 | 218000
42 | (215005K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) RPS | 3.9 | K6 | 215005
43 | (239002A3.09) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) Low-low set logic | 3.8 | A3 | 239002
44 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
45 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (291002K1.24) SENSORS AND DETECTORS (CFR: 41.7) (RADIATION DETECTION) Use of portable and personal radiation monitoring instruments | 3.2 | C | 223002
46 | (217000K4.02) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Prevent overfilling reactor vessel | 3.8 | K4 | 217000
47 | (300000A4.02) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Instrument air compressors | 3.5 | A4 | 300000
48 | (510000K3.09) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Fire protection system | 2.7 | K3 | 510000
49 | (400000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) Service water system | 3.8 | K1 | 400000
50 | (264000A2.08) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation of emergency generator room fire protection system | 3.1 | A2 | 264000
51 | (209001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Abnormal differential pressure indication (leak detection) | 3.4 | K5 | 209001
52 | (261000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Drywell and suppression chamber differential pressure (Mark I) | 3.2 | A1 | 261000
53 | (290001A4.01) Ability to manually operate and/or monitor the (SF5 SC) SECONDARY CONTAINMENT in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor building differential pressure | 3.9 | A4 | 290001
54 | (271000K3.03) Knowledge of the effect that a loss or malfunction of the (SF9 OG) OFFGAS SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Condenser air removal | 3.6 | K3 | 271000
55 | (241000K1.39) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main and reheat steam system | 3.3 | K1 | 241000
56 | (201001A2.13) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Low cooling water flow | 3.5 | A2 | 201001
57 | (234000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) Fuel orientation | 3.1 | K5 | 234000
58 | (226001A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 226001
59 | (290003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 CRV) CONTROL ROOM VENTILATION: (CFR: 41.7 / 45.7) Plant pneumatic system | 2.7 | K6 | 290003
60 | (286000A3.03) Ability to monitor automatic operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Actuation of fire detectors | 3.3 | A3 | 286000
61 | (215001K2.02) (SF7 TIP) TRAVERSING IN CORE PROBE Knowledge of electrical power supplies to the following: (CFR: 41.7) Ball valves (BWR 2, 3, 4, 5) | 3 | K2 | 215001
62 | (272000) (SF7, SF9 RMS) RADIATION MONITORING SYSTEM (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 272000
63 | (290002K4.04) Knowledge of (SF4 RVI) REACTOR VESSEL INTERNALS design features and/or interlocks that provide for the following: (CFR: 41.7) Moisture removal from steam | 3.3 | K4 | 290002
64 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
65 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G2.4 | G2.4
70 | (292005K1.07) CONTROL RODS (CFR: 41.1) Define control rod worth, differential CRW, and integral control rod worth | 2.6 | R | 292005
71 | (292008K1.13) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Explain characteristics to look for when the POAH is reached | 3.9 | R | 292008
72 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
73 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
74 | (293009K1.41) CORE THERMAL LIMITS (CFR: 41.14) For the following plant operating or accident condition, identify which of the three core thermal limits are most limiting: Increase in core flow | 3.3 | T | 293009
75 | (293007K1.10) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define core thermal power | 2.9 | T | 293007
76 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295031
77 | (295016AA2.08) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Successful transfer | 3.9 | A2 | 295016
78 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295004
79 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4.1 | A2 | 295003
80 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295001
81 | (295006AA2.02) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.5 | A2 | 295006
82 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295037
83 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295033
84 | (295020AA2.08) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) High-energy line break | 3.6 | A2 | 295020
85 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 295035
86 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 212000
87 | (259002A2.04) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) RFP runout condition | 3 | A2 | 259002
88 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 209002
89 | (203000A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate net positive suction head | 3.6 | A2 | 203000
90 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 263000
91 | (239003A2.09) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Outboard main steamline high pressure | 2.5 | A2 | 239003
92 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G | 216000
93 | (201005A2.08) Ability to (a) predict the impacts of the following on the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6 / 45.8) LPRM upscale/downscale | 3.5 | A2 | 201005
94 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4