## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.7 | A2 | 295018
2 | (295031EK2.21) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Alternate injection systems | 3.8 | K2 | 295031
3 | (295019AK2.15) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Standby liquid control system | 2.8 | K1 | 295019
4 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
5 | (295003AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Manual and automatic bus transfer | 3.7 | K3 | 295003
6 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 295030
7 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.7 | A2 | 295025
8 | (295024EK2.21) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.3 | K2 | 295024
9 | (295026EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool cooling | 3.8 | K1 | 295026
10 | (295021AA1.04) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Alternate decay heat removal systems | 3.9 | A1 | 295021
11 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
12 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 295023
13 | (295037EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) SCRAM air header pressure | 3.5 | A2 | 295037
14 | (295006AK2.03) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD hydraulic system | 3.9 | K2 | 295006
15 | (295027EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Equipment environmental qualifications | 3.2 | K1 | 295027
16 | (295005AA1.09) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Reactor water level control system | 3.7 | A1 | 295005
17 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
18 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 295016
19 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.8 | A2 | 600000
20 | (295001AK2.12) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Recirculation flow control system | 3.5 | K2 | 295001
21 | (295036EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.7 / 45.6 / 45.8) Equipment and floor drain sumps and pumps | 3.2 | A1 | 295036
22 | (295008AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) HPCI turbine trip | 4 | K3 | 295008
23 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295029
24 | (295020AA2.09) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Area/delta temperatures | 3.3 | A2 | 295020
25 | (295017AK2.15) Knowledge of the relationship between the (APE 17) ABNORMAL OFFSITE RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.1 | K2 | 295017
26 | (295007AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 41.10) Pressure effects on reactor power | 4.1 | K1 | 295007
27 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
28 | (510000K3.03) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Circulating water system | 2.5 | K3 | 510000
29 | (209001K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Pump seal cooler(s) | 2.9 | K6 | 209001
30 | (259002K2.03) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Feedwater controllers | 3.1 | K2 | 259002
31 | (209002A3.08) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 4 | A3 | 209002
32 | (264000K4.06) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Governor control | 3.6 | K4 | 264000
33 | (262001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Load currents | 3.2 | A1 | 262001
34 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 211000
35 | (239002K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Instrument air systems | 3.1 | K1 | 239002
36 | (300000A4.03) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Manual isolations | 3.2 | A4 | 300000
37 | (261000A2.13) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High secondary containment ventilation exhaust radiation | 3.7 | A2 | 261000
38 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
39 | (215003K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power indication | 4 | K3 | 215003
40 | (217000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Keep fill system | 3.1 | K6 | 217000
41 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
42 | (215005A3.03) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215005
43 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
44 | (203000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Condensate storage tank level | 2.5 | A1 | 203000
45 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (291002K1.15) SENSORS AND DETECTORS (CFR: 41.7) (TEMPERATURE) Failure modes and indications of T/C, RTD or, thermometers | 2.8 | C | 205000
46 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
47 | (218000A4.01) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS valves | 4.5 | A4 | 218000
48 | (223002A2.13) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Leak detection system failures | 3.3 | A2 | 223002
49 | (400000A2.02) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High/low surge tank level | 3.6 | K5 | 400000
50 | (510000K3.10) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Radiation monitoring system | 2.5 | K3 | 510000
51 | (209001K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Keep fill system | 3.4 | K6 | 209001
52 | (259002K2.01) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Reactor water level control system | 3.3 | K2 | 259002
53 | (256000A4.05) Ability to manually operate and/or monitor the (SF2 CDS) CONDENSATE SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System flow | 3.6 | A4 | 256000
54 | (259001A2.03) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of condensate system pump(s) | 3.9 | A2 | 259001
55 | (201001K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 CRDH) CRD HYDRAULIC SYSTEM: (CFR: 41.5-7 / 41.10 / 45.1-6 / 45.12-13) Pressure indication | 3.3 | K5 | 201001
56 | (226001K3.03) Knowledge of the effect that a loss or malfunction of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Containment/drywell/suppression chamber components, continued operation with elevated pressure or temperature or level | 3.7 | K3 | 226001
57 | (272000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.7) Continuous air monitoring/post\u2011accident radiation monitoring system | 2.9 | K6 | 272000
58 | (201005K2.01) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) Knowledge of electrical power supplies to the following: (CFR: 41.6 / 41.7) RCIS | 3.3 | K2 | 201005
59 | (245000A3.05) Ability to monitor automatic operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.7 / 45.7) Control valve operation | 3.2 | A3 | 245000
60 | (201003K4.03) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Slowing the drive mechanism near the end of its travel following a SCRAM | 2.9 | K4 | 201003
61 | (268000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 RW) RADWASTE SYSTEM including: (CFR: 41.5 / 45.5) Area radiation level | 3 | A1 | 268000
62 | (271000) (SF9 OG) OFFGAS SYSTEM (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 271000
63 | (223001K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RCIC | 3.8 | K1 | 223001
64 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G2.4 | G2.4
70 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
71 | (292005K1.01) CONTROL RODS (CFR: 41.1) Relate notch and rod position | 3.3 | R | 292005
72 | (292008K1.02) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (STARTUP AND APPROACH TO CRITICALITY) List reactivity control mechanisms that exist for plant conditions during the approach to criticality | 3.8 | R | 292008
73 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
74 | (293009K1.42) CORE THERMAL LIMITS (CFR: 41.14) For the following plant operating or accident condition, identify which of the three core thermal limits are most limiting: Increase in reactor pressure | 3.3 | T | 293009
75 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
76 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.2 | A2 | 295018
77 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295031
78 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
79 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 295004
80 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4.1 | A2 | 295003
81 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 295030
82 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
83 | (295011AA2.01) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4 | A2 | 295011
84 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 295032
85 | (295014AA2.03) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cause of reactivity addition | 4.2 | A2 | 295014
86 | (209002A2.16) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Emergency diesel generator failure | 3.9 | A2 | 209002
87 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 264000
88 | (262001A2.10) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding current limitations | 3.4 | A2 | 262001
89 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 211000
90 | (239002A2.04) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS actuation | 4.5 | A2 | 239002
91 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 510001
92 | (288000A2.02) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low reactor water level | 3.2 | A2 | 288000
93 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 230000
94 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4