## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (054AA1.01) Ability to operate and/or monitor the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.7 / 45.5 / 45.6): AFW system | 4.2 | A1 | 395013
2 | (022AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Changing from manual to automatic control of charging flow valve controller | 3.3 | K1 | 395006
3 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395020
4 | (026AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor | 4.1 | K3 | 395008
5 | (BE04EA2.13) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): ERV/code safety valve position | 4.1 | A2 | 395023
6 | (008AK2.12) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): SPDS | 3.5 | K2 | 395002
7 | (062AA1.08) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Alignment/cross-connection of backup systems | 3.5 | A1 | 395018
8 | (027AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Expansion of liquids as temperature increases | 3.2 | K1 | 395009
9 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 395017
10 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
11 | (BE02EA2.03) Ability to determine and/or interpret the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.10 / 43.5 / 45.13): Control rod position | 4 | A2 | 395001
12 | (WE11EK2.15) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): SGS | 3.1 | K2 | 395022
13 | (029EA1.23) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): NIS | 3.7 | A1 | 395010
14 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
15 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395015
16 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
17 | (055EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Instruments and controls operable with only DC battery power available | 4.1 | A2 | 395014
18 | (025AK2.16) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): ARM | 2.9 | K2 | 395007
19 | (WE14EA1.09) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): SGS | 3.6 | A1 | 395039
20 | (WE06EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 / 41.7 / 45.7 / 45.8): Blocking low steamline pressure SI when PZR pressure lowers less than P-11 setpoint during cooldown | 3.6 | K1 | 395040
21 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395033
22 | (033AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Termination of startup following loss of intermediate range instrumentation | 3.6 | K3 | 395030
23 | (059AA2.08) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Dilution flow rate in the effluent stream | 2.8 | A2 | 395034
24 | (WE08EK2.08) Knowledge of the relationship between (W E08) Pressurized Thermal Shock and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395056
25 | (WE10EA1.14) Ability to operate and/or monitor the following as they apply to (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS (CFR: 41.5 to 41.8 / 45.5 to 45.8): CCWS | 3.2 | A1 | 395054
26 | (003AK1.25) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Dropped rod effect on reactor poisons and/or fuel | 3.4 | K1 | 395025
27 | (004A4.05) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Letdown pressure and temperature control valves | 3.7 | A4 | 400004
28 | (039A2.07) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): IAS malfunctions | 3.3 | A2 | 400039
29 | (008A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW temperature | 3.4 | A1 | 400008
30 | (010K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Hard PZR bubble | 3.4 | K5 | 400010
31 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 400063
32 | (007K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): RCS | 3.3 | K2 | 400007
33 | (061A3.03) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW S/G level control | 3.8 | A3 | 400061
34 | (078K3.16) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Heater drain system | 2.6 | K3 | 400078
35 | (012K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Redundant channels | 3.9 | K6 | 400012
36 | (022K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Cooling water system | 3.6 | K1 | 400022
37 | (103K4.04) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Personnel access hatch and emergency access hatch | 3.3 | K4 | 400103
38 | (026A4.05) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment spray actuation and/or reset switches | 4 | A4 | 400026
39 | (076A2.10) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Intake screen failure | 3.3 | A2 | 400076
40 | (062A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Transformer parameters | 3.1 | A1 | 400062
41 | (005K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.5 / 45.7): Plant response to RCS temperature changes during solid plant operations | 3.7 | K5 | 400005
42 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191002K1.13) SENSORS AND DETECTORS (CFR: 41.7): (TEMPERATURE) Theory and operation of thermocouple, RTD, thermostats, and/or thermometers (expanding fluid) | 2.8 | C | 400003
43 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
44 | (059A3.04) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): MFW turbine | 3.4 | A3 | 400059
45 | (006K3.01) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): RCS | 4.1 | K3 | 400006
46 | (013K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): ESF bistable(s)/relays | 3.5 | K6 | 400013
47 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K1 | 400073
48 | (004K4.21) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Design and purpose of charging pump desurger | 2.7 | K4 | 400004
49 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
50 | (008A2.02) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High/low surge tank level | 3.8 | A2 | 400008
51 | (010A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): RCS or PZR pressure | 3.9 | A1 | 400010
52 | (063K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): System ground | 2.9 | K5 | 400063
53 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400007
54 | (061K2.01) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) system power-operated valves | 3.6 | K2 | 400061
55 | (035A4.02) Ability to manually operate and/or monitor the (SF4P SG) STEAM GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Filling S/G | 3.1 | A4 | 400035
56 | (001A2.06) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Xenon transient | 3.3 | A2 | 400001
57 | (017A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Core exit temperature | 4 | A1 | 400017
58 | (011K5.25) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.5 / 45.7): Increased level effect in PZR due to the opening of PORVs or safety | 3.9 | K5 | 400011
59 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (191002K1.24) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of failed-fuel detectors | 2.7 | C | 400016
60 | (056K2.01) Knowledge of electrical power supplies to the following: (SF4S CDS) CONDENSATE SYSTEM (CFR: 41.7) Condensate pumps and/or booster pumps | 3.1 | K2 | 400056
61 | (075A3.08) Ability to monitor automatic features of the (SF8 CW) CIRCULATING WATER SYSTEM, including (CFR: 41.4 / 41.7 / 45.5): Condenser availability/C-9 | 3.4 | A3 | 400075
62 | (068K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 LRS) LIQUID RADWASTE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.8 to 45.9): CVCS | 2.9 | K3 | 400068
63 | (086K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.7 / 45.7): Fire, smoke, or heat detector malfunction | 3 | K6 | 400086
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G2.4 | G2.4
70 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
71 | (192005K1.08) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- boron concentration | 2.8 | R | 192005
72 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
73 | (193008K1.01) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Distinguish between boiling processes and other heat transfer mechanisms | 3 | T | 193008
74 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
75 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 395004
77 | (009EA2.36) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Difference between overcooling and LOCA indications | 3.7 | A2 | 395003
78 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 395019
79 | (038EA2.22) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Charging/letdown flow | 3.7 | A2 | 395011
80 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395012
81 | (CE06EA2.03) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): RCS pressure and/or temperature | 3.9 | A2 | 395013
82 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395043
83 | (024AA2.01) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): Whether boron flow and/or motor‑operated valves are malfunctioning from plant conditions | 4 | A2 | 395027
84 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395028
85 | (032AA2.07) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Maximum allowable channel disagreement | 3.3 | A2 | 395029
86 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 400078
87 | (012A2.04) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Erratic power supply operation | 3.2 | A2 | 400012
88 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 400022
89 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.1 | A2 | 400103
90 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400026
91 | (028A2.01) Ability to (a) predict the impacts of the following on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Hydrogen recombiner power setting during LOCA | 2.6 | A2 | 400028
92 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 400071
93 | (041A2.07) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of the steam dump controller | 3.7 | A2 | 400041
94 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
95 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4
100 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4