## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (022AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Changing from manual to automatic control of charging flow valve controller | 3.3 | K1 | 395006
2 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 395013
3 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
4 | (057AK2.07) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): Secondary system instrumentation | 3.3 | K2 | 395016
5 | (065AA1.01) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Remote manual loaders | 2.9 | A1 | 395019
6 | (WE11EA2.07) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment pressure | 3 | A2 | 395022
7 | (040AK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): System response if faulted S/G also has tube leakage | 4.1 | K1 | 395012
8 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 395017
9 | (BE02EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the turbine | 4.5 | K3 | 395001
10 | (WE04EK2.04) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.9 | K2 | 395021
11 | (062AA1.08) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Alignment/cross-connection of backup systems | 3.5 | A1 | 395018
12 | (026AA2.03) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The valve lineups necessary to restart the CCWS while bypassing the portion of the system causing the abnormal condition | 3 | A2 | 395008
13 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
14 | (395004) 000011 (EPE 11) Large Break LOCA (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 395004
15 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
16 | (038EK2.16) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCP | 3.3 | K2 | 395011
17 | (055EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): Restoration of power from off site | 4.1 | A1 | 395014
18 | (025AA2.15) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Refueling water cavity level | 3.8 | A2 | 395007
19 | (032AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Expected change in source range count rate when rods are moved | 3.7 | K1 | 395029
20 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 395031
21 | (WE13EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions if effected S/G level is above the upper level tap | 3.5 | K3 | 395044
22 | (WE15EK2.06) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Demineralized water | 2.7 | K2 | 395045
23 | (051AA1.08) Ability to operate and/or monitor the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.7 / 45.5 / 45.6): Air ejectors | 3.2 | A1 | 395033
24 | (061AA2.06) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Required actions if the alarm channel is out of service | 3.4 | A2 | 395036
25 | (BE09EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): SDM | 3.6 | K1 | 395054
26 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395056
27 | (006K6.25) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): IAS | 3.1 | K6 | 400006
28 | (010K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Effects of temperature change during solid operation | 3.9 | K5 | 400010
29 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
30 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
31 | (064K4.03) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Governor operation | 3.4 | K4 | 400064
32 | (059A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Oil pressure indications for MFW pumps | 2.8 | A1 | 400059
33 | (012K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RPIS | 3.8 | K1 | 400012
34 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 400078
35 | (003K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCP lube oil pumps and RCP bearing lift oil pumps | 2.9 | K2 | 400003
36 | (061A4.02) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW flow | 4.2 | A4 | 400061
37 | (013A2.11) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): S/G tube rupture | 3.6 | A2 | 400013
38 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
39 | (063K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Battery capacity as it is affected by discharge rate/individual cell voltages | 3.1 | K5 | 400063
40 | (004K3.13) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): ECCS | 3.8 | K3 | 400004
41 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
42 | (062K4.04) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Protective relaying | 3.3 | K4 | 400062
43 | (076A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.2 | A1 | 400076
44 | (007K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | K1 | 400007
45 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (191002K1.11) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Effects of operating environment (pressure, temperature, and/or radiation) | 3 | C | 400026
46 | (008K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW pumps | 3.9 | K2 | 400008
47 | (039A4.03) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MFW pump turbines | 3.4 | A4 | 400039
48 | (006A2.03) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): System leakage | 3.4 | A2 | 400006
49 | (010K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): PZR pressure channels | 3.9 | K6 | 400010
50 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
51 | (005K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCPS | 2.9 | K3 | 400005
52 | (064A3.07) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Load sequencing | 3.9 | A3 | 400064
53 | (059K4.22) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G water LCS | 3.8 | K4 | 400059
54 | (012A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Single and multiple channel trip indicators | 3.8 | A1 | 400012
55 | (068K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.7 / 45.7 to 45.9): Radiation monitors | 3.4 | K6 | 400068
56 | (075K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.5 / 45.8): Frazil ice formation | 2.6 | K5 | 400075
57 | (041K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Reactor power | 4.1 | K3 | 400041
58 | (027K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Containment | 3.1 | A3 | 400027
59 | (086K4.04) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Personnel safety | 3.4 | K4 | 400086
60 | (029A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Containment temperature | 2.8 | A1 | 400029
61 | (014K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 RPI) ROD POSITION INDICATION SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.2 / 45.4 to 45.7): NIS | 3.5 | K1 | 400014
62 | (400050) 050 (SF9 CRV*) CONTROL ROOM VENTILATION (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 400050
63 | (002K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): RCPS | 4 | K2 | 400002
64 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1): State the relationship between reactivity and effective multiplication factor | 2.5 | R | 192002
71 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
72 | (192004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- moderator temperature | 3.1 | R | 192004
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
75 | (193006K1.13) FLUID STATICS AND DYNAMICS (CFR: 41.14): Explain why flow measurements must be corrected for density changes | 2.6 | T | 193006
76 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.8 | A2 | 395005
77 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395023
78 | (027AA2.08) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Letdown flow indication | 3.4 | A2 | 395009
79 | (395003) 000009 (EPE 9) Small Break LOCA (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 395003
80 | (077AA2.10) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator overheating | 3.3 | A2 | 395020
81 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395006
82 | (037AA2.17) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): PZR level and/or pressure | 3.8 | A2 | 395032
83 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 395026
84 | (076AA2.03) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): High area radiation levels | 3.5 | A2 | 395041
85 | (395027) 000024 (APE 24) Emergency Boration (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 395027
86 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 3.1 | A2 | 400078
87 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400003
88 | (061A2.07) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Air-operated valve, solenoid-operated valve, or motor-operated valve failure | 3.5 | A2 | 400061
89 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 400013
90 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
91 | (034K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and the following systems (CFR: 41.2 to 41.7 / 41.9 / 43.6 / 43.7 / 45.7 / 45.8): IAS | 2.8 | K1 | 400034
92 | (015A2.01) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Power supply loss or erratic operation | 3.7 | A2 | 400015
93 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 400016
94 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4
100 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4