## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Consequences of exceeding the TS cooldown rate | 3.4 | K1 | 395013
2 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 395005
3 | (WE12EA2.06) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): Core exit temperatures and/or subcooling | 3.9 | A2 | 395012
4 | (009EK3.23) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 4 | K3 | 395003
5 | (055EK2.08) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.8 | K2 | 395014
6 | (BE02EA1.08) Ability to operate and/or monitor the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.7 / 45.5 to 45.8): MFW system | 3.5 | A1 | 395001
7 | (008AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Consequences due to a PZR vapor space leak | 4 | K1 | 395002
8 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395022
9 | (022AA2.02) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Charging pump problems | 3.5 | A2 | 395006
10 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
11 | (011EK2.15) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RMS | 3.6 | K2 | 395004
12 | (026AA1.06) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Control of flow rates to components cooled by the CCWS | 3.1 | A1 | 395008
13 | (077AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Declining grid frequency or voltage | 3.6 | K1 | 395020
14 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395018
15 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
16 | (WE05EK3.21) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping RHR pumps | 3.1 | K3 | 395023
17 | (025AK2.16) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): ARM | 2.9 | K2 | 395007
18 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
19 | (036AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.8 / 41.10 / 45.3): Radiation exposure hazards | 3.7 | K1 | 395031
20 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 395039
21 | (032AA2.09) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Effect of improper high-voltage setting | 3.2 | A2 | 395029
22 | (003AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 3) DROPPED Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Limits for reduction of load | 3.5 | K3 | 395025
23 | (WE15EK2.04) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CCW | 3.2 | K2 | 395045
24 | (061AA1.01) Ability to operate and/or monitor the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.7 / 45.5 / 45.6): Systems or components automatically actuated by ARM signals | 3.5 | A1 | 395036
25 | (001AK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.8 / 41.10 / 45.3): Reason for use of pulse/analog converter (determination of actual rod positions) | 2.9 | K1 | 395024
26 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395034
27 | (063A3.03) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Inverter swap to backup | 3.3 | A3 | 400063
28 | (062K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Transformer tap changer | 2.9 | K5 | 400062
29 | (006K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): LRS | 2.6 | K1 | 400006
30 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A4 | 400073
31 | (013A2.09) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of ECCS | 3.5 | A2 | 400013
32 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 400076
33 | (078K2.01) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 400078
34 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
35 | (022K4.04) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Cooling of CRDMs | 3.1 | K4 | 400022
36 | (008A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW temperature | 3.4 | A1 | 400008
37 | (039K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.4 | K3 | 400039
38 | (061A3.06) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): S/GB and sampling isolation | 2.9 | A3 | 400061
39 | (004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Definition of pH, reasons for importance, and range of acceptability in RCS | 2.7 | K5 | 400004
40 | (012K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.3 | K1 | 400012
41 | (059A4.08) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Feed regulating valve controller | 3.6 | A4 | 400059
42 | (010A2.01) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Heater failures | 3.6 | A2 | 400010
43 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191006K1.12) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Effects of tube fouling on heat exchanger operation | 2.7 | C | 400003
44 | (064K2.03) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Control power | 3.7 | K2 | 400064
45 | (007K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Leakage collection | 2.8 | K6 | 400007
46 | (026K4.09) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of path for escape of radioactivity from containment to the outside (interlocks on RWST isolation after swapover) | 3.8 | K4 | 400026
47 | (005A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RHR flow rate | 3.8 | A1 | 400005
48 | (063K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems using DC control power | 4 | K3 | 400063
49 | (062A3.05) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Safety-related actuations | 4.1 | A3 | 400062
50 | (006K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Expected temperature values in various locations of the RCS due to different break locations during all ECCS injection modes | 3.1 | K5 | 400006
51 | (073K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CVCS | 3.3 | K1 | 400073
52 | (013A4.12) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Safeguards equipment control reset | 4 | A4 | 400013
53 | (076A2.07) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Heat exchanger and condenser failure | 3.6 | A2 | 400076
54 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 400078
55 | (072A3.01) Ability to monitor automatic features of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Changes in system alignment | 3.3 | A3 | 400072
56 | (033K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.5 / 45.7): Shielding (water level) | 3.7 | K5 | 400033
57 | (071K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.11): CVCS | 3.1 | K1 | 400071
58 | (002A4.08) Ability to manually operate and/or monitor the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDS | 3.5 | A4 | 400002
59 | (045A2.01) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Condensate backing up in drains and reheaters | 3.1 | A2 | 400045
60 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (191002K1.04) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Modes of failure | 2.7 | C | 400016
61 | (035K4.06) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G pressure measurement or control | 3.5 | K2 | 400035
62 | (075K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.4 / 41.7 / 45.8): CWS valve malfunctions | 2.7 | K6 | 400075
63 | (029K4.03) Knowledge of (SF8 CPS) CONTAINMENT PURGE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic purge isolation | 3.6 | K4 | 400029
64 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192006K1.07) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- xenon following a trip | 3.4 | R | 192006
73 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
74 | (193003K1.08) STEAM (CFR: 41.14): Define the following term: -- saturated liquid | 2.8 | T | 193003
75 | (193008K1.04) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe departure from nucleate boiling | 3.3 | T | 193008
76 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395009
77 | (065AA2.04) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Typical conditions that could cause a compressor trip (e.g., high temperature) | 2.9 | A2 | 395019
78 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 395010
79 | (056AA2.04) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of service water | 3.7 | A2 | 395015
80 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 395011
81 | (CE06EA2.09) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Charging and letdown flow | 3.3 | A2 | 395013
82 | (395044) (W E13) Steam Generator Overpressure (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 395044
83 | (033AA2.13) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Testing required if power is lost and then restored | 2.9 | A2 | 395030
84 | (395027) 000024 (APE 24) Emergency Boration (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 395027
85 | (BE08EA2.04) Ability to determine and/or interpret the following as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.10 / 43.5 / 45.13): HPI flow | 3.9 | A2 | 395053
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400103
87 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.4 | A2 | 400022
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400008
89 | (039A2.02) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA | 3.5 | A2 | 400039
90 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 400061
91 | (056A2.06) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal hotwell pump discharge pressure | 2.7 | A2 | 400056
92 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 400028
93 | (050A2.03) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Initiation/reconfiguration failure | 3.8 | A2 | 400050
94 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4