## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EA2.02) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations in the facility’s license and amendments | 3.3 | A2 | 395013
2 | (038EK2.09) Knowledge of the relationship between (EPE 38) STEAM GENERATOR Tube Rupture and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): CVCS | 3.3 | K2 | 395011
3 | (057AA1.01) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Inverter transfer to backup power supply | 3.7 | A1 | 395016
4 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 395022
5 | (058AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs or EOPs for loss of DC power | 4.1 | K3 | 395017
6 | (062AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.8 / 41.10 / 45.3): Knowledge of backup cooling water systems | 3.5 | K1 | 395018
7 | (015AA2.10) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Loss of cooling or seal injection | 3.4 | A2 | 395005
8 | (CE05EK2.09) Knowledge of the relationship between (CE E05) EXCESS STEAM DEMAND and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): Containment pressure and temperature | 4 | K2 | 395012
9 | (065AA1.05) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): RPS | 3.2 | A1 | 395019
10 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 395015
11 | (027AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails low | 3.9 | K3 | 395009
12 | (077AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Overexcitation | 3.3 | K1 | 395020
13 | (029EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): AFW flow | 3.5 | A2 | 395010
14 | (026AK2.02) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RCPs | 4.2 | K2 | 395008
15 | (009EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): SPDS | 3.4 | A1 | 395003
16 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395001
17 | (022AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Avoiding plant transients | 3.5 | K3 | 395006
18 | (011EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Long term cooling of the core | 4.3 | K1 | 395004
19 | (032AA2.03) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Expected values of source range indication when high voltage is automatically removed | 2.5 | A2 | 395029
20 | (076AK2.15) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): Main condenser | 2.8 | K2 | 395041
21 | (WE10EA1.09) Ability to operate and/or monitor the following as they apply to (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS (CFR: 41.5 to 41.8 / 45.5 to 45.8): PZR LCS | 3.4 | A1 | 395054
22 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395028
23 | (037AK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Isolation of effected S/G | 4.3 | K3 | 395032
24 | (WE13EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.7 / 45.7 / 45.8): Conditions required to cause overpressurization of an S/G | 3.2 | K1 | 395044
25 | (068AA2.09) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): Saturation margin | 3.3 | A2 | 395038
26 | (067AK2.06) Knowledge of the relationship between (APE 67) PLANT Fire On Site and the following systems or components (CFR: 41.7 / 45.7): Fire pumps | 3.7 | K2 | 395037
27 | (026K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): RHRS | 3.5 | K6 | 400026
28 | (078K2.02) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Emergency air compressor | 3.4 | K2 | 400078
29 | (061A2.03) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Loss of DC power | 4 | A2 | 400061
30 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
31 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 400103
32 | (004K5.31) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Purpose of flowpath around BAT | 3 | K5 | 400004
33 | (006K3.02) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): Fuel | 4.4 | K3 | 400006
34 | (064K4.07) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Field flashing | 3.1 | K4 | 400064
35 | (008A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW pressure | 3.1 | A1 | 400008
36 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
37 | (005K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SWS | 3.7 | K1 | 400005
38 | (003K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): CVCS | 3.4 | K6 | 400003
39 | (007K4.03) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Nitrogen cover gas | 2.7 | K2 | 400007
40 | (039A2.05) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Increasing steam demand and its relationship to increases in reactor power | 4.5 | A2 | 400039
41 | (062A3.08) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Load shedding | 3.6 | A3 | 400062
42 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (191004K1.16) PUMPS (CFR: 41.3): (CENTRIFUGAL) Safety procedures and precautions associated with centrifugal pumps | 2.9 | C | 400010
43 | (063K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Battery capacity as it is affected by discharge rate/individual cell voltages | 3.1 | K5 | 400063
44 | (013K3.14) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): MFW system | 3.3 | K3 | 400013
45 | (059K4.03) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate condensate flow | 3.2 | K4 | 400059
46 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
47 | (022A4.02) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS pumps | 3.6 | A4 | 400022
48 | (026K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.1 | K1 | 400026
49 | (078K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Air compressors | 3.4 | K6 | 400078
50 | (061K2.01) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) system power-operated valves | 3.6 | K2 | 400061
51 | (012A2.02) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of instrument power | 3.9 | A2 | 400012
52 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
53 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 400004
54 | (006K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): LPI ECCS pumps for CSS | 3.7 | K5 | 400006
55 | (027K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): CSS | 2.9 | K6 | 400027
56 | (014K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF1 RPI) ROD POSITION INDICATION SYSTEM Rod position main control room display panel | 3 | K2 | 400014
57 | (068A2.05) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CWS malfunction | 2.6 | A2 | 400068
58 | (033K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): Emergency makeup water systems | 3.5 | A3 | 400033
59 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (191002K1.05) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Operation of a D/P cell-type flow detector | 2.8 | C | 400002
60 | (055K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.5 / 45.7): S/G chemistry related to main condenser air in-leakage | 2.9 | K5 | 400055
61 | (035K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P SG) STEAM GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.3 | K3 | 400035
62 | (016K4.02) Knowledge of (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Sensing, signal processing, display, recording, and alarms | 2.9 | K4 | 400016
63 | (071A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): PVS | 2.7 | A1 | 400071
64 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
71 | (192005K1.09) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- fission product poisons | 2.8 | R | 192005
72 | (192006K1.01) FISSION PRODUCT POISONS (CFR: 41.1): Define fission product poison | 2.6 | R | 192006
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193009K1.01) CORE THERMAL LIMITS (CFR: 41.14): Explain radial peaking factor | 2.8 | T | 193009
75 | (193006K1.13) FLUID STATICS AND DYNAMICS (CFR: 41.14): Explain why flow measurements must be corrected for density changes | 2.6 | T | 193006
76 | (055EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): RCS core cooling through natural circulation | 4.2 | A2 | 395014
77 | (395021) (W E04) LOCA Outside Containment (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395021
78 | (008AA2.20) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): The effect of an open PORV or code safety based on observation of plant parameters | 4 | A2 | 395002
79 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 395007
80 | (BE04EA2.02) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations in the facility license and amendments | 4.3 | A2 | 395023
81 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 395013
82 | (069AA2.03) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Containment pressure | 3.8 | A2 | 395039
83 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 395053
84 | (078AA2.07) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Containment radiation | 3.7 | A2 | 395042
85 | (395025) 000003 (APE 3) Dropped Control Rod (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395025
86 | (064A2.24) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fuel oil storage system failure | 3.7 | A2 | 400064
87 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400008
88 | (076A2.08) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Malfunction of breakers, relays, and disconnects | 3.1 | A2 | 400076
89 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 400005
90 | (003A2.01) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Problems with RCP seals, especially seal leakoff rates | 4 | A2 | 400003
91 | (034K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and the following systems (CFR: 41.2 to 41.7 / 41.9 / 43.6 / 43.7 / 45.7 / 45.8): NIS | 3.4 | K1 | 400034
92 | (056A2.16) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Main steam system malfunction | 2.9 | A2 | 400056
93 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 400041
94 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4