## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EA1.11) Ability to operate and/or monitor the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.7 / 45.5 / 45.6): Main steam system | 3.5 | A1 | 395013
2 | (062AK2.01) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): CCW | 3.7 | K2 | 395018
3 | (026AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): The conditions that will initiate the automatic opening and closing of the SWS isolation valves to the CCWS coolers | 3.3 | K3 | 395008
4 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 395023
5 | (025AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Loss of inventory while at reduced inventory | 4.3 | K1 | 395007
6 | (055EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): In-core thermocouple temperatures | 3.6 | A2 | 395014
7 | (065AA1.05) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): RPS | 3.2 | A1 | 395019
8 | (057AK2.10) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): ESFAS | 4.4 | K2 | 395016
9 | (WE12EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining whether an S/G tube rupture exists | 4 | K3 | 395012
10 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 395004
11 | (056AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Principle of cooling by natural circulation | 4.3 | K1 | 395015
12 | (029EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): AFW flow | 3.5 | A2 | 395010
13 | (008AA1.06) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): PZR LCS | 3.5 | A1 | 395002
14 | (027AK2.09) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR spray | 4 | K2 | 395009
15 | (009EK3.25) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Monitoring of in-core T-cold | 3.5 | K3 | 395003
16 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395011
17 | (BE10EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary to secondary heat transfer | 4 | K1 | 395001
18 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.4 | A2 | 395017
19 | (033AA1.02) Ability to operate and/or monitor the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Level trip bypass | 3.3 | A1 | 395030
20 | (BA08AK2.03) Knowledge of the relationship between (BW A08) REFUELING CANAL LEVEL DECREASE and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Reactor building | 3.8 | K2 | 395031
21 | (WE03EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining required conditions to stop an SI pump (reference potential) | 3.7 | K3 | 395053
22 | (395048) (BW A02 & A03) Loss of NNI-X/Y (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395048
23 | (BE03EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E03) INADEQUATE Subcooling Margin (CFR: 41.5 / 41.7 / 45.7 / 45.8): LOCA | 4.1 | K1 | 395052
24 | (003AA2.08) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): ITM | 2.7 | A2 | 395025
25 | (078AA1.10) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Containment isolation system | 4 | A1 | 395042
26 | (BA06AK2.12) Knowledge of the relationship between (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM and the following systems or components (CFR: 41.8 / 41.10 / 45.3): SPDS | 2.8 | K2 | 395038
27 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
28 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
29 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
30 | (076A4.05) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Intake screen | 2.9 | A4 | 400076
31 | (053K3.01) Knowledge of the effect that a loss or malfunction of the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main steam system (e.g., TBV or header pressure) | 3.5 | K3 | 400053
32 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400005
33 | (103K4.03) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of radiation streaming | 2.9 | K4 | 400103
34 | (008K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW pumps | 3.9 | K2 | 400008
35 | (039K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): MT/G | 3.4 | K6 | 400039
36 | (007A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure | 3.1 | A1 | 400007
37 | (064K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Effects (verification) of stopping an EDG under load on an isolated bus | 3.4 | K5 | 400064
38 | (013A2.10) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Feedline break | 3.5 | A2 | 400013
39 | (062K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Vital AC electrical instrument buses | 4.2 | K1 | 400062
40 | (059A3.08) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): S/G water LCS | 3.8 | A3 | 400059
41 | (026A4.02) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote location and use of spool pieces and other equipment to set up portable recirculation pump for additive tank, including a power supply (BW) | 2.5 | A4 | 400026
42 | (010K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.1 | K3 | 400010
43 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191002K1.02) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Temperature/density compensation requirements | 2.9 | C | 400006
44 | (078K4.01) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Modes of control | 2.9 | K4 | 400078
45 | (061K2.01) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) system power-operated valves | 3.6 | K2 | 400061
46 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
47 | (004A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Normal operating band for letdown flow rate | 3.3 | A1 | 400004
48 | (003K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Effects of RCP shutdown on T-ave., including the reason for the unreliability of T-ave. in the shutdown loop | 3.5 | K5 | 400003
49 | (063A2.04) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Battery malfunctions | 3.9 | A2 | 400063
50 | (012K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCPS | 3.8 | K1 | 400012
51 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
52 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
53 | (053K3.05) Knowledge of the effect that a loss or malfunction of the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 3.6 | K3 | 400053
54 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 400005
55 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.2 | A2 | 400063
56 | (059K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.6 | K1 | 400059
57 | (006A3.04) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Cooling water systems | 3.7 | A3 | 400006
58 | (010A4.02) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR heaters | 3.6 | A4 | 400010
59 | (064K3.01) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems controlled by automatic loader/sequencer | 4.2 | K3 | 400064
60 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191003K1.08) CONTROLLERS AND POSITIONERS (CFR: 41.7): Theory of operation of the following types of controllers: electronic, electrical, and pneumatic | 2.6 | C | 400061
61 | (013K4.06) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): Recirculation actuation/reset | 4.1 | K4 | 400013
62 | (103K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): Containment vacuum system | 3.4 | K2 | 400103
63 | (078K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Cooling water | 2.8 | K6 | 400078
64 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (192005K1.10) CONTROL RODS (CFR: 41.1): State the purpose of flux shaping | 2.9 | R | 192005
71 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193007K1.01) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe three mechanisms of heat transfer | 2.5 | T | 193007
75 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
76 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395006
77 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.8 | A2 | 395005
78 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 395020
79 | (CE06EA2.06) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): PZR level and pressure | 3.9 | A2 | 395013
80 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395018
81 | (026AA2.05) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values for CCW-header flow rate and the flow rates to the components cooled by the CCWS | 3.1 | A2 | 395008
82 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 395035
83 | (BA01AA2.10) Ability to determine and/or interpret the following as they apply to (BW A01) Plant Runback (CFR: 41.10 / 43.5 / 45.13): MFW flow | 3.6 | A2 | 395047
84 | (395055) (BW E13 & E14) EOP Rules and Enclosures (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 395055
85 | (069AA2.03) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Containment pressure | 3.8 | A2 | 395039
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 400103
87 | (008A2.01) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CCW pump | 4 | A2 | 400008
88 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 400039
89 | (007A2.02) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal pressure in the PRT/quench tank | 3.1 | A2 | 400007
90 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 400064
91 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
92 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400003
93 | (004A2.10) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Inadvertent boration/dilution | 4 | A2 | 400004
94 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4