## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (011EA1.23) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): RMS | 3.6 | A1 | 395004
2 | (026AK2.05) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RMS | 3 | K2 | 395008
3 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395020
4 | (062AA2.04) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by SWS | 3 | A2 | 395018
5 | (015AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Effects of unbalanced RCS flow on in-core average temperature, core imbalance, and quadrant power tilt (BW) | 3.4 | K1 | 395005
6 | (029EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Opening charging pump suction valves from RWST | 3.9 | K3 | 395010
7 | (065AA1.08) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument and/or service air dryers | 3.2 | A1 | 395019
8 | (027AK2.12) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR code safety valves | 3.7 | K2 | 395009
9 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395023
10 | (CE06EA2.12) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): CEA position | 3 | A2 | 395013
11 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
12 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
13 | (057AA1.01) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Inverter transfer to backup power supply | 3.7 | A1 | 395016
14 | (BE02EK2.09) Knowledge of the relationship between (BW E02) VITAL SYSTEM STATUS VERIFICATION and the following systems or components (CFR: 41.8 / 41.10 / 45.3): PZR heaters and/or spray | 3.6 | K2 | 395001
15 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 395011
16 | (BE05EA2.03) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): SCM | 4.4 | A2 | 395012
17 | (056AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Principle of cooling by natural circulation | 4.3 | K1 | 395015
18 | (025AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating potential leakage paths | 3.6 | K3 | 395007
19 | (051AA1.10) Ability to operate and/or monitor the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.7 / 45.5 / 45.6): SDS | 3.5 | A1 | 395033
20 | (BE03EK2.07) Knowledge of the relationship between (BW E03) INADEQUATE Subcooling Margin and the following systems or components (CFR: 41.8 / 41.10 / 45.3): MFW system | 3.2 | K2 | 395052
21 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395031
22 | (005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.8 | A2 | 395026
23 | (003AK1.13) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): ICS response (BW) | 3.6 | K1 | 395025
24 | (078AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.5 / 41.10 / 45.6 / 45.13): TS leakage limits | 4.2 | K3 | 395042
25 | (060AA1.01) Ability to operate and/or monitor the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.7 / 45.5 / 45.6): PRMS | 3.4 | A1 | 395035
26 | (BA06AK2.03) Knowledge of the relationship between (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM and the following systems or components (CFR: 41.8 / 41.10 / 45.3): CRDS | 3.5 | K2 | 395038
27 | (012K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Departure from nucleate boiling | 3.9 | K5 | 400012
28 | (078K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Valves controlled by instrument air | 3.6 | K1 | 400078
29 | (005A3.02) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): RHRS actuation | 4.2 | A3 | 400005
30 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
31 | (003A4.08) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCP cooling water supplies | 3.5 | A4 | 400003
32 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
33 | (062K3.06) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MT/G | 3.3 | K3 | 400062
34 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
35 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 400061
36 | (063A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery bus voltage and/or current | 3.5 | A1 | 400063
37 | (006K4.11) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Reset of ECCS signal | 3.7 | K4 | 400006
38 | (053K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) (CFR: 41.5 / 45.7): Thermodynamic principles to control S/G heat transfer (e.g., constant T‑ave. control, ramping T‑ave. at low power, or low‑level limits) | 3.4 | K5 | 400053
39 | (013K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): MRSS | 3.1 | K1 | 400013
40 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
41 | (008K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): PRMS | 2.7 | K6 | 400008
42 | (064A4.10) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manually shedding (loads) safeguards bus | 3.5 | A4 | 400064
43 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
44 | (010K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.1 | K3 | 400010
45 | (007A2.03) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overpressurization of the PZR | 4.3 | A2 | 400007
46 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (191004K1.25) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) Reason for starting a positive displacement pump with the discharge valve open; need to clear the flowpath | 2.9 | C | 400004
47 | (076A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): SWS temperatures | 3.3 | A1 | 400076
48 | (073K4.02) Knowledge of (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): System actuations based on PRM signals | 3.7 | K4 | 400073
49 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
50 | (078K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): FHS | 2.6 | K1 | 400078
51 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
52 | (103K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CSS | 3.9 | K6 | 400103
53 | (003A4.09) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS flow, motor current, or seal D/P | 3.6 | A4 | 400003
54 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
55 | (025K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 ICE) ICE CONDENSER SYSTEM (CFR: 41.5 / 45.7): Borated ice | 3.6 | K5 | 400025
56 | (013K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): IAS | 3.2 | K1 | 400013
57 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
58 | (061K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): Bearing oil supply for turbine-driven pumps | 2.8 | K6 | 400061
59 | (062A4.01) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): All breakers (including available switchyard) | 3.5 | A4 | 400062
60 | (004K2.03) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Charging pumps | 3.9 | K2 | 400004
61 | (010K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4 | K3 | 400010
62 | (103A2.07) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment vacuum system malfunctions | 3.3 | A2 | 400103
63 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400003
64 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
65 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (192005K1.03) CONTROL RODS (CFR: 41.1): Predict direction of change in reactor power for a change in control rod position | 3.6 | R | 192005
71 | (192006K1.06) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- transient xenon | 3.4 | R | 192006
72 | (192004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- core age | 3.1 | R | 192004
73 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
74 | (193008K1.21) THERMAL HYDRAULICS (CFR: 41.14): (NATURAL CIRCULATION) Explain the conditions that must exist to establish natural circulation | 4.2 | T | 193008
75 | (193006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14): Discuss methods of prevention of fluid/water hammer | 3.2 | T | 193006
76 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 395002
77 | (022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Whether charging line leak exists | 3.8 | A2 | 395006
78 | (395014) 000055 (EPE 55) Station Blackout (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395014
79 | (011EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Throttling or stopping reflux boiling spray | 3.6 | A2 | 395004
80 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395008
81 | (077AA2.03) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator current | 3.2 | A2 | 395020
82 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395041
83 | (BA04AA2.07) Ability to determine and/or interpret the following as they apply to (BW A04) Turbine Trip (CFR: 41.10 / 43.5 / 45.13): S/G pressure | 3.6 | A2 | 395049
84 | (395048) (BW A02 & A03) Loss of NNI-X/Y (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395048
85 | (059AA2.05) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): The occurrence of automatic safety actions as a result of a high-radiation signal | 3.9 | A2 | 395034
86 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 400062
87 | (059A2.11) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of feedwater control system | 3.5 | A2 | 400059
88 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 400061
89 | (063A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of ventilation during battery charging | 2.8 | A2 | 400063
90 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 400006
91 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
92 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400005
93 | (059A2.07) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Tripping of MFW pump turbine | 3.8 | A2 | 400059
94 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
95 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4