## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE05EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.5 / 41.7 / 45.7 to 45.9): Evaluating HPSI throttle/restart criteria | 4.2 | K1 | 395012
2 | (055EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Faults and lockouts that must be cleared before reenergizing buses | 3.9 | A2 | 395014
3 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395016
4 | (BE02EK2.10) Knowledge of the relationship between (BW E02) VITAL SYSTEM STATUS VERIFICATION and the following systems or components (CFR: 41.8 / 41.10 / 45.3): ESAS | 4.4 | K2 | 395001
5 | (CE06EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implement guidelines to prevent feed ring damage during feedwater restoration | 3.5 | K3 | 395013
6 | (065AA1.02) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Components served by instrument air to minimize drain on the system | 2.9 | A1 | 395019
7 | (038EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Natural circulation | 3.6 | K1 | 395011
8 | (022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Whether charging line leak exists | 3.3 | A2 | 395006
9 | (395003) 000009 (EPE 9) Small Break LOCA (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395003
10 | (WE05EK2.16) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CNT | 3.1 | K2 | 395023
11 | (015AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for RCP malfunction | 3.8 | K3 | 395005
12 | (062AA1.05) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CCWS | 3.4 | A1 | 395018
13 | (025AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): RHR pump cavitation | 3.8 | K1 | 395007
14 | (008AA2.01) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): RCS pressure and temperature | 4 | A2 | 395002
15 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 395015
16 | (027AK2.11) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 3.9 | K2 | 395009
17 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
18 | (077AA1.07) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): EDG | 4 | A1 | 395020
19 | (059AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.8 / 41.10 / 45.3): Loss of the CWS during discharge | 3.2 | K1 | 395034
20 | (BA01AA2.04) Ability to determine and/or interpret the following as they apply to (BW A01) Plant Runback (CFR: 41.10 / 43.5 / 45.13): PZR level | 3.6 | A2 | 395047
21 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 395031
22 | (BA07AK2.08) Knowledge of the relationship between (BW A07) Flooding and the following systems or components (CFR: 41.8 / 41.10 / 45.3): EFW | 3.6 | K2 | 395051
23 | (WE14EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing containment spray | 4.1 | K3 | 395039
24 | (003AA1.08) Ability to operate and/or monitor the following as they apply to (APE 3) DROPPED Control Rod (CFR: 41.7 / 45.5 / 45.6): CRDS | 3.7 | A1 | 395025
25 | (BA05AK1.13) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW A05) Emergency Diesel Actuation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Excessive heat transfer | 3.5 | K1 | 395050
26 | (074EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 43.5 / 45.13): RCS cooldown rate | 3.9 | A2 | 395040
27 | (012K4.09) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Separation of control and protection circuits | 3.5 | K4 | 400012
28 | (006K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): Valves | 3.3 | K6 | 400006
29 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 400013
30 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
31 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
32 | (004A2.36) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): ECP and related boration/dilution/reactivity relationships | 3.3 | A2 | 400004
33 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
34 | (026A4.02) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote location and use of spool pieces and other equipment to set up portable recirculation pump for additive tank, including a power supply (BW) | 2.5 | A4 | 400026
35 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
36 | (008K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Requirements on and for the CCWS for different conditions of the power plant | 3.1 | K5 | 400008
37 | (078K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Cooling water to compressor | 2.9 | K1 | 400078
38 | (022K4.06) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment pipe chase cooling | 2.8 | K4 | 400022
39 | (059K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW pump suction pressure transmitters | 3.1 | K6 | 400059
40 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191001K1.01) VALVES (CFR: 41.3): The function and operation of safety valves | 3.4 | C | 400005
41 | (010A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Tail pipe temperature and acoustic monitors | 3.6 | A1 | 400010
42 | (064K2.03) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Control power | 3.7 | K2 | 400064
43 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.7 | A2 | 400063
44 | (062K3.07) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Non-Class 1E AC distribution system | 3.2 | K3 | 400062
45 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
46 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
47 | (061K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Decay heat sources and magnitude | 3.9 | K5 | 400061
48 | (053K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Plant computer (e.g., ULD and plant performance analysis system) | 3.3 | K1 | 400053
49 | (012K4.07) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): First-out indication | 3.6 | K4 | 400012
50 | (006K6.24) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): CSS | 3.7 | K6 | 400006
51 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 400013
52 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
53 | (039K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): SDS | 3.4 | K2 | 400039
54 | (004A2.23) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): High filter D/P | 2.7 | A2 | 400004
55 | (004K4.20) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Purpose of centrifugal pump miniflows (recirculation) | 3.1 | K4 | 400004
56 | (026K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400026
57 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191001K1.02) VALVES (CFR: 41.3): The function and operation of relief valves | 3.3 | C | 400006
58 | (039A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): RCS T-ave. | 3.9 | A1 | 400039
59 | (003K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCP lube oil pumps and RCP bearing lift oil pumps | 2.9 | K2 | 400003
60 | (062A2.21) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of vital AC electrical instrument buses | 4 | A2 | 400062
61 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
62 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
63 | (076A3.05) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic opening features associated with SWS isolation valves | 3.7 | A3 | 400076
64 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
65 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
66 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G2.4 | G2.4
70 | (192005K1.05) CONTROL RODS (CFR: 41.1): Define control rod worth, differential control rod worth, and integral control rod worth | 3.1 | R | 192005
71 | (192004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- boron concentration | 3.1 | R | 192004
72 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 395008
77 | (011EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Throttling or stopping reflux boiling spray | 3.6 | A2 | 395004
78 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395010
79 | (BE05EA2.05) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395012
80 | (395014) 000055 (EPE 55) Station Blackout (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395014
81 | (057AA2.18) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): System and component status using local or remote controls | 3.5 | A2 | 395016
82 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 395041
83 | (BE08EA2.04) Ability to determine and/or interpret the following as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.10 / 43.5 / 45.13): HPI flow | 3.9 | A2 | 395053
84 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395035
85 | (BA04AA2.10) Ability to determine and/or interpret the following as they apply to (BW A04) Turbine Trip (CFR: 41.10 / 43.5 / 45.13): Turbine speed | 3 | A2 | 395049
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400103
87 | (026A2.02) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of automatic recirculation transfer (BW) | 4 | A2 | 400026
88 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400003
89 | (008A2.07) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Consequences of high/low CCW flow rates | 3.1 | A2 | 400008
90 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 400078
91 | (059A2.12) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of feedwater regulating valves | 3.6 | A2 | 400059
92 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400008
93 | (007A2.07) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Recirculating PRT/quench tank | 2.4 | A2 | 400007
94 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4