## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 395005
2 | (BE10EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary to secondary heat transfer | 4 | K1 | 395001
3 | (026AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor | 4.1 | K3 | 395008
4 | (055EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): AFW flow | 4.1 | A2 | 395014
5 | (011EA1.22) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): In‑core instrumentation | 3.6 | A1 | 395004
6 | (008AK2.10) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 4 | K2 | 395002
7 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 395012
8 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
9 | (009EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Inadequate core cooling | 4 | K3 | 395003
10 | (022AA2.07) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): VCT level | 3.8 | A2 | 395006
11 | (025AA1.31) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): Containment | 3.5 | A1 | 395007
12 | (CE06EK2.03) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.9 | K2 | 395013
13 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395018
14 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
15 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
16 | (057AA2.03) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RPS panel alarm annunciators and trip | 3.4 | A2 | 395016
17 | (077AA1.04) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): Reactor controls | 3.6 | A1 | 395020
18 | (058AK2.04) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery charger | 3.6 | K2 | 395017
19 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395026
20 | (WE06EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 / 41.7 / 45.7 / 45.8): Potential for red path on core cooling after stopping all RCPs | 3.9 | K1 | 395040
21 | (076AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reducing letdown flow rates | 2.9 | K3 | 395041
22 | (024AA2.11) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): T‑ave. | 3.2 | A2 | 395027
23 | (WE14EA1.11) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): MFW system | 3.3 | A1 | 395039
24 | (033AK2.01) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.1 | K2 | 395030
25 | (395059) (CE E13*) Loss of Forced Circulation/LOOP/Blackout (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395059
26 | (032AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Effects of voltage changes on performance | 2.9 | K1 | 395029
27 | (063K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Hydrogen generation during battery charging | 2.8 | K5 | 400063
28 | (073K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): PVS | 3.1 | A3 | 400073
29 | (012K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.2 | K1 | 400012
30 | (003A2.05) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of VCT pressure on RCP seal leakoff flows | 3.1 | A2 | 400003
31 | (076A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Intake screen D/P | 2.9 | A1 | 400076
32 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
33 | (010K2.05) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) Pressure channels | 3.3 | K2 | 400010
34 | (013A4.15) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Upper head injection accumulator isolation | 3.7 | A4 | 400013
35 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
36 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 400064
37 | (006K4.17) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): ECCS valve interlocks | 3.8 | K4 | 400006
38 | (059K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Shrink and swell | 3.5 | K5 | 400059
39 | (061A3.06) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): S/GB and sampling isolation | 2.9 | A3 | 400061
40 | (103K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CPS | 3.5 | K1 | 400103
41 | (004A2.13) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Low RWST level | 3.6 | A2 | 400004
42 | (078A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Service air pressure | 2.9 | A1 | 400078
43 | (008K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): CCW pump(s) | 3.9 | K6 | 400008
44 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
45 | (026A4.05) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment spray actuation and/or reset switches | 4 | A4 | 400026
46 | (039K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.4 | K3 | 400039
47 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191007K1.03) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Reason for sampling inlet and outlet of demineralizer | 2.5 | C | 400005
48 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
49 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K5 | 400073
50 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
51 | (003K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.9 | K1 | 400003
52 | (076A2.07) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Heat exchanger and condenser failure | 3.6 | A2 | 400076
53 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | A1 | 400007
54 | (010K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): CVCS | 3.4 | K6 | 400010
55 | (073K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): LRS | 3.4 | K5 | 400073
56 | (006A3.08) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Automatic transfer of ECCS flowpaths | 3.9 | A3 | 400006
57 | (039K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): AFW | 3.6 | K1 | 400039
58 | (007A2.05) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Exceeding PRT/quench tank high-pressure limits | 3.9 | A2 | 400007
59 | (012A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Single and multiple channel trip indicators | 3.8 | A1 | 400012
60 | (022K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): CCS components | 3.5 | K6 | 400022
61 | (076K2.09) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Intake screens | 2.6 | K2 | 400076
62 | (004A4.16) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Activity levels of RCS and letdown | 2.9 | A4 | 400004
63 | (005K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.5 | K3 | 400005
64 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (192004K1.13) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the components of the power coefficient | 3.1 | R | 192004
71 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
72 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
73 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
74 | (193009K1.07) CORE THERMAL LIMITS (CFR: 41.14): Describe factors that affect peaking and hot channel factors | 3.3 | T | 193009
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (038EA2.19) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): S/G level | 4 | A2 | 395011
77 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 395010
78 | (015AA2.08) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP high bearing temperature | 3.4 | A2 | 395005
79 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395001
80 | (026AA2.05) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values for CCW-header flow rate and the flow rates to the components cooled by the CCWS | 3.1 | A2 | 395008
81 | (395014) 000055 (EPE 55) Station Blackout (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 395014
82 | (CA16AA2.01) Ability to determine and/or interpret the following as they apply to (CE A16) EXCESS RCS Leakage (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.4 | A2 | 395057
83 | (395058) (CE E09) Functional Recovery (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395058
84 | (060AA2.05) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): The occurrence of automatic safety actions as a result of a high-radiation signal | 3.8 | A2 | 395035
85 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 395024
86 | (013A2.07) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of IAS | 3.5 | A2 | 400013
87 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400022
88 | (064A2.07) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overexcitation or underexcitation | 3.5 | A2 | 400064
89 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 400006
90 | (059A2.03) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overfeeding event | 3.5 | A2 | 400059
91 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400026
92 | (062A2.25) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fault on a motor control center | 3.4 | A2 | 400062
93 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400061
94 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4