## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (022AA2.06) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): CVCS charging pump ammeters | 3 | A2 | 395006
2 | (026AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor | 4.1 | K3 | 395008
3 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 395001
4 | (015AA1.01) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): RCP lube oil system | 3.1 | A1 | 395005
5 | (025AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Core cooling | 4.2 | K1 | 395007
6 | (057AK2.07) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): Secondary system instrumentation | 3.3 | K2 | 395016
7 | (062AA2.07) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): Implementation of TS requirements for loss of service water | 3 | A2 | 395018
8 | (009EK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): CCWS automatic isolation on high delta flow/ temperature to RCP thermal barrier | 3.2 | K3 | 395003
9 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 395012
10 | (011EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): Containment isolation system | 4.1 | A1 | 395004
11 | (027AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): TS limits for RCS pressure | 4.1 | K1 | 395009
12 | (008AK2.08) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.8 | K2 | 395002
13 | (038EA2.23) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCP operating parameters | 3 | A2 | 395011
14 | (029EK3.12) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in an EOP for ATWS | 4.3 | K3 | 395010
15 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395019
16 | (058AA1.04) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): AC distribution system breakers | 3.6 | A1 | 395017
17 | (056AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Long‑term spent fuel pool cooling | 3.6 | K1 | 395015
18 | (CE06EK2.03) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.9 | K2 | 395013
19 | (051AA2.04) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Gland steam header pressure | 2.7 | A2 | 395033
20 | (060AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implementation of emergency plan | 3.9 | K3 | 395035
21 | (395037) 000067 (APE 67) Plant Fire On Site (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395037
22 | (CA16AA1.06) Ability to operate and/or monitor the following as they apply to (CE A16) EXCESS RCS Leakage (CFR: 41.5 / 41.7 / 45.5 / 45.8): SGS | 3.5 | A1 | 395057
23 | (005AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.8 / 41.10 / 45.3): SDM | 4 | K1 | 395026
24 | (074EK2.04) Knowledge of the relationship between (EPE 74) Inadequate Core Cooling and the following systems or components (CFR: 41.7 / 45.7): ECCS | 4.3 | K2 | 395040
25 | (BA08AA2.03) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Refueling canal level | 4 | A2 | 395031
26 | (CE13EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E13) LOSS OF FORCED CIRCULATION AND/OR LOOP AND/OR A BLACKOUT (CFR: 41.5 / 41.10 / 45.6 / 45.13): Protecting RCP seals | 3.7 | K3 | 395059
27 | (022A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Cooling water flow | 3.3 | A1 | 400022
28 | (026A2.03) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of ESF | 3.9 | A2 | 400026
29 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 400007
30 | (078K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Cooling water | 2.8 | K6 | 400078
31 | (008A4.12) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): CRDM temperatures | 2.9 | A4 | 400008
32 | (004K5.44) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Pressure response in PZR during in-and-out surge | 3.6 | K5 | 400004
33 | (062K4.02) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Circuit breaker automatic trips | 3.6 | K4 | 400062
34 | (003K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS/RPS | 3.6 | K1 | 400003
35 | (061A3.04) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW isolation | 4 | A3 | 400061
36 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
37 | (013K3.06) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CSS | 4.1 | K3 | 400013
38 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
39 | (059A2.12) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of feedwater regulating valves | 3.9 | A2 | 400059
40 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191006K1.13) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Consequences of heat exchanger tube failure | 2.9 | C | 400103
41 | (006K6.20) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400006
42 | (064A4.09) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Establishing power from the ring bus (to relieve EDG) | 3.5 | A4 | 400064
43 | (076K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Water hammer | 2.9 | K5 | 400076
44 | (039K4.06) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevent reverse steam flow on steamline break | 3.5 | K4 | 400039
45 | (063K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Battery ventilation system | 2.7 | K1 | 400063
46 | (010A3.06) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): SBCS operation (CE) | 3.3 | A3 | 400010
47 | (005K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RHR pumps | 4.1 | K2 | 400005
48 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
49 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
50 | (007A2.08) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal level in the PRT/quench tank | 3.1 | A2 | 400007
51 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 400078
52 | (008K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): RCP cooling water flow instrument | 3.1 | K6 | 400008
53 | (004A4.04) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Calculation of boron concentration changes | 3.6 | A4 | 400004
54 | (062K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Consequence of paralleling out-of-phase/mismatch in volts | 3.7 | K5 | 400062
55 | (025A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 ICE) ICE CONDENSER SYSTEM, including (CFR: 41.5 / 45.5): Ice condenser doors status | 3.9 | A1 | 400025
56 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.9 | A2 | 400005
57 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (191008K1.04) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Operation of various push buttons, switches, and handles and the resulting action on breakers | 3 | C | 400012
58 | (026K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): Heat exchangers | 3.4 | K6 | 400026
59 | (010A4.01) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR spray valve | 3.8 | A4 | 400010
60 | (022K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Effects on electrical insulation | 3 | K5 | 400022
61 | (062K4.01) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bus lockouts | 3.6 | K4 | 400062
62 | (059K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): IAS | 3 | K1 | 400059
63 | (013A3.04) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): ESF HVAC | 3.1 | A3 | 400013
64 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192008K1.06) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) Calculate ECP using a 1/M plot | 3.1 | R | 192008
71 | (192004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- moderator temperature | 3.1 | R | 192004
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193008K1.10) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Define DNBR | 3.1 | T | 193008
74 | (193006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14): Discuss methods of prevention of fluid/water hammer | 3.2 | T | 193006
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (055EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): RCS core cooling through natural circulation | 4.2 | A2 | 395014
77 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 395020
78 | (022AA2.04) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): PZR level | 3.8 | A2 | 395006
79 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395008
80 | (BE02EA2.05) Ability to determine and/or interpret the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.10 / 43.5 / 45.13): Turbine throttle and governor valve position | 3.6 | A2 | 395001
81 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 395005
82 | (028AA2.13) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): The actual PZR level, given an uncompensated level with an appropriate graph | 3.3 | A2 | 395028
83 | (395032) 000037 (APE 37) Steam Generator Tube Leak (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 395032
84 | (CE09EA2.01) Ability to determine and/or interpret the following as they apply to (CE E09) FUNCTIONAL RECOVERY (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.4 | A2 | 395058
85 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 395030
86 | (003A2.05) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of VCT pressure on RCP seal leakoff flows | 3.2 | A2 | 400003
87 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 400061
88 | (012A2.07) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of DC control power | 3.9 | A2 | 400012
89 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 400013
90 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
91 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400103
92 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.8 | A2 | 400063
93 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400039
94 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4