## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295037EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Containment conditions/isolations | 3.7 | A2 | 295037
2 | (295027EK2.04) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems. | 2.9 | K2 | 295027
3 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 600000
4 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
5 | (295026EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Pump NPSH | 3.6 | K1 | 295026
6 | (295006AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor water level response | 4 | K3 | 295006
7 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4 | A2 | 295003
8 | (295005AK2.07) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.9 | K2 | 295005
9 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 700000
10 | (295001AA1.03) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 3.4 | A1 | 295001
11 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
12 | (295024EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Drywell flooding | 3.7 | K3 | 295024
13 | (295021AA2.06) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295021
14 | (295030EK2.04) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.8 | K2 | 295030
15 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295031
16 | (295019AA1.03) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Air compressors | 3.5 | A1 | 295019
17 | (295018AA1.07) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.6 | K1 | 295018
18 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
19 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 4 | A2 | 295023
20 | (295016AK2.09) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI: torus/suppression pool cooling mode | 3.7 | K2 | 295016
21 | (295017AA1.03) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Plant ventilation systems | 3.5 | A1 | 295017
22 | (295020AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.8 to 41.10) Water chemistry | 2.8 | K1 | 295020
23 | (295029EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.5 | K3 | 295029
24 | (295033EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan | 3.6 | A2 | 295033
25 | (295014AK2.01) Knowledge of the relationship between the (APE 14) INADVERTENT REACTIVITY ADDITION and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.1 | K2 | 295014
26 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295009
27 | (209002A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) System pressure | 3.9 | A1 | 209002
28 | (264000A3.06) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Cooling water system operation | 3.6 | A3 | 264000
29 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 215003
30 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
31 | (212000K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Process radiation monitoring | 3.1 | K3 | 212000
32 | (205000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) System venting | 2.9 | K5 | 205000
33 | (215004K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) 24/48 volt DC power | 3.4 | K6 | 215004
34 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
35 | (203000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Primary containment | 3.5 | K1 | 203000
36 | (211000K4.04) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Indication of a fault in squib valves firing circuits | 3.7 | K4 | 211000
37 | (261000A2.12) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High fuel pool ventilation radiation | 3.4 | A2 | 261000
38 | (217000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Suppression pool level | 3.4 | A1 | 217000
39 | (239002A3.09) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) Low-low set logic | 3.8 | A3 | 239002
40 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291004K1.08) PUMPS (CFR: 41.3) (CENTRIFUGAL) Purpose of starting a pump with discharge valve closed | 2.8 | C | 300000
41 | (223002A4.01) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) System valve operations | 4.2 | A4 | 223002
42 | (510000K3.07) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Residual heat removal/low-pressure coolant injection | 3.7 | K3 | 510000
43 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
44 | (263000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Station blackout | 4.3 | K6 | 263000
45 | (259002K2.01) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Reactor water level control system | 3.3 | K2 | 259002
46 | (262001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 AC) AC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Emergency generators | 4.7 | K1 | 262001
47 | (209001K4.01) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overpressurization of core spray piping | 3.5 | K4 | 209001
48 | (215005A2.10) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Changes in void concentration | 3.3 | A2 | 215005
49 | (209002A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Diesel loading | 3.8 | A1 | 209002
50 | (264000A3.07) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Room ventilation system | 3.1 | A3 | 264000
51 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 215003
52 | (262002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment isolation system/nuclear steam supply shutoff | 3.3 | A4 | 262002
53 | (201003K4.08) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) CRD mechanism temperature | 3.1 | K4 | 201003
54 | (201001A2.02) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Valve closures due to malfunction(s) | 3.8 | A2 | 201001
55 | (290001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 SC) SECONDARY CONTAINMENT including: (CFR: 41.5 / 45.5) Reactor building area temperature | 3.6 | A1 | 290001
56 | (239003A3.08) Ability to monitor automatic operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.7 / 45.7) Blower operation | 2.6 | A3 | 239003
57 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (291002K1.08) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Effects of operating environment (pressure, temperature, or radiation) | 2.9 | C | 201005
58 | (510001A4.03) Ability to manually operate and/or monitor the (SF8 CWS*) CIRCULATING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Cooling tower basin level | 2.8 | A4 | 510001
59 | (290002K3.24) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Source range monitor system | 3.3 | K3 | 290002
60 | (272000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.4) | 3.3 | K5 | 272000
61 | (202002K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM: (CFR: 41.7 / 45.7) Flow control valves | 3.7 | K6 | 202002
62 | (256000K2.01) (SF2 CDS) CONDENSATE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) System pumps | 3.4 | K2 | 256000
63 | (202001K1.31) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF4 RS) RECIRCULATION SYSTEM and the following systems: (CFR: 41.2 to 41.8 / 45.7 / 45.8) Primary containment isolation system | 3.3 | K1 | 202001
64 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292002K1.11) NEUTRON LIFE CYCLE (CFR: 41.1) Define reactivity | 3.3 | R | 292002
71 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
72 | (292004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain Doppler broadening and self-shielding | 2.7 | R | 292004
73 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
74 | (293007K1.13) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Calculate core thermal power using a simplified heat | 2.9 | T | 293007
75 | (293008K1.20) THERMAL HYDRAULICS (CFR: 41.14) (CORE INLET SUBCOOLING) Define carryunder | 2.6 | T | 293008
76 | (295037EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) SCRAM air header pressure | 4 | A2 | 295037
77 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295027
78 | (600000AA2.12) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Location of vital equipment within fire zone | 3.5 | A2 | 600000
79 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295025
80 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
81 | (295006) (APE 6) SCRAM (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295006
82 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.3 | A2 | 295003
83 | (295011AA2.02) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.3 | A2 | 295011
84 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 295022
85 | (295002AA2.06) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Condensate flow | 2.7 | A2 | 295002
86 | (212000A2.08) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low reactor level | 4.4 | A2 | 212000
87 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 205000
88 | (215004A2.03) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck detector | 3.2 | A2 | 215004
89 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 218000
90 | (203000A2.14) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation logic failure | 4 | A2 | 203000
91 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 204000
92 | (216000A2.09) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Jet pump malfunction | 3.3 | A2 | 216000
93 | (219000) (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 219000
94 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4