## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (600000AK2.05) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Fire alarm panels | 3.4 | K2 | 600000
2 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
3 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295031
4 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 295025
5 | (295021AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Maximizing reactor water cleanup flow | 3.5 | K3 | 295021
6 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
7 | (295004AK2.03) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) DC electrical loads | 3.8 | K2 | 295004
8 | (295016AA1.09) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Isolation condensers (Nine Mile Point 1, Dresden) | 4 | A1 | 295016
9 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.5 | A2 | 295026
10 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 295003
11 | (295001AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor water level response | 3.7 | K3 | 295001
12 | (295027EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Primary containment integrity | 4 | K1 | 295027
13 | (295018AK2.06) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.8 | K2 | 295018
14 | (700000AA1.06) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) AC electrical distribution system | 3.5 | A1 | 700000
15 | (295005AA2.07) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.4 | A2 | 295005
16 | (295006) (APE 6) SCRAM (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295006
17 | (295024EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Suppression pool spray | 4.1 | K3 | 295024
18 | (295030EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Pump NPSH | 3.9 | K1 | 295030
19 | (295037EK2.22) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) RHR/LPCI system | 3.8 | K2 | 295037
20 | (295023AA1.07) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295023
21 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295014
22 | (295007AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor/turbine pressure regulating system operation | 4 | K3 | 295007
23 | (295010AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell temperature increase | 3.8 | K1 | 295010
24 | (295035EK2.04) Knowledge of the relationship between the (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Blow-out panels | 3.5 | K2 | 295035
25 | (295029EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) RHR/LPCI | 3.3 | A1 | 295029
26 | (500000EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen concentration limits for drywell | 3.3 | A2 | 500000
27 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
28 | (262001K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Paralleling AC sources | 3.9 | K5 | 262001
29 | (211000K4.01) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Zero leakage to the reactor (squib valves) | 3.3 | K4 | 211000
30 | (218000A2.04) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS failure to initiate | 4.4 | A2 | 218000
31 | (263000A3.03) Ability to monitor automatic operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Transfers | 3.3 | A3 | 263000
32 | (261000K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Instrument air system | 2.8 | K6 | 261000
33 | (264000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) AC electrical distribution | 4.5 | K1 | 264000
34 | (215003A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Control rod block status | 3.9 | A1 | 215003
35 | (239002K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 SRV) SAFETY RELIEF VALVES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure control | 4.3 | K3 | 239002
36 | (300000A4.03) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Manual isolations | 3.2 | A4 | 300000
37 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 212000
38 | (215005K2.03) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) OPRM channels | 3.6 | K2 | 215005
39 | (205000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) System venting | 2.9 | K5 | 205000
40 | (209002K4.02) Knowledge of (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overfilling reactor vessel | 4 | K4 | 209002
41 | (223002A2.06) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Containment instrumentation failures | 3.8 | A2 | 223002
42 | (217000A3.02) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Turbine startup | 4 | A3 | 217000
43 | (203000K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) ADS | 4.1 | K6 | 203000
44 | (215004K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 3.5 | K1 | 215004
45 | (510000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.5 / 45.5) CCW heat exchanger outlet temperature | 3.4 | A1 | 510000
46 | (209001K3.02) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) ADS logic | 4.1 | K3 | 209001
47 | (259002A4.08) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Manually initiate FWCI | 3.5 | A4 | 259002
48 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (291004K1.17) PUMPS (CFR: 41.3) (CENTRIFUGAL) Using a centrifugal pump characteristic curve and a system characteristic curve, illustrate how the system operating point changes due to system changes | 2.5 | C | 262002
49 | (400000K2.01) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW pumps | 3.4 | K2 | 400000
50 | (262001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Breaker control power | 3.5 | K5 | 262001
51 | (211000K4.10) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Overpressure protection | 2.9 | K4 | 211000
52 | (218000A2.06) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS initiation signals present | 4.5 | A2 | 218000
53 | (290001A4.10) Ability to manually operate and/or monitor the (SF5 SC) SECONDARY CONTAINMENT in the control room: (CFR: 41.7 / 45.5 to 45.8) System lineups | 3.7 | A4 | 290001
54 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 215001
55 | (241000K2.02) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Controls | 2.9 | K2 | 241000
56 | (290003K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION: (CFR: 41.5 / 45.3) Control room habitability | 3.7 | K5 | 290003
57 | (201003K4.04) Knowledge of (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM design features and/or interlocks that provide for the following: (CFR: 41.1-7 / 41.10 / 45.1-6) Scramming of the control rod with accumulator or RPV pressure | 4 | K4 | 201003
58 | (510001A2.01) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pump/Motor failure | 3.5 | A2 | 510001
59 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
60 | (290002K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.7 / 45.7) Reactor water cleanup system | 3.3 | K6 | 290002
61 | (202001K1.31) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF4 RS) RECIRCULATION SYSTEM and the following systems: (CFR: 41.2 to 41.8 / 45.7 / 45.8) Primary containment isolation system | 3.3 | K1 | 202001
62 | (233000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP including: (CFR: 41.5 / 45.5) System flow | 3.2 | A1 | 233000
63 | (286000K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Personnel protection | 3.3 | K3 | 286000
64 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292008K1.13) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Explain characteristics to look for when the POAH is reached | 3.9 | R | 292008
71 | (292006K1.12) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Reactor SCRAM | 2.8 | R | 292006
72 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
75 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
76 | (600000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Whether malfunction(s) are due to common-mode electrical failures | 3 | A2 | 600000
77 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 295019
78 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.7 | A2 | 295031
79 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295025
80 | (295021AA2.06) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.8 | A2 | 295021
81 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 295038
82 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.5 | A2 | 295004
83 | (295022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) CRD mechanism temperatures | 3.1 | A2 | 295022
84 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295036
85 | (295013AA2.01) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.2 | A2 | 295013
86 | (263000A2.02) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of ventilation during charging | 3 | A2 | 263000
87 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 261000
88 | (264000A2.08) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation of emergency generator room fire protection system | 3.5 | A2 | 264000
89 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 215003
90 | (239002A2.06) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor high pressure | 4.2 | A2 | 239002
91 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 202002
92 | (271000A2.04) Ability to (a) predict the impacts of the following on the (SF9 OG) OFFGAS SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6 / 45.8) Offgas system high radiation | 3.4 | A2 | 271000
93 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 288000
94 | (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
95 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
96 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4