## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
2 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
3 | (295037EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor pressure effects on reactor power | 4.3 | K1 | 295037
4 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 4 | G | 295016
5 | (600000AK2.08) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Portable fire suppression systems | 3 | K2 | 600000
6 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.9 | A2 | 295023
7 | (295021AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Installing fuel pool gates | 3 | K3 | 295021
8 | (295006AA1.03) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 4.2 | A1 | 295006
9 | (295024EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Containment building integrity (Mark III) | 4 | K1 | 295024
10 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295005
11 | (295027EK2.01) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI: containment spray system mode | 4 | K2 | 295027
12 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
13 | (295018AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Reactor power reduction | 3.6 | K3 | 295018
14 | (295026EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) RHR/LPCI | 4 | A1 | 295026
15 | (295003AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Emergency diesel generator load limits | 4 | K1 | 295003
16 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 295031
17 | (700000AK2.08) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Main turbine generator and auxiliary systems | 3.1 | K2 | 700000
18 | (295038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.8 | A2 | 295038
19 | (295001AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor power response | 4 | K3 | 295001
20 | (295030EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) Suppression pool makeup system(s) | 3.5 | A1 | 295030
21 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295008
22 | (295010AK2.08) Knowledge of the relationship between the (APE 10) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Plant ventilation systems | 3.2 | K2 | 295010
23 | (295022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Accumulator pressure | 4 | A2 | 295022
24 | (295035EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Secondary containment ventilation alignment | 3.7 | K3 | 295035
25 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
26 | (295032EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.8 to 41.10) Radiation releases | 3.5 | K1 | 295032
27 | (263000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Ground detection | 2.9 | K5 | 263000
28 | (211000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.6 | K1 | 211000
29 | (264000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Operating voltages, currents, and temperatures | 3.6 | A1 | 264000
30 | (203000K4.01) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic system initiation/injection | 4.4 | K4 | 203000
31 | (300000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Component cooling water system | 3.1 | K6 | 300000
32 | (218000A4.02) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS logic initiation | 4.2 | A4 | 218000
33 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 239002
34 | (205000K2.01) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) Knowledge of electrical power supplies to the following: (CFR: 41.7) Pump motors | 3.6 | K2 | 205000
35 | (215004K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power indication | 4 | K3 | 215004
36 | (400000A3.05) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System response due to a LOCA signal | 3.8 | A3 | 400000
37 | (259002A2.02) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of any number of reactor feedwater flow inputs | 3.8 | A2 | 259002
38 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
39 | (209001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Automatic depressurization system | 4.2 | K1 | 209001
40 | (262002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.1 | A1 | 262002
41 | (261000K4.04) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Radioactive particulate filtration | 3.4 | K4 | 261000
42 | (209002K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Plant ventilation systems (HPCS room coolers) | 3.3 | K6 | 209002
43 | (223002A4.07) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system initiations | 3.8 | A4 | 223002
44 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (291004K1.06) PUMPS (CFR: 41.3) (CENTRIFUGAL) Need for net positive suction head (NPSH); effects of loss of suction | 3.3 | C | 510000
45 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
46 | (217000K3.07) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Secondary containment parameters | 3.4 | K3 | 217000
47 | (215003A3.01) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215003
48 | (215005A2.07) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation flow channels flow mismatch | 3.8 | A2 | 215005
49 | (263000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Battery ventilation | 2.9 | K5 | 263000
50 | (211000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection system | 2.6 | K1 | 211000
51 | (264000A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Emergency generator room temperature | 2.8 | A1 | 264000
52 | (203000K4.15) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump runout protection | 3 | K4 | 203000
53 | (256000A3.07) Ability to monitor automatic operation of the (SF2 CDS) CONDENSATE SYSTEM including: (CFR: 41.7 / 45.7) Feedwater heater level | 3.3 | A3 | 256000
54 | (216000A2.09) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Jet pump malfunction | 3.8 | A2 | 216000
55 | (204000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.5 / 45.3) System temperatures | 3 | K5 | 204000
56 | (290003K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water system | 2.7 | K1 | 290003
57 | (288000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.5 / 45.5) Secondary containment differential pressure | 3.4 | A1 | 288000
58 | (268000K4.01) Knowledge of (SF9 RW) RADWASTE SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic isolation of radiological release isolation valves | 3 | K4 | 268000
59 | (286000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) DC electrical distribution | 3 | K6 | 286000
60 | (201003A4.01) Ability to manually operate and/or monitor the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM in the control room: (CFR: 41.1-7 / 45.1-8) CRD mechanism temperature | 3 | A4 | 201003
61 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 510001
62 | (259001K2.02) (SF2 FWS) FEEDWATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) System motor-operated valves | 2.9 | K2 | 259001
63 | (245000K3.04) Knowledge of the effect that a loss or malfunction of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Feedwater system | 3.2 | K3 | 245000
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292005K1.02) CONTROL RODS (CFR: 41.1) Name the material used for thermal neutron absorption in control rods | 2.6 | R | 292005
71 | (292006K1.07) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Xenon following a SCRAM | 3.2 | R | 292006
72 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Discuss pump head | 2.6 | T | 293006
75 | (293003K1.22) STEAM (CFR: 41.14) Explain the usefulness of steam tables to the control | 3.2 | T | 293003
76 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 295004
77 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
78 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 295037
79 | (295016AA2.02) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.2 | A2 | 295016
80 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 600000
81 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 3.6 | A2 | 295023
82 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 295021
83 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 500000
84 | (295009AA2.03) Ability to determine and/or interpret the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water cleanup blowdown rate | 2.9 | A2 | 295009
85 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 295002
86 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 300000
87 | (218000A2.03) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of pneumatic supply to ADS valves | 3.8 | A2 | 218000
88 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 239002
89 | (205000A2.04) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of DC power | 3.6 | A2 | 205000
90 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 215004
91 | (202001A2.14) Ability to (a) predict the impacts of the following on the (SF1, SF4 RS) RECIRCULATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High reactor pressure (ATWS circuitry initiation) | 3.8 | A2 | 202001
92 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 201001
93 | (230000A2.12) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve logic failure | 3.7 | A2 | 230000
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4