## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA1.05) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor recirculation system | 3.6 | A1 | 295018
2 | (295005AA2.03) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine valve position | 4.4 | A2 | 295005
3 | (295037EK2.20) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) High-pressure core spray | 3.8 | K2 | 295037
4 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295016
5 | (295019AK2.14) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Plant air systems | 3.5 | K1 | 295019
6 | (295030EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) HPCI shutdown | 4 | K3 | 295030
7 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
8 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
9 | (600000AK2.08) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Portable fire suppression systems | 3 | K2 | 600000
10 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295038
11 | (295024EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Containment building integrity (Mark III) | 4 | K1 | 295024
12 | (295025EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Isolation condenser initiation (Nine Mile Point 1, Dresden) | 4 | K3 | 295025
13 | (295001AA1.04) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) RCIS (BWR 6) | 3.4 | A1 | 295001
14 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295027
15 | (295004AK2.03) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) DC electrical loads | 3.8 | K2 | 295004
16 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 295021
17 | (295023AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Radiation exposure hazards | 3.9 | K1 | 295023
18 | (295006AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Direct turbine generator trip | 3.7 | K3 | 295006
19 | (295026EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) LPCS | 3.8 | A1 | 295026
20 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.2 | A2 | 295031
21 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 295010
22 | (295007AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 41.10) Decay heat generation | 3.1 | K1 | 295007
23 | (295013AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.5 / 45.6) Limiting heat additions | 3.9 | K3 | 295013
24 | (295017AA1.01) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Radwaste | 2.8 | A1 | 295017
25 | (295002AA2.04) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Offgas system flow | 3.9 | A2 | 295002
26 | (295014AK2.08) Knowledge of the relationship between the (APE 14) INADVERTENT REACTIVITY ADDITION and the following systems or components: (CFR: 41.7 / 45.8) RMCS | 3.8 | K2 | 295014
27 | (300000K4.03) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Compressor automatic starts/trips | 3.2 | K4 | 300000
28 | (215005K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) IRMs | 3.1 | K6 | 215005
29 | (203000A3.08) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) System initiation sequence | 4 | A3 | 203000
30 | (259002K3.05) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Recirculation flow control system | 3.3 | K3 | 259002
31 | (218000A4.02) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS logic initiation | 4.2 | A4 | 218000
32 | (261000K2.03) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system initiation logic | 3.5 | K2 | 261000
33 | (215004K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RCIS (BWR 6) | 3.8 | K1 | 215004
34 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
35 | (239002K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.5 / 45.3) Vacuum breaker operation | 3.3 | K5 | 239002
36 | (400000A2.07) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 3.9 | A2 | 400000
37 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 217000
38 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
39 | (264000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Cooling water system | 3.7 | K6 | 264000
40 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
41 | (209001K3.03) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 3.6 | K3 | 209001
42 | (209002A4.07) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Keep fill pump | 3.2 | A4 | 209002
43 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
44 | (211000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection system | 2.6 | K1 | 211000
45 | (223002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Secondary containment temperature | 3.6 | A1 | 223002
46 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
47 | (510000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal valve positions | 3.6 | A2 | 510000
48 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291004K1.06) PUMPS (CFR: 41.3) (CENTRIFUGAL) Need for net positive suction head (NPSH); effects of loss of suction | 3.3 | C | 215003
49 | (300000K4.05) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Maintaining dry air | 3.1 | K4 | 300000
50 | (215005K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) Recorder | 2.6 | K6 | 215005
51 | (203000A3.07) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Loop selection | 4.1 | A3 | 203000
52 | (259002K3.08) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Main and reheat steam system | 2.7 | K3 | 259002
53 | (288000A2.08) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of component cooling water system | 2.7 | A2 | 288000
54 | (271000) (SF9 OG) OFFGAS SYSTEM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 271000
55 | (204000K4.06) Knowledge of (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Maximize plant efficiency (use of regenerative heat exchanger) | 2.8 | K4 | 204000
56 | (256000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 CDS) CONDENSATE SYSTEM: (CFR: 41.7 / 45.7) Main steam system | 2.7 | K6 | 256000
57 | (202002A3.04) Ability to monitor automatic operation of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System lockups/lockouts | 3.9 | A3 | 202002
58 | (219000K3.03) Knowledge of the effect that a loss or malfunction of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Primary containment | 3.9 | K3 | 219000
59 | (259001A4.08) Ability to manually operate and/or monitor the (SF2 FWS) FEEDWATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) FWRV position | 3.8 | A4 | 259001
60 | (286000K2.02) (SF8 FPS) FIRE PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Fire pumps | 3.2 | K2 | 286000
61 | (201003K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and the following systems: (CFR: 41.1 to 41.10 / 45.1 to 45.8) Control rod drive hydraulic system | 3.9 | K1 | 201003
62 | (201005A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 201005
63 | (216000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION: (CFR: 41.5 / 45.3) Vessel temperature measurement | 3.3 | K5 | 216000
64 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain prompt critical, prompt jump, and prompt drop | 3.3 | R | 292003
71 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
72 | (292001K1.03) NEUTRONS (CFR: 41.1) Define thermal neutrons | 2.7 | R | 292001
73 | (293008K1.21) THERMAL HYDRAULICS (CFR: 41.14) (VIODS AND VOID FRACTION) Define void fraction | 3 | T | 293008
74 | (293010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the operational concerns of uncontrolled cooldown | 4.1 | T | 293010
75 | (293009K1.37) CORE THERMAL LIMITS (CFR: 41.14) (PRECONDITIONING INTERIM OPERATING MANAGEMENT RECOMMENDATIONS (PCIOMR)) Identify how the PCIOMR rules minimize the adverse effects of pellet-clad interaction | 3.3 | T | 293009
76 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3 | A2 | 295018
77 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295005
78 | (295037EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.5 | A2 | 295037
79 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 295016
80 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
81 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 295030
82 | (700000AA2.02) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator voltage limitations | 3.3 | A2 | 700000
83 | (295029EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.3 | A2 | 295029
84 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295036
85 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
86 | (218000A2.04) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS failure to initiate | 4.2 | A2 | 218000
87 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 261000
88 | (215004A2.03) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck detector | 3.2 | A2 | 215004
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 212000
90 | (239002A2.02) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Leaking SRV | 3.6 | A2 | 239002
91 | (223001) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 223001
92 | (201001A2.13) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Low cooling water flow | 3.1 | A2 | 201001
93 | (241000) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 241000
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4