## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Load shedding | 3.8 | K3 | 295003
2 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295006
3 | (295025EK2.08) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.7 | K2 | 295025
4 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
5 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 295005
6 | (295026EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.7 / 45.6) LPCS | 3.8 | A1 | 295026
7 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K3 | 295016
8 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.8 | A2 | 295004
9 | (295038EK2.02) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Offgas system | 3.8 | K2 | 295038
10 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
11 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 295001
12 | (295023AA1.07) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295023
13 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
14 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
15 | (295037EK2.07) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) APRM/Local power range monitor system | 3.9 | K2 | 295037
16 | (295027EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Reactor water level measurement | 4.1 | K1 | 295027
17 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 295031
18 | (700000AA1.04) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Reactor controls | 3.6 | A1 | 700000
19 | (295018AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Increasing cooling water flow to heat exchangers | 3.3 | K3 | 295018
20 | (295021AA2.04) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water temperature | 4.6 | A2 | 295021
21 | (295036EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Identification of a primary system discharging to secondary containment | 4.2 | K1 | 295036
22 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295010
23 | (295008AA1.07) Ability to operate and/or monitor the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) Main turbine | 3.6 | A1 | 295008
24 | (295017AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.5 / 45.6) CRV system operation | 3.5 | K3 | 295017
25 | (500000EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen monitoring availability | 3.4 | A2 | 500000
26 | (295032EK2.05) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Temperature sensitive instrumentation | 3.2 | K2 | 295032
27 | (211000A4.08) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System initiation | 4.3 | A4 | 211000
28 | (212000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 212000
29 | (218000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.2 | K1 | 218000
30 | (215005K4.04) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) LPRM detector replacement | 2.5 | K4 | 215005
31 | (205000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.5 / 45.3) Valve operation | 3.5 | K5 | 205000
32 | (261000K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Offsite release rate | 4 | K3 | 261000
33 | (259002K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) AC power | 3.3 | K6 | 259002
34 | (223002K2.01) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF Knowledge of electrical power supplies to the following: (CFR: 41.7) Logic power supplies | 3.6 | K2 | 223002
35 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 510000
36 | (203000A3.01) Ability to monitor automatic operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Valve operation | 4 | A3 | 203000
37 | (264000A2.10) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.7 | A2 | 264000
38 | (215003A4.03) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM range switches | 3.9 | A4 | 215003
39 | (262002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Inverter outputs | 3.1 | A1 | 262002
40 | (300000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IA) INSTRUMENT AIR SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 / 45.8) Service air system | 3.5 | K1 | 300000
41 | (217000K4.09) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Initiation reset | 3.7 | K4 | 217000
42 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
43 | (215004K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power indication | 4 | K3 | 215004
44 | (262001K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Emergency generators | 4.5 | K6 | 262001
45 | (209001K2.02) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.8 | K2 | 209001
46 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291006K1.07) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Control of heat exchanger temperatures | 2.8 | C | 263000
47 | (209002A3.08) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 4 | A3 | 209002
48 | (239002A2.04) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS actuation | 4.6 | A2 | 239002
49 | (211000A4.06) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) RWCU system isolation | 4 | A4 | 211000
50 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
51 | (218000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) LPCS system | 4.2 | K1 | 218000
52 | (215005K4.07) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Flow-biased trip setpoints | 3.9 | K4 | 215005
53 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
54 | (290001A2.08) Ability to (a) predict the impacts of the following on the (SF5 SC) SECONDARY CONTAINMENT and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of secondary containment integrity | 4 | A2 | 290001
55 | (241000A4.17) Ability to manually operate and/or monitor the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Turbine chest warming | 2.9 | A4 | 241000
56 | (272000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.5 / 45.5) Radiations levels | 3.7 | A1 | 272000
57 | (219000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 3.3 | K1 | 219000
58 | (223001K4.04) Knowledge of (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES design features and/or interlocks that provide for the following: (CFR: 41.7) Limiting hydrogen concentration | 3.8 | K4 | 223001
59 | (234000K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) Containment closure requirements | 3.6 | K5 | 234000
60 | (204000K3.01) Knowledge of the effect that a loss or malfunction of the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water quality | 3.5 | K3 | 204000
61 | (201003K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) Reactor pressure | 3.5 | K6 | 201003
62 | (290003K2.02) (SF9 CRV) CONTROL ROOM VENTILATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Chiller units | 3.1 | K2 | 290003
63 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 268000
64 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292001K1.03) NEUTRONS (CFR: 41.1) Define thermal neutrons | 2.7 | R | 292001
71 | (292008K1.24) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Describe the parameters to be monitored and controlled during rod pattern exchanges | 3.2 | R | 292008
72 | (292006K1.09) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Initial reactor startup and ascension to rated power | 2.5 | R | 292006
73 | (293009K1.24) CORE THERMAL LIMITS (CFR: 41.14) (MCPR) Describe the effects of pressure on critical power | 3.2 | T | 293009
74 | (293004K1.17) THERMODYNAMIC PROCESS (CFR: 41.14) (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam or water | 2.8 | T | 293004
75 | (293010K1.03) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) Define reference temperature | 2.5 | T | 293010
76 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 295003
77 | (295006AA2.01) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295006
78 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295025
79 | (295030EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295030
80 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 295005
81 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
82 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295016
83 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 295014
84 | (295011AA2.03) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment humidity | 2.7 | A2 | 295011
85 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295013
86 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 205000
87 | (261000A2.07) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC electrical distribution failure | 3.5 | A2 | 261000
88 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 259002
89 | (223002A2.09) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Inadvertent system initiation | 4.1 | A2 | 223002
90 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 510000
91 | (259001A2.01) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) RFP trip | 4.1 | A2 | 259001
92 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 202001
93 | (288000A2.02) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low reactor water level | 3.2 | A2 | 288000
94 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4