## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
2 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 295001
3 | (295019AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Dryer/filter realignment | 3 | K3 | 295019
4 | (600000AA2.13) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Need for emergency plant shutdown | 3.8 | A2 | 600000
5 | (295026EK2.09) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCS | 3.6 | K2 | 295026
6 | (295005AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 5) MAIN TURBINE GENERATOR TRIP:(CFR: 41.8 to 41.10) Reactor level control | 3.8 | K1 | 295005
7 | (295018AA1.04) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295018
8 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.4.39) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 295016
9 | (295025EK3.10) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.3 | K3 | 295025
10 | (295038EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 3.6 | A2 | 295038
11 | (295003AK2.05) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) Decay heat removal systems | 4.2 | K2 | 295003
12 | (295037EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Cold shutdown boron weight | 3.7 | K1 | 295037
13 | (295023AA1.05) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel transfer system | 2.7 | A1 | 295023
14 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 295004
15 | (295021AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Maximizing reactor water cleanup flow | 3.5 | K3 | 295021
16 | (295024EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295024
17 | (295031EK2.16) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 4.1 | K2 | 295031
18 | (295006AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Pressure control | 4.1 | K1 | 295006
19 | (295027EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) RHR/LPCI containment spray system mode | 4.2 | A1 | 295027
20 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 295030
21 | (295008AA2.04) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Heatup rate | 3.3 | A2 | 295008
22 | (295013AK2.02) Knowledge of the relationship between the (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. and the following systems or components: (CFR: 41.7 / 45.8) Safety/relief valve operation | 4.2 | K2 | 295013
23 | (295022AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.8 to 41.10) Reactivity control | 3.9 | K1 | 295022
24 | (295007AA1.08) Ability to operate and/or monitor the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Recirculation flow control system | 3.5 | A1 | 295007
25 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 500000
26 | (295020AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Drywell/containment temperature response | 3.9 | K3 | 295020
27 | (215005K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) Detectors | 3.3 | K6 | 215005
28 | (223002K4.06) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Once initiated, system reset requires deliberate operator action | 3.8 | K4 | 223002
29 | (262001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Breaker control power | 3.5 | K5 | 262001
30 | (400000A3.07) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System realignments | 3.3 | A3 | 400000
31 | (264000A4.04) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Starting, loading, unloading, and stopping of emergency generator | 4.1 | A4 | 264000
32 | (212000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 2.8 | K1 | 212000
33 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 218000
34 | (209001K2.02) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.8 | K2 | 209001
35 | (263000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Systems with DC components (e.g., valves, motors, solenoids, instruments) | 3.8 | K3 | 263000
36 | (261000A2.10) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low reactor water level | 3.4 | A2 | 261000
37 | (203000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Suppression pool temperature | 3.5 | A1 | 203000
38 | (510000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Loss of coolant accident | 3.7 | K6 | 510000
39 | (217000K4.13) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Turbine speed control | 3.6 | K4 | 217000
40 | (259002K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Pump runout | 3.2 | K5 | 259002
41 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
42 | (211000A4.08) Ability to manually operate and/or monitor the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System initiation | 4.3 | A4 | 211000
43 | (262002K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPIS | 3.5 | K1 | 262002
44 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291005K1.02) MOTORS AND GENERATORS (CFR: 41.7) Potential consequences of overheating motor insulation or motor bearings | 2.7 | C | 215003
45 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
46 | (205000K3.01) Knowledge of the effect that a loss or malfunction of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 3.7 | K3 | 205000
47 | (215004A2.03) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Stuck detector | 3.1 | A2 | 215004
48 | (209002A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 209002
49 | (215005K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.7 / 45.7) Trip units | 3.6 | K6 | 215005
50 | (223002K4.01) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Redundancy | 3.8 | K4 | 223002
51 | (262001K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Paralleling AC sources | 3.9 | K5 | 262001
52 | (400000A3.05) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) System response due to a LOCA signal | 3.8 | A3 | 400000
53 | (204000A2.11) Ability to (a) predict the impacts of the following on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal system flow | 3.2 | A2 | 204000
54 | (271000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.5 / 45.3 / 45.5) Recombiner catalyst temperature | 2.7 | A1 | 271000
55 | (288000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.7) Process radiation monitoring system | 3.1 | K6 | 288000
56 | (223001K4.09) Knowledge of (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES design features and/or interlocks that provide for the following: (CFR: 41.7) Containment integrity | 4.1 | K4 | 223001
57 | (286000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Heat detection | 3.1 | K5 | 286000
58 | (215001A3.07) Ability to monitor automatic operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.7 / 45.7) TIP detector withdrawal from the reactor core | 2.9 | A3 | 215001
59 | (290002K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.5 / 45.3) Natural circulation | 3.9 | A4 | 290002
60 | (201005K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) and the following systems: (CFR: 41.2 to 41.7 / 45.8) Intermediate range monitor system | 3.6 | K1 | 201005
61 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 259001
62 | (216000K2.01) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Analog trip system | 3.6 | K2 | 216000
63 | (202001K3.15) Knowledge of the effect that a loss or malfunction of the (SF1, SF4 RS) RECIRCULATION SYSTEM will have on the following systems or system parameters: (CFR: 41.5 to 41.7 / 45.4) Reactor moderator temperature | 3.3 | K3 | 202001
64 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
65 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (292008K1.20) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain transient and steady-state effects of an increase in core flow on reactor power and void fraction | 3.4 | R | 292008
71 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
72 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
73 | (293006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Discuss pump head | 2.6 | T | 293006
74 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
75 | (293008K1.01) THERMAL HYDRAULICS (CFR: 41.14) (BOILING HEAT TRANSFER) Distinguish between boiling processes and other heat transfer mechanisms | 2.8 | T | 293008
76 | (700000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operations status of safety-related (vital) buses | 4 | A2 | 700000
77 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295001
78 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
79 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 600000
80 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
81 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 295005
82 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3 | A2 | 295018
83 | (295011AA2.03) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment humidity | 2.7 | A2 | 295011
84 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 295009
85 | (295017AA2.03) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295017
86 | (264000A2.11) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Failure of emergency generator to start/load | 4.3 | A2 | 264000
87 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 212000
88 | (218000A2.04) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS failure to initiate | 4.2 | A2 | 218000
89 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 209001
90 | (263000A2.04) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.2 | A2 | 263000
91 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 239001
92 | (226001A2.09) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate room cooling | 2.9 | A2 | 226001
93 | (233000) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 233000
94 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4