## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295023AA1.02) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.4 | A1 | 295023
2 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 295038
3 | (295026EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool cooling | 3.8 | K1 | 295026
4 | (295001AA2.07) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.1 | A2 | 295001
5 | (295027EK2.03) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Containment ventilation/cooling | 3.4 | K2 | 295027
6 | (295018AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Increasing cooling water flow to heat exchangers | 3.3 | K3 | 295018
7 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
8 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 295004
9 | (700000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Over-excitation | 3.1 | K1 | 700000
10 | (295024EA2.10) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Containment temperature (Mark III) | 3.9 | A2 | 295024
11 | (295005AK2.13) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) RCIS (BWR 6) | 3.4 | K2 | 295005
12 | (295037EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Bypassing rod insertion blocks | 3.8 | K3 | 295037
13 | (295021AA1.02) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) RHR/shutdown cooling | 4.3 | A1 | 295021
14 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 295003
15 | (295006AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Shutdown margin | 3.6 | K1 | 295006
16 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.2 | A2 | 295025
17 | (600000AK2.07) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Electrical distribution system | 3.3 | K2 | 600000
18 | (295031EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Core submergence | 4.7 | K3 | 295031
19 | (295016AA1.07) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) Control room/local control transfer mechanisms | 4 | A1 | 295016
20 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295030
21 | (295014AA2.06) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cold water injection | 4.2 | A2 | 295014
22 | (295012AK2.01) Knowledge of the relationship between the (APE 12) HIGH DRYWELL TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Drywell ventilation | 3.7 | K2 | 295012
23 | (295029EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) Emergency depressurization | 4.1 | K3 | 295029
24 | (295002AA1.04) Ability to operate and/or monitor the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.7 / 45.6) PCIS/NSSSS | 3.6 | A1 | 295002
25 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295036
26 | (295034EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.8 to 41.10) Radiation releases | 3.9 | K1 | 295034
27 | (259002K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) High drywell pressure | 2.9 | K6 | 259002
28 | (215004A4.08) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS channel bypass | 3.4 | A4 | 215004
29 | (263000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Ground detection | 2.9 | K5 | 263000
30 | (239002K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Suppression pool | 4.1 | K1 | 239002
31 | (261000A3.02) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) Fan start | 3.8 | A3 | 261000
32 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 218000
33 | (203000K2.02) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.7 | K2 | 203000
34 | (510000K4.06) Knowledge of (SF4 SWS*) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Alternate discharge pathway | 2.9 | K4 | 510000
35 | (262002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.5 / 45.5) Inverter outputs | 3.1 | A1 | 262002
36 | (264000K3.04) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Bus frequency/voltage | 3.9 | K3 | 264000
37 | (262001A2.05) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Bus grounds /faults | 3.8 | A2 | 262001
38 | (209001K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Torus/suppression pool water level | 3.7 | K6 | 209001
39 | (217000A4.14) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Resetting isolations | 3.9 | A4 | 217000
40 | (300000K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Low instrument air pressure | 3.9 | K5 | 300000
41 | (215005K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) TIP | 3.1 | K1 | 215005
42 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
43 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291002K1.09) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Modes of failure | 3.3 | C | 209002
44 | (212000K2.01) (SF7 RPS) REACTOR PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RPS motor-generator sets | 3.8 | K2 | 212000
45 | (400000K4.07) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) System response to LOCA signal | 3.8 | K4 | 400000
46 | (211000A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Reactor power | 4.2 | A1 | 211000
47 | (223002K3.35) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Nuclear boiler instrumentation | 3.4 | K3 | 223002
48 | (215003A2.01) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Power supply degradation | 3.1 | A2 | 215003
49 | (259002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) Instrument air systems | 3.3 | K6 | 259002
50 | (215004A4.04) Ability to manually operate and/or monitor the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SRMS drive control switches | 3.5 | A4 | 215004
51 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
52 | (239002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main steam system | 3.8 | K1 | 239002
53 | (216000K3.14) Knowledge of the effect that a loss or malfunction of the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) HPCI | 4.1 | K3 | 216000
54 | (290002A2.01) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.6 | A2 | 290002
55 | (286000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Diesel-driven fire pump | 3.4 | K6 | 286000
56 | (230000A4.05) Ability to manually operate and/or monitor the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Heat exchanger cooling flow | 3.4 | A4 | 230000
57 | (272000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.4) | 3.3 | K5 | 272000
58 | (204000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Radwaste | 2.5 | K1 | 204000
59 | (234000A3.02) Ability to monitor automatic operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.7 / 45.7) Interlock operation | 3.1 | A3 | 234000
60 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 226001
61 | (202002K2.01) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Recirculation flow control system | 3.2 | K2 | 202002
62 | (271000K4.07) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Maximizing charcoal bed efficiency | 2.7 | K4 | 271000
63 | (201005A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) including: (CFR: 41.5 / 45.5) First stage shell pressure/turbine load | 3.5 | A1 | 201005
64 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292008K1.30) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (NORMAL REACTOR SHUTDOWN) Explain the relationship between decay heat generation and (a) power level history, (b) power production, and (c) time since reaction shut down | 3.5 | R | 292008
71 | (292004K1.16) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain and describe the effect of power defect and Doppler defect on reactivity | 2.9 | R | 292004
72 | (292002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1) Evaluate change in shutdown margin due to changes in plant parameters | 2.9 | R | 292002
73 | (293008K1.07) THERMAL HYDRAULICS (CFR: 41.14) (POOL BOILING CURVE (TEMPERATURE VS. HEAT FLUX)) Define nucleate boiling, subcooled nucleate boiling, and bulk boiling | 3 | T | 293008
74 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
75 | (293004K1.13) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain vacuum formation in condenser processes | 2.6 | T | 293004
76 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 295023
77 | (295038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.9 | A2 | 295038
78 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295026
79 | (295001AA2.05) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Jet pump operability | 3.5 | A2 | 295001
80 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295027
81 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.5 | A2 | 295018
82 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 295019
83 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 295032
84 | (295020AA2.04) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.8 | A2 | 295020
85 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 295011
86 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 261000
87 | (218000A2.05) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of electrical power to ADS | 4 | A2 | 218000
88 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 203000
89 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.5 | A2 | 510000
90 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 262002
91 | (268000A2.05) Ability to (a) predict the impacts of the following on the (SF9 RW) RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal primary containment sump pump run time | 3.3 | A2 | 268000
92 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 201003
93 | (215001A2.04) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of AC electrical distribution | 2.6 | A2 | 215001
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4