## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295003AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Reactor cooldown | 3.8 | K3 | 295003
2 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
3 | (295005AK2.03) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 3.5 | K2 | 295005
4 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.9 | A2 | 295024
5 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 295038
6 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
7 | (295018AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Securing individual components (preventing equipment damage) | 3.3 | K3 | 295018
8 | (295030EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) ECCSs | 4 | A1 | 295030
9 | (600000AK2.05) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Fire alarm panels | 3.4 | K2 | 600000
10 | (295006AA2.06) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Cause of reactor SCRAM | 3.6 | A2 | 295006
11 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295027
12 | (295026EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool level | 3.5 | K1 | 295026
13 | (295021AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Increasing drywell cooling | 2.9 | K3 | 295021
14 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
15 | (295001AK2.01) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 4.1 | K2 | 295001
16 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4 | A2 | 295025
17 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 295016
18 | (295023AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Fuel positioning | 3.4 | K1 | 295023
19 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
20 | (295037EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Systems used for alternate boron injection | 3.7 | A1 | 295037
21 | (295020AA2.05) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295020
22 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295011
23 | (295009AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Jet pump efficiency | 2.8 | K1 | 295009
24 | (295007AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Shutdown cooling system (RHR shutdown cooling mode) operation | 3.6 | K3 | 295007
25 | (295033EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) Area radiation monitoring system | 3.8 | A1 | 295033
26 | (295008AK2.04) Knowledge of the relationship between the (APE 8) HIGH REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) PCIS/NSSSS | 3.6 | K2 | 295008
27 | (239002A3.01) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) SRV operation after ADS actuation | 4.1 | A3 | 239002
28 | (259002K3.04) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Recirculation system | 3.3 | K3 | 259002
29 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 223002
30 | (215004A2.04) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Upscale and downscale trips | 4 | A2 | 215004
31 | (263000K2.04) (SF6 DC) DC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Inverters | 3.4 | K2 | 263000
32 | (262001A4.07) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Tap changers | 2.8 | A4 | 262001
33 | (218000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.5 / 45.5) Primary containment/drywell pressure | 3.7 | A1 | 218000
34 | (261000K4.07) Knowledge of (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Elevated release stack | 3.4 | K4 | 261000
35 | (212000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 4.1 | K1 | 212000
36 | (300000K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) Air leaks | 3.3 | K5 | 300000
37 | (209001K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) ECCS room integrity | 3.1 | K6 | 209001
38 | (215005A3.03) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215005
39 | (262002K3.20) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Radiation monitoring system | 2.7 | K3 | 262002
40 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291002K1.11) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Effects of operating environment (pressure, temperature, or radiation) | 2.5 | C | 400000
41 | (217000A2.19) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool temperature | 3.7 | A2 | 217000
42 | (215003K2.01) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) IRM channels/detectors | 3.4 | K2 | 215003
43 | (209002A4.02) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Suction valves | 4 | A4 | 209002
44 | (205000A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 205000
45 | (264000K4.05) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Load shedding and sequencing | 4.1 | K4 | 264000
46 | (203000K1.22) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Spent fuel pool cooling | 2.9 | K1 | 203000
47 | (510000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Radiation alarm response | 3 | K5 | 510000
48 | (211000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Plant air systems | 2.5 | K6 | 211000
49 | (239002A3.09) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) Low-low set logic | 3.8 | A3 | 239002
50 | (259002K3.09) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Condensate system | 3 | K3 | 259002
51 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 223002
52 | (215004A2.01) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Degraded power supply | 3.1 | A2 | 215004
53 | (271000K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.4) Reducing relative humidity for carbon bed filters | 2.7 | K5 | 271000
54 | (230000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE: (CFR: 41.7 / 45.7) Reactor building to suppression pool vacuum breakers | 3.7 | K6 | 230000
55 | (202002A3.04) Ability to monitor automatic operation of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System lockups/lockouts | 3.9 | A3 | 202002
56 | (290002K3.07) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Nuclear boiler instrumentation | 3.9 | K3 | 290002
57 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (291005K1.06) MOTORS AND GENERATORS (CFR: 41.7) Reason for limiting the number of motor starts in a given time period | 3.1 | C | 286000
58 | (239003A2.13) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Standby gas treatment system malfunction | 2.5 | A2 | 239003
59 | (201001K2.02) (SF1 CRDH) CRD HYDRAULIC SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SCRAM valve solenoids | 4.2 | K2 | 201001
60 | (259001A4.05) Ability to manually operate and/or monitor the (SF2 FWS) FEEDWATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor water level | 4.2 | A4 | 259001
61 | (226001A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 226001
62 | (215001K4.03) Knowledge of (SF7 TIP) TRAVERSING IN CORE PROBE design features and/or interlocks that provide for the following: (CFR: 41.7) Radiation shielding | 2.9 | K4 | 215001
63 | (219000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 2.8 | K1 | 219000
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G2.4 | G2.4
70 | (292005K1.09) CONTROL RODS (CFR: 41.1) Explain direction of change in the magnitude of CRW for a change in moderator temperature, void fraction, control rod density, and xenon | 2.6 | R | 292005
71 | (292004K1.11) REACTIVITY COEFFICIENTS (CFR: 41.1) Describe the effect on the magnitude of void coefficient from changes in the following: --Core void fraction | 2.6 | R | 292004
72 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
73 | (293007K1.07) HEAT TRANSFER (CFR: 41.14) (HEAT EXCHANGERS) Describe how the presence of gases or steam can | 2.9 | T | 293007
74 | (293003K1.23) STEAM (CFR: 41.14) Use saturated and superheated steam tables | 3.1 | T | 293003
75 | (293008K1.21) THERMAL HYDRAULICS (CFR: 41.14) (VIODS AND VOID FRACTION) Define void fraction | 3 | T | 293008
76 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 295003
77 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
78 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295005
79 | (295024EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.6 | A2 | 295024
80 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295038
81 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
82 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 295018
83 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 295022
84 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 4 | A2 | 295032
85 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 295002
86 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 263000
87 | (262001A2.09) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding voltage limitations | 3.4 | A2 | 262001
88 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 218000
89 | (261000A2.01) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low system flow | 3.5 | A2 | 261000
90 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 212000
91 | (272000A2.07) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Hydrogen injection operation | 3 | A2 | 272000
92 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 510001
93 | (241000A2.17) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Turbine trip | 4 | A2 | 241000
94 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4