## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (040AK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): Normal operating steam parameters as a function of power | 3.5 | K1 | 395012
2 | (WE04EA1.04) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RCS | 3.8 | A1 | 395021
3 | (BE10EA2.04) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Reactor power | 4.7 | A2 | 395001
4 | (009EK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Starting additional charging pumps | 3.7 | K3 | 395003
5 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395010
6 | (022AK2.10) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): PZR LCS | 3.8 | K2 | 395006
7 | (CE06EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): When to shift from loss of feed strategies to once‑through cooling | 4.3 | K1 | 395013
8 | (057AA1.06) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Manual control of components for which automatic control is lost | 3.8 | A1 | 395016
9 | (015AA2.08) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP high bearing temperature | 3.4 | A2 | 395005
10 | (025AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating containment | 3.8 | K3 | 395007
11 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 395011
12 | (027AK2.10) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR pressure transmitters | 3.7 | K2 | 395009
13 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
14 | (WE05EA1.10) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): PZR LCS | 3.3 | A1 | 395023
15 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
16 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
17 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 395002
18 | (062AK2.01) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): CCW | 3.7 | K2 | 395018
19 | (BE09EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Reactor vessel head voids | 3.9 | K1 | 395054
20 | (076AA1.11) Ability to operate and/or monitor the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.7 / 45.5 / 45.6): Auxiliary steam system | 2.7 | A1 | 395041
21 | (005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): Axial flux difference and/or quadrant power tilt ratio | 3.8 | A2 | 395026
22 | (WE07EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (W E07) SATURATED CORE COOLING (CFR: 41.5 / 41.10 / 45.6 / 45.13): Priority for action if Emergency Contingency Action (ECA)‑3.2, “SGTR With Loss of Reactor Coolant - Saturated Recovery,” is in effect | 3.6 | K3 | 395040
23 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395028
24 | (024AK2.07) Knowledge of the relationship between (APE 24) EMERGENCY Boration and the following systems or components (CFR: 41.7 / 45.7): CVCS | 4.1 | K2 | 395027
25 | (032AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Expected change in source range count rate when rods are moved | 3.7 | K1 | 395029
26 | (WE16EA1.04) Ability to operate and/or monitor the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 to 41.8 / 45.5. to 45.8): Containment ventilation isolation | 3.7 | A1 | 395046
27 | (103K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): MFW | 3.2 | K6 | 400103
28 | (010A2.01) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Heater failures | 3.6 | A2 | 400010
29 | (005A3.02) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): RHRS actuation | 4.2 | A3 | 400005
30 | (012K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.3 | K1 | 400012
31 | (062A4.01) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): All breakers (including available switchyard) | 3.5 | A4 | 400062
32 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 400004
33 | (059A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.1 | A1 | 400059
34 | (008K4.09) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): The “standby” feature for the CCW pumps | 3.5 | K4 | 400008
35 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
36 | (064K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Unloading before securing an EDG | 3.5 | K5 | 400064
37 | (078K2.02) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Emergency air compressor | 3.4 | K2 | 400078
38 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
39 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
40 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
41 | (076K1.19) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): SWS emergency heat loads | 3.7 | K1 | 400076
42 | (039A4.03) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MFW pump turbines | 3.4 | A4 | 400039
43 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191001K1.04) VALVES (CFR: 41.3): The failed-valve positions for different operators (open, closed, and as-is positions; spring‑loaded valves; hydraulic, pneumatically controlled valves; electric motor-driven valves) | 3.2 | C | 400061
44 | (006A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): CVCS letdown flow | 3 | A1 | 400006
45 | (003K4.07) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Minimizing RCS leakage (mechanical seals) | 3.8 | K4 | 400003
46 | (013K3.20) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Auxiliary building HVAC | 3 | K3 | 400013
47 | (007K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Effects of rupture disc rupture on containment parameters | 3.7 | K5 | 400007
48 | (103A2.09) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): HRPS failure | 3 | K2 | 400103
49 | (010K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): AFW | 2.9 | K6 | 400010
50 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
51 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
52 | (062K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): EDG system | 4.4 | K1 | 400062
53 | (004A4.14) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Ion exchangers and demineralizers | 3 | A4 | 400004
54 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 400059
55 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
56 | (015A2.05) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Core void formation | 3.2 | A2 | 400015
57 | (001A3.10) Ability to monitor automatic features of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM, including (CFR: 41.6 / 45.13): Control bank sequence and overlap | 3.8 | A3 | 400001
58 | (017K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | K1 | 400017
59 | (071A4.26) Ability to manually operate and/or monitor the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Securing release on high radiation | 3.6 | A4 | 400071
60 | (400029) 029 (SF8 CPS) CONTAINMENT PURGE SYSTEM (191007K1.11) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Plant evolutions that can cause crud bursts and the effect on demineralizers | 2.8 | C | 400029
61 | (033A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM, including (CFR: 41.5 / 45.5): Radiation levels | 3.5 | A1 | 400033
62 | (011K4.05) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PZR level inputs to RPS | 3.8 | K4 | 400011
63 | (045K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Stator cooling system | 3 | K3 | 400045
64 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
71 | (192008K1.21) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Explain the relationship between steam flow and reactor power given specific conditions | 3.8 | R | 192008
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
74 | (193003K1.08) STEAM (CFR: 41.14): Define the following term: -- saturated liquid | 2.8 | T | 193003
75 | (193006K1.07) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- two-phase flow | 2.9 | T | 193006
76 | (WE11EA2.08) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment sump level | 4 | A2 | 395022
77 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 395008
78 | (056AA2.88) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Conditions necessary for natural circulation | 4 | A2 | 395015
79 | (395004) 000011 (EPE 11) Large Break LOCA (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395004
80 | (055EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): RCS core cooling through natural circulation | 4.2 | A2 | 395014
81 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G | 395012
82 | (WE13EA2.02) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 3.9 | A2 | 395044
83 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 395043
84 | (WE03EA2.13) Ability to determine and/or interpret the following as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.10 / 43.5 / 45.13): Reactor vessel level | 3.7 | A2 | 395053
85 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395035
86 | (008A2.03) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High/low CCW temperature | 3.4 | A2 | 400008
87 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400022
88 | (064A2.15) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Water buildup in cylinders | 3.1 | A2 | 400064
89 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400078
90 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
91 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 400027
92 | (035A2.07) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Feedwater failures | 3.9 | A2 | 400035
93 | (400014) 014 (SF1 RPI) ROD POSITION INDICATION SYSTEM (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 400014
94 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4
100 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4