## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (025AA1.31) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): Containment | 3.5 | A1 | 395007
2 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 395015
3 | (029EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): AFW flow | 3.5 | A2 | 395010
4 | (BE05EK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for proper ICS response | 3.3 | K3 | 395012
5 | (055EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Turbine- and diesel‑driven AFW pump availability | 4.4 | K1 | 395014
6 | (077AK2.09) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Motors for ESF pumps | 3.6 | K2 | 395020
7 | (058AA1.04) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): AC distribution system breakers | 3.6 | A1 | 395017
8 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 395002
9 | (BE04EA2.05) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 4.3 | A2 | 395023
10 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
11 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
12 | (WE11EK2.12) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CSS | 3.7 | K2 | 395022
13 | (BE02EA1.07) Ability to operate and/or monitor the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.7 / 45.5 to 45.8): IAS | 3.2 | A1 | 395001
14 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 395011
15 | (011EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Significance of ECCS pump operation | 4.4 | A2 | 395004
16 | (027AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails high | 4 | K3 | 395009
17 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
18 | (022AK2.11) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): RCPS | 3.5 | K2 | 395006
19 | (037AA1.17) Ability to operate and/or monitor the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 45.5 / 45.6): SGS | 3.5 | A1 | 395032
20 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 395033
21 | (059AA2.08) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Dilution flow rate in the effluent stream | 2.8 | A2 | 395034
22 | (061AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in alarm response for the ARM system | 3.4 | K3 | 395036
23 | (WE16EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Value(s) of high radiation and/or associated radiation monitors that require entry into the FRZ EOP for high radiation | 3.4 | K1 | 395046
24 | (003AK2.08) Knowledge of the relationship between (APE 3) DROPPED Control Rod and the following systems or components (CFR: 41.7 / 45.7): NIS | 3.9 | K2 | 395025
25 | (036AA1.05) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): Fuel handling building air filtration equipment | 3.2 | A1 | 395031
26 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395053
27 | (063K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Battery ventilation system | 2.7 | K1 | 400063
28 | (013K3.18) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): S/GB | 2.9 | K3 | 400013
29 | (059A2.01) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Actuation of AFW system | 4 | A2 | 400059
30 | (010K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): CVCS | 3.4 | K6 | 400010
31 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 400003
32 | (061A4.02) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW flow | 4.2 | A4 | 400061
33 | (064K2.03) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Control power | 3.7 | K2 | 400064
34 | (026K4.02) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Corrosion control and/or iodine reduction/scavenging via the CSS | 3.5 | K4 | 400026
35 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
36 | (062A3.10) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Automatic transfer from auxiliary to reserve transformer | 3.3 | A3 | 400062
37 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
38 | (076K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): EDG | 4.1 | K1 | 400076
39 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
40 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.5 | A2 | 400103
41 | (004K6.36) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Letdown pressure control | 3.7 | K6 | 400004
42 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191008K1.09) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Effect of racking out breakers on control and indicating circuits and removal of control power on breaker operation | 3.1 | C | 400006
43 | (078A4.02) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Instrument air compressors | 3.2 | A4 | 400078
44 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
45 | (008K4.07) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Operation of the CCW swing-bus power supply and its associated breakers and controls | 3.4 | K4 | 400008
46 | (005K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.5 / 45.7): Reactivity effects of RHR water under varying conditions | 3.3 | K5 | 400005
47 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
48 | (063A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery bus voltage and/or current | 3.5 | A1 | 400063
49 | (013K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCS | 3.9 | K1 | 400013
50 | (059K3.06) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.8 | K3 | 400059
51 | (010A2.09) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RPS failure | 4.4 | A2 | 400010
52 | (003K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): CCWS | 3.7 | K6 | 400003
53 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 400061
54 | (064A4.09) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Establishing power from the ring bus (to relieve EDG) | 3.5 | A4 | 400064
55 | (029K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): ARM | 3.3 | K1 | 400029
56 | (011K3.04) Knowledge of the effect that a loss or malfunction of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 3.7 | K3 | 400011
57 | (034A2.08) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Refueling/fuel handling machine malfunction | 2.6 | A2 | 400034
58 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
59 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (191006K1.07) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Control of heat exchanger temperatures | 2.6 | C | 400001
60 | (071A4.07) Ability to manually operate and/or monitor the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Waste gas release flow | 2.7 | A4 | 400071
61 | (072K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8 / 9 / 11): MRSS | 3.3 | K2 | 400072
62 | (035K4.02) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G level indication ranges (narrow range and wide range) | 3.8 | K4 | 400035
63 | (045K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.5 / 45.7): Reason for paralleling both generator breaker circuits | 2.8 | K5 | 400045
64 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
71 | (192008K1.12) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) List parameters that should be monitored and controlled during the intermediate phase of startup (from criticality to the POAH) | 3.6 | R | 192008
72 | (192004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- boron concentration | 3.1 | R | 192004
73 | (193009K1.08) CORE THERMAL LIMITS (CFR: 41.14): Describe axial flux imbalance, including long-range effects | 3.3 | T | 193009
74 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395016
77 | (026AA2.01) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): Location of a leak in the CCWS | 3.5 | A2 | 395008
78 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 395018
79 | (CE06EA2.09) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Charging and letdown flow | 3.3 | A2 | 395013
80 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395003
81 | (025AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Pump cavitation | 4 | A2 | 395007
82 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395043
83 | (078AA2.09) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Reactor trip setpoints | 4.4 | A2 | 395042
84 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 395054
85 | (WE08EA2.04) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): RCS subcooling and/or reactor vessel level | 3.8 | A2 | 395056
86 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 400026
87 | (012A2.07) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of DC control power | 3.9 | A2 | 400012
88 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 400062
89 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
90 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400076
91 | (015A2.01) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Power supply loss or erratic operation | 3.7 | A2 | 400015
92 | (400050) 050 (SF9 CRV*) CONTROL ROOM VENTILATION (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400050
93 | (016A2.01) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Detector/transmitter failure | 3.4 | A2 | 400016
94 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
96 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4