## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (027AA1.01) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): PZR heaters, sprays, and PORVs | 3.8 | A1 | 395009
2 | (009EA2.16) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): CCWS | 3.2 | A2 | 395003
3 | (CE06EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Protect the main condenser | 3.4 | K3 | 395013
4 | (015AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): RCP flywheel | 3.3 | K1 | 395005
5 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 395015
6 | (CE02EK2.13) Knowledge of the relationship between (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCPS | 3.8 | K2 | 395001
7 | (029EA1.21) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): AMSAC | 3.9 | A1 | 395010
8 | (011EA2.15) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Sump level | 4.1 | A2 | 395004
9 | (026AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reducing CCW loads | 3.4 | K3 | 395008
10 | (BE04EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Criteria met for HPI cooling | 4 | K1 | 395023
11 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395016
12 | (022AK2.11) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): RCPS | 3.5 | K2 | 395006
13 | (058AA1.06) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): DC distribution system | 3.7 | A1 | 395017
14 | (040AA2.02) Ability to determine and/or interpret the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.10 / 43.5 / 45.13): Conditions requiring a reactor trip | 4.4 | A2 | 395012
15 | (038EK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Controlling RCS pressure for equalizing pressure on primary and secondary sides of ruptured S/G | 4.1 | K3 | 395011
16 | (055EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Turbine- and diesel‑driven AFW pump availability | 4.4 | K1 | 395014
17 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 395018
18 | (065AK2.24) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): CWS | 2.5 | K2 | 395019
19 | (032AA1.03) Ability to operate and/or monitor the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Rod control system | 3.3 | A1 | 395029
20 | (WE14EA2.01) Ability to determine and/or interpret the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.7 | A2 | 395039
21 | (WE15EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.10 / 45.6 / 45.13): Determining the source of the water in the sump | 3.4 | K3 | 395045
22 | (WE13EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.7 / 45.7 / 45.8): Conditions required to cause overpressurization of an S/G | 3.2 | K1 | 395044
23 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395033
24 | (WE01EK2.04) Knowledge of the relationship between (W E01) REDIAGNOSIS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): MFW system | 3.4 | K2 | 395043
25 | (WE08EA1.19) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): IAS | 2.7 | A1 | 395056
26 | (076AA2.08) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): Implement TS as applicable | 2.6 | A2 | 395041
27 | (004K2.02) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Pumps used to makeup to CVCS | 3 | K2 | 400004
28 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
29 | (063K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery room ventilation | 2.6 | K6 | 400063
30 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
31 | (005K4.10) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Control of RHR heat exchanger outlet flow | 3.9 | K4 | 400005
32 | (008A2.03) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High/low CCW temperature | 3.7 | A2 | 400008
33 | (006K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): CVCS | 3.7 | K1 | 400006
34 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 400022
35 | (039A4.03) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MFW pump turbines | 3.4 | A4 | 400039
36 | (013A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): AFW flow | 3.9 | A1 | 400013
37 | (061K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Back leakage through discharge check valves | 3.1 | K5 | 400061
38 | (064K2.03) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Control power | 3.7 | K2 | 400064
39 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
40 | (078K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Low instrument air pressure | 3.4 | K6 | 400078
41 | (010A3.05) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PORV and block valve operation | 3.8 | A3 | 400010
42 | (076K4.01) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Conditions initiating isolation of safety‑related SWS from nonsafety headers. | 3.8 | K4 | 400076
43 | (103A2.04) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions requiring containment evacuation (including recognition of the alarm) | 3.8 | A2 | 400103
44 | (026K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RHRS | 3.6 | K1 | 400026
45 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (191003K1.06) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and characteristics of governors and other mechanical controllers | 2.6 | C | 400007
46 | (062A4.07) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Synchronizing and paralleling of different AC supplies | 3.7 | A4 | 400062
47 | (059A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Abnormal noises or vibrations of MFW pump | 3 | A1 | 400059
48 | (004K5.27) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Reason for nitrogen purge of CVCS | 2.8 | K5 | 400004
49 | (073K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): S/GB | 3.4 | K2 | 400073
50 | (063K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems using DC control power | 4 | K3 | 400063
51 | (012K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Trip logic circuits | 4 | K6 | 400012
52 | (005A3.02) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): RHRS actuation | 4.2 | A3 | 400005
53 | (008K4.07) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Operation of the CCW swing-bus power supply and its associated breakers and controls | 3.4 | K4 | 400008
54 | (006A2.15) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Vortex/cavitation | 3.3 | A2 | 400006
55 | (029A4.05) Ability to manually operate and/or monitor the (SF8 CPS) CONTAINMENT PURGE SYSTEM in the control room (CFR: 41.7 / 45.5 / 45.8): Manual isolation of the CPS | 3.1 | K2 | 400029
56 | (002K3.06) Knowledge of the effect that a loss or malfunction of the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM will have on the following systems or system parameters (CFR: 41.7): ECCS | 4.3 | K3 | 400002
57 | (072K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM (CFR: 41.7 / 45.8 / 45.9): PRM components | 3.1 | K6 | 400072
58 | (028A3.01) Ability to monitor automatic features of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.7 / 45.8): Containment isolation | 3 | A3 | 400028
59 | (016K4.04) Knowledge of (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Outputs from control systems | 3.3 | K4 | 400016
60 | (033A2.01) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Inadequate SDM | 3.8 | A2 | 400033
61 | (045K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and the following systems (CFR: 41.4 to 41.7 / 45.7 / 45.8): Generator cooling | 3.4 | K1 | 400045
62 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 400086
63 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
64 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192005K1.03) CONTROL RODS (CFR: 41.1): Predict direction of change in reactor power for a change in control rod position | 3.6 | R | 192005
71 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
72 | (192002K1.11) NEUTRON LIFE CYCLE (CFR: 41.1): Define reactivity | 3 | R | 192002
73 | (193007K1.06) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.3 | T | 193007
74 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395022
77 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
78 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395002
79 | (077AA2.01) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Operating point on the generator capability curve | 3.3 | A2 | 395020
80 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 395007
81 | (027AA2.03) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Effects of RCS pressure changes on key components in the plant | 3.4 | A2 | 395009
82 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395024
83 | (060AA2.06) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): Valve lineup for release of radioactive gases | 3.3 | A2 | 395035
84 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395038
85 | (061AA2.02) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Normal operating characteristics | 3.1 | A2 | 395036
86 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 400022
87 | (039A2.01) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Decrease in turbine load as it relates to steam escaping from relief valves | 3.4 | A2 | 400039
88 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400013
89 | (061A2.05) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Automatic control malfunction | 3.8 | A2 | 400061
90 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 400064
91 | (056A2.05) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Condenser tube leakage | 3.3 | A2 | 400056
92 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 400027
93 | (068A2.05) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CWS malfunction | 2.8 | A2 | 400068
94 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4