## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE11EA2.09) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Condensate storage tank level | 3 | A2 | 395022
2 | (011EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): RCS | 3.9 | A1 | 395004
3 | (062AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.8 / 41.10 / 45.3): Knowledge of backup cooling water systems | 3.5 | K1 | 395018
4 | (027AK2.08) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR heaters | 3.9 | K2 | 395009
5 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395011
6 | (BE10EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Minimize letdown | 3.3 | K3 | 395001
7 | (WE05EA2.06) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): RCS delta T | 3.1 | A2 | 395023
8 | (025AA1.11) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): LRS | 3.1 | A1 | 395007
9 | (CE05EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.5 / 41.7 / 45.7 to 45.9): Determining and isolating the most effected S/G | 4.5 | K1 | 395012
10 | (022AK2.09) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.9 | K2 | 395006
11 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 395020
12 | (056AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Order and time to initiation of power for the load sequencer | 3.6 | K3 | 395015
13 | (015AA2.02) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP oil system temperature and pressure | 3.4 | A2 | 395005
14 | (029EA1.22) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): RPS | 4.1 | A1 | 395010
15 | (055EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Natural circulation cooling | 4.3 | K1 | 395014
16 | (026AK2.02) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RCPs | 4.2 | K2 | 395008
17 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 395013
18 | (065AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Backup of compressor cooling water | 3 | K3 | 395019
19 | (076AA2.08) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): Implement TS as applicable | 2.6 | A2 | 395041
20 | (WE15EA1.05) Ability to operate and/or monitor the following as they apply to (W E15) Containment Flooding (CFR: 41.5 to 41.8 / 45.5. to 45.8): CCW | 3.3 | A1 | 395045
21 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
22 | (024AK2.10) Knowledge of the relationship between (APE 24) EMERGENCY Boration and the following systems or components (CFR: 41.7 / 45.7): RPIS | 3.2 | K2 | 395027
23 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395040
24 | (BE09EK3.20) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maintain RCS cooldown within limits | 4 | K3 | 395054
25 | (060AA2.08) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): TS and/or TRM actions for accidental release (as applicable) | 2.8 | A2 | 395035
26 | (078AA1.09) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): RMS | 3.6 | A1 | 395042
27 | (008K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): EDGs | 3.8 | K1 | 400008
28 | (013K3.09) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CCWS | 3.8 | K3 | 400013
29 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
30 | (006K4.04) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): System venting | 3.1 | K4 | 400006
31 | (010K2.03) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PORV and block valves | 3.4 | K2 | 400010
32 | (063A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery bus voltage and/or current | 3.5 | A1 | 400063
33 | (076K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Automatically positioned valves | 3.4 | K6 | 400076
34 | (064A2.24) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fuel oil storage system failure | 3.2 | A2 | 400064
35 | (061A4.03) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump turbines | 4.1 | A4 | 400061
36 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 400012
37 | (007K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Principles of steam quenching | 3 | K5 | 400007
38 | (103K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CPS | 3.5 | K1 | 400103
39 | (005K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCPS | 2.9 | K3 | 400005
40 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
41 | (004K4.18) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Minimum VCT pressure effect on RCP seals | 3.5 | K4 | 400004
42 | (078K2.02) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Emergency air compressor | 3.4 | K2 | 400078
43 | (026A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment sump level | 3.9 | A1 | 400026
44 | (062K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Offsite power sources | 4 | K6 | 400062
45 | (059A2.03) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overfeeding event | 3.4 | A2 | 400059
46 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | A4 | 400073
47 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191008K1.08) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Effects of closing breakers with the current out of phase, different frequencies, high‑voltage differential, low current, or too much load | 3.5 | C | 400022
48 | (008K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Gas accumulation | 2.5 | K5 | 400008
49 | (013K1.15) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): MFW system | 3.4 | K1 | 400013
50 | (003K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.9 | K3 | 400003
51 | (006A3.08) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Automatic transfer of ECCS flowpaths | 3.9 | A3 | 400006
52 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
53 | (063K2.03) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery chargers | 4 | K2 | 400063
54 | (076A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): SWS temperatures | 3.3 | A1 | 400076
55 | (001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and the following systems (CFR: 41.2 / 41.3 / 41.5 to 41.7 / 45.5 to 45.8): NIS | 3.5 | K1 | 400001
56 | (055K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main condenser | 3.8 | K3 | 400055
57 | (041A3.06) Ability to monitor automatic features of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Steam pressure mode | 3.5 | A3 | 400041
58 | (029K4.04) Knowledge of (SF8 CPS) CONTAINMENT PURGE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of damage to fans from lack of flow rate | 2.6 | K4 | 400029
59 | (086K2.01) Knowledge of electrical power supplies to the following: (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.7) Fire pumps | 3.2 | K2 | 400086
60 | (015A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature | 3.7 | A1 | 400015
61 | (072K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM (CFR: 41.7 / 45.8 / 45.9): PRM components | 3.1 | K6 | 400072
62 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.1 | A2 | 400017
63 | (075A4.16) Ability to manually operate and/or monitor the (SF8 CW) CIRCULATING WATER SYSTEM in the control room (CFR: 41.4 / 41.7 / 45.5 / 45.8): Traveling screens in manual operation | 2.6 | A4 | 400075
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
71 | (192005K1.11) CONTROL RODS (CFR: 41.1): State the purpose of rod sequencing and overlap | 3 | R | 192005
72 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193003K1.25) STEAM (CFR: 41.14): Explain and use saturated and superheated steam tables | 3.4 | T | 193003
75 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
76 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
77 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 395002
78 | (057AA2.21) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RWST level | 3.4 | A2 | 395016
79 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395017
80 | (009EA2.38) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Existence of head bubble | 4 | A2 | 395003
81 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395022
82 | (WE08EA2.03) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Indications of large‑break LOCA | 3.9 | A2 | 395056
83 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 395053
84 | (WE14EA2.03) Ability to determine and/or interpret the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.10 / 43.5 / 45.13): Containment pressure | 4 | A2 | 395039
85 | (395044) (W E13) Steam Generator Overpressure (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 395044
86 | (064A2.28) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FPS actuation | 3.1 | A2 | 400064
87 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 400061
88 | (012A2.04) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Erratic power supply operation | 3.2 | A2 | 400012
89 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 400007
90 | (103A2.08) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CPS malfunctions | 3.1 | A2 | 400103
91 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400011
92 | (027K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Containment iodine | 3.1 | A2 | 400027
93 | (400056) 056 (SF4S CDS) CONDENSATE SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400056
94 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4