## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
2 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
3 | (027AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Expansion of liquids as temperature increases | 3.2 | K1 | 395009
4 | (038EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating the ruptured S/G | 4.3 | K3 | 395011
5 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395019
6 | (026AA2.01) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): Location of a leak in the CCWS | 3.4 | A2 | 395008
7 | (009EK2.03) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): S/Gs | 3.9 | K2 | 395003
8 | (062AA1.04) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CRDM high-temperature alarm system | 3.1 | A1 | 395018
9 | (054AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.8 / 41.10 / 45.3): Containment responses to an MFW break versus a steamline break | 3.5 | K1 | 395013
10 | (015AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Ensuring that S/G levels are controlled properly for natural circulation enhancement | 3.7 | K3 | 395005
11 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 395006
12 | (057AA2.08) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395016
13 | (008AK2.12) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): SPDS | 3.5 | K2 | 395002
14 | (029EA1.20) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): CRDS | 4 | A1 | 395010
15 | (CE02EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.7 / 45.7 to 45.9): Sequence of decisions for off-normal operations | 3.6 | K1 | 395001
16 | (WE11EK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Depressurizing the RCS to minimize RCS subcooling | 3.6 | K3 | 395022
17 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 395004
18 | (055EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): When battery is approaching a fully discharged state | 4.1 | A2 | 395014
19 | (068AK2.08) Knowledge of the relationship between (APE 68) Control Room Evacuation and the following systems or components (CFR: 41.7 / 45.7): SWS | 3.5 | K2 | 395038
20 | (028AA1.08) Ability to operate and/or monitor the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 45.5 / 45.6): Selection of an alternate PZR level channel if one has failed | 3.8 | A1 | 395028
21 | (WE01EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E01) REDIAGNOSIS (CFR: 41.5 / 41.7 / 45.7 / 45.8): Plant operating conditions required to be met for use of the rediagnosis procedure | 3.7 | K1 | 395043
22 | (067AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 67) PLANT Fire On Site (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs and EOPs for a plant fire on site | 3.7 | K3 | 395037
23 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G | 395053
24 | (037AA2.20) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): T‑cold and/or RCS cooldown rate | 4 | A2 | 395032
25 | (WE13EK2.08) Knowledge of the relationship between (W E13) STEAM Generator Overpressure and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): MRSS | 3.3 | K2 | 395044
26 | (001AA1.12) Ability to operate and/or monitor the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.7 / 45.5 / 45.6): NIS | 3.7 | A1 | 395024
27 | (003K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCPS | 3.7 | K2 | 400003
28 | (064K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): Water buildup in cylinders | 3.2 | K6 | 400064
29 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
30 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
31 | (004K4.12) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Automatic action(s), that occur based on level of VCT | 3.9 | K4 | 400004
32 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 2.5 | A2 | 400078
33 | (076K3.11) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG | 4.1 | K3 | 400076
34 | (007A4.01) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank makeup valve | 2.8 | A4 | 400007
35 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
36 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 400010
37 | (062K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Vital AC electrical instrument buses | 4.2 | K1 | 400062
38 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
39 | (005K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR flow controllers | 3.7 | K6 | 400005
40 | (006K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Hot-leg injection | 3.6 | K5 | 400006
41 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
42 | (039K4.06) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevent reverse steam flow on steamline break | 3.5 | K4 | 400039
43 | (013A2.01) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): LOCA | 4 | A2 | 400013
44 | (063K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems using DC control power | 4 | K3 | 400063
45 | (061A4.01) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4.2 | A4 | 400061
46 | (059A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater pump bearing temperatures | 2.7 | A1 | 400059
47 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (191005K1.03) MOTORS AND GENERATORS (CFR: 41.7): Causes of excessive current in motors and generators, such as low voltage, overloading, and mechanical binding | 2.8 | C | 400008
48 | (003K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 3.7 | K1 | 400003
49 | (064K2.02) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Fuel oil pumps | 3.2 | K2 | 400064
50 | (103K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): MRSS | 3.1 | K6 | 400103
51 | (026K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Water chemistry relationship to corrosion control | 2.8 | K5 | 400026
52 | (004A3.06) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): T-ave. and T-ref. | 3.6 | A3 | 400004
53 | (078K4.06) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Maintaining dry air | 2.9 | K4 | 400078
54 | (076A2.06) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Controller and positioner failure | 3.3 | A2 | 400076
55 | (011K2.02) Knowledge of electrical power supplies to the following: (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.3 | K2 | 400011
56 | (027K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): CSS | 2.9 | K6 | 400027
57 | (072K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ARM) AREA RADIATION MONITORING SYSTEM (CFR: 41.5 / 45.8 / 45.9): Containment isolation | 3.6 | K5 | 400072
58 | (033A4.03) Ability to manually operate and/or monitor the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Support systems for fill and transfer of SFPCS water | 3 | A3 | 400033
59 | (035K4.14) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ensuring steam quality | 2.8 | K4 | 400035
60 | (045A2.17) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Malfunction of EHC | 3.5 | A2 | 400045
61 | (028K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 2.9 | K3 | 400028
62 | (041A4.05) Ability to manually operate and/or monitor the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Main steam header pressure | 3.5 | A4 | 400041
63 | (015A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.5 / 45.5): Quadrant power tilt ratio | 3.5 | A1 | 400015
64 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
71 | (192005K1.08) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- boron concentration | 2.8 | R | 192005
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193008K1.10) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Define DNBR | 3.1 | T | 193008
74 | (193003K1.14) STEAM (CFR: 41.14): Define the following term: -- superheated vapor | 2.5 | T | 193003
75 | (193009K1.05) CORE THERMAL LIMITS (CFR: 41.14): State why thermal limits are necessary. | 3.5 | T | 193009
76 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395020
77 | (025AA2.05) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Limitations on RHR flow and temperature rates of change | 3.5 | A2 | 395007
78 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395023
79 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
80 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 395012
81 | (056AA2.33) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of bus voltage indication | 3.7 | A2 | 395015
82 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395029
83 | (005AA2.05) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.9 | A2 | 395026
84 | (395027) 000024 (APE 24) Emergency Boration (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 395027
85 | (003AA2.10) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): RCS pressure and temperature | 3.8 | A2 | 395025
86 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 400007
87 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
88 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400010
89 | (062A2.21) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of vital AC electrical instrument buses | 4.3 | A2 | 400062
90 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 400022
91 | (055A2.01) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CWS | 3.3 | A2 | 400055
92 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 400086
93 | (001A2.04) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Positioning of rods and their effect on SDM | 3.9 | A2 | 400001
94 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
95 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G2.4 | G2.4