## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295031EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Isolation condenser (Nine Mile Point 1, Dresden) | 3.8 | A1 | 295031
2 | (295018AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Starting the standby pump | 3.5 | K3 | 295018
3 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 295005
4 | (700000AK2.07) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor/turbine pressure regulating system | 3.3 | K2 | 700000
5 | (295037EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.3 | A2 | 295037
6 | (295030EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Heat capacity | 4 | K1 | 295030
7 | (295025EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) RPS | 4.2 | A1 | 295025
8 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
9 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 295023
10 | (295006AK2.05) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD mechanism | 3.4 | K2 | 295006
11 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
12 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K1 | 295016
13 | (600000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Fire detectors/heat detectors | 3.1 | A1 | 600000
14 | (295001AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Core flow response | 3.7 | K3 | 295001
15 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 295026
16 | (295004AK2.01) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Battery charger | 3.8 | K2 | 295004
17 | (295027EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4.5 | A2 | 295027
18 | (295021AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Adequate core cooling | 4.4 | K1 | 295021
19 | (295038EA1.12) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Primary containment system and auxiliaries | 3.8 | A1 | 295038
20 | (295024EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Drywell spray (Mark I, II) | 4.4 | K3 | 295024
21 | (295034EK2.04) Knowledge of the relationship between the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295034
22 | (295022AA2.05) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295022
23 | (295036EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.8 to 41.10) Maximum safe operating limit | 4.1 | K1 | 295036
24 | (295007AA1.08) Ability to operate and/or monitor the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Recirculation flow control system | 3.5 | A1 | 295007
25 | (295020AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.5 / 45.6) Reactor water level response | 3.9 | K3 | 295020
26 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 295029
27 | (217000K2.04) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Gland seal compressor (vacuum pump) | 2.6 | K2 | 217000
28 | (215004K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power indication | 4 | K3 | 215004
29 | (261000A4.03) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Fan | 3.7 | A4 | 261000
30 | (212000A2.17) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Main steamline high radiation | 3.1 | A2 | 212000
31 | (209001K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Testable check valve operation | 2.5 | K5 | 209001
32 | (215005K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RMCS (BWR 2, 3, 4, 5) | 3.5 | K1 | 215005
33 | (262001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Load currents | 3.2 | A1 | 262001
34 | (203000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) DC electrical power | 3.8 | K6 | 203000
35 | (223002A3.02) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) Valve closures | 4.3 | A3 | 223002
36 | (400000K4.08) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) System response to LOOP signal | 3.8 | K4 | 400000
37 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 205000
38 | (209002K2.03) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.2 | K2 | 209002
39 | (259002K3.08) Knowledge of the effect that a loss or malfunction of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4 to 45.8) Main and reheat steam system | 2.7 | K3 | 259002
40 | (263000A4.04) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Ground detection circuit | 2.8 | A4 | 263000
41 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.6 | A2 | 510000
42 | (239002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.5 / 45.3) Safety function of SRV operation | 4 | K5 | 239002
43 | (262002K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment system and auxiliaries | 3.1 | K1 | 262002
44 | (211000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Tank level | 3.8 | A1 | 211000
45 | (300000K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Backwashing condensate filter/demins | 2.6 | K6 | 300000
46 | (264000A3.01) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Starting/loading | 4.2 | A3 | 264000
47 | (218000K4.02) Knowledge of (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Allow manual initiation of ADS logic | 4.1 | K4 | 218000
48 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291001K1.01) VALVES (CFR: 41.3) The function and operation of safety valves | 3.5 | C | 215003
49 | (217000K2.05) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Water leg pump | 2.6 | K2 | 217000
50 | (215004K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RMCS (BWR 2, 3, 4, 5) | 3.5 | K3 | 215004
51 | (261000A4.09) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SGTS valves/dampers | 3.6 | A4 | 261000
52 | (212000A2.15) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Load rejection | 3.9 | A2 | 212000
53 | (239001K4.05) Knowledge of (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Steam flow measurement | 3.4 | K4 | 239001
54 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 226001
55 | (204000K2.02) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 3 | K2 | 204000
56 | (271000K3.05) Knowledge of the effect that a loss or malfunction of the (SF9 OG) OFFGAS SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Hydrogen water chemistry system | 2.8 | K3 | 271000
57 | (202001A4.08) Ability to manually operate and/or monitor the (SF1, SF4 RS) RECIRCULATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Motor-generator sets | 3.1 | A4 | 202001
58 | (241000A2.18) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Generator trip | 4.3 | A2 | 241000
59 | (510001K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CWS*) CIRCULATING WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Pipe rupture | 3.3 | K5 | 510001
60 | (201001K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDH) CRD HYDRAULIC SYSTEM and the following systems: (CFR: 41.1-3 to 41.5-8 / 45.1-6 / 45.8) Reactor protection system | 4.3 | K1 | 201001
61 | (215001A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.5 / 45.5) Detector output | 2.7 | A1 | 215001
62 | (272000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM : (CFR: 41.7 / 45.7) AC power | 3.1 | K6 | 272000
63 | (288000A3.01) Ability to monitor automatic operation of the (SF9 PVS) PLANT VENTILATION SYSTEMS including: (CFR: 41.7 / 45.7) Isolation/initiation signals | 3.7 | A3 | 288000
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G2.4 | G2.4
70 | (292008K1.23) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain the necessity for rod pattern exchanges | 3.1 | R | 292008
71 | (292004K1.14) REACTIVITY COEFFICIENTS (CFR: 41.1) Compare the relative magnitudes of the temperature, Doppler, and void coefficients of reactivity | 3.3 | R | 292004
72 | (292006K1.07) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Xenon following a SCRAM | 3.2 | R | 292006
73 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
74 | (293010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State how the possibility of brittle fracture is minimized by operating limitations | 3.2 | T | 293010
75 | (293008K1.23) THERMAL HYDRAULICS (CFR: 41.14) (VIODS AND VOID FRACTION) Define quality | 2.7 | T | 293008
76 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
77 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 295018
78 | (295005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Feedwater temperature | 2.9 | A2 | 295005
79 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 700000
80 | (295037EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Containment conditions/isolations | 4.1 | A2 | 295037
81 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 295030
82 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295025
83 | (295035EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Lights and alarms | 3.3 | A2 | 295035
84 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295033
85 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 3.9 | A2 | 295013
86 | (209001A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation | 4.3 | A2 | 209001
87 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 215005
88 | (262001A2.02) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of coolant accident | 4.2 | A2 | 262001
89 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.2.5) EQUIPMENT CONTROL Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, \u201cChanges, Tests and Experiments,\u201d screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 / 43.3 / 45.13) | 3.2 | G | 203000
90 | (223002A2.04) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Process radiation monitoring system failures | 3.3 | A2 | 223002
91 | (245000) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 245000
92 | (223001A2.01) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of coolant accident | 4.5 | A2 | 223001
93 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 216000
94 | (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4
100 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4