## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295019AK2.02) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Component cooling water | 3.2 | K2 | 295019
2 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
3 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.9 | A2 | 295016
4 | (295037EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Cold shutdown boron weight | 3.7 | K1 | 295037
5 | (600000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.7 / 45.5 / 45.6) Fire alarm reset panel | 3.2 | A1 | 600000
6 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295026
7 | (295023AK2.02) Knowledge of the relationship between the (APE 23) REFUELING ACCIDENTS and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.4 | K2 | 295023
8 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
9 | (295001AA2.11) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual loop flow(s) | 3.6 | A2 | 295001
10 | (295030EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Heat capacity | 4 | K1 | 295030
11 | (295025EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Safety/relief valves | 4.4 | A1 | 295025
12 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 295031
13 | (295018AK2.02) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Plant operations | 3.9 | K2 | 295018
14 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
15 | (295027EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4.5 | A2 | 295027
16 | (295003AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Load shedding | 3.8 | K1 | 295003
17 | (295021AA1.03) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Component cooling water systems | 3.4 | A1 | 295021
18 | (295006) (APE 6) SCRAM (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295006
19 | (295005AK2.03) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 3.5 | K2 | 295005
20 | (295024EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Suppression pool spray | 4.1 | K3 | 295024
21 | (295009AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Jet pump net positive suction head | 3.2 | K1 | 295009
22 | (295017AA1.11) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) PCIS/NSSSS | 3.7 | A1 | 295017
23 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 500000
24 | (295033EK2.07) Knowledge of the relationship between the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS and the following systems or components: (CFR: 41.7 / 45.8) Systems required for adequate core cooling | 4.2 | K2 | 295033
25 | (295008AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) PCIS/NSSSS initiation | 3.5 | K3 | 295008
26 | (295012AA2.03) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell humidity | 2.8 | A2 | 295012
27 | (400000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) Loads cooled by CCW | 3.8 | K1 | 400000
28 | (239002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Pneumatic supply | 3.5 | A1 | 239002
29 | (300000K4.02) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Crossover to other pneumatic systems | 3.3 | K4 | 300000
30 | (215005A2.04) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) SCRAM trip signals | 4.4 | A2 | 215005
31 | (209002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Indications of pump cavitation | 3.5 | K5 | 209002
32 | (215003A4.05) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Trip bypasses | 3.5 | A4 | 215003
33 | (223002A3.01) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) System indicating lights and alarms | 4 | A3 | 223002
34 | (212000K3.06) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) SCRAM air header solenoid-operated valves | 4.1 | K3 | 212000
35 | (262001K2.03) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) Major motor control centers/buses (480 volts and higher) | 3.8 | K2 | 262001
36 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 205000
37 | (259002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) Reactor pressure/temperature input (for water level input compensation) | 2.9 | K6 | 259002
38 | (211000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) CRD system | 2.7 | K1 | 211000
39 | (209001A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) System lineup | 4 | A1 | 209001
40 | (203000K4.07) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Emergency generator load sequencing | 3.8 | K4 | 203000
41 | (261000A2.12) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High fuel pool ventilation radiation | 3.4 | A2 | 261000
42 | (215004K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) SRMS/IRM overlap | 3.5 | K5 | 215004
43 | (510000A4.02) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve operations | 3.6 | A4 | 510000
44 | (217000A3.01) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 217000
45 | (218000K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.1 | K3 | 218000
46 | (262002K2.02) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor generator | 3.3 | K2 | 262002
47 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291002K1.05) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Operation of a flow D/P cell-type flow detector | 3.1 | C | 263000
48 | (264000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) Lube oil components | 3.6 | K6 | 264000
49 | (400000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 to 45.8) Instrument air system | 3 | K1 | 400000
50 | (239002A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Indicated vs. actual steam flow | 3.5 | A1 | 239002
51 | (300000K4.05) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Maintaining dry air | 3.1 | K4 | 300000
52 | (215005A2.08) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Faulty or erratic operation of detectors/systems | 3.5 | A2 | 215005
53 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 201001
54 | (201005K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.7 / 45.7) First stage shell pressure or opening of a bypass valve(s) | 3.8 | K6 | 201005
55 | (290001K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 SC) SECONDARY CONTAINMENT and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Offgas system | 2.8 | K1 | 290001
56 | (272000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.5 / 45.5) Sample flows | 2.8 | A1 | 272000
57 | (268000K4.01) Knowledge of (SF9 RW) RADWASTE SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic isolation of radiological release isolation valves | 3 | K4 | 268000
58 | (216000A2.09) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Jet pump malfunction | 3.8 | A2 | 216000
59 | (204000K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM : (CFR: 41.5 / 45.3) Conductivity monitoring | 3.2 | K5 | 204000
60 | (259001A4.04) Ability to manually operate and/or monitor the (SF2 FWS) FEEDWATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System valves | 3.4 | A4 | 259001
61 | (290003A3.02) Ability to monitor automatic operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.7 / 45.7) Initiation/failure of fire protection system | 3 | A3 | 290003
62 | (233000K3.05) Knowledge of the effect that a loss or malfunction of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Fuel pool water fission product concentration | 2.8 | K3 | 233000
63 | (510001K2.03) (SF8 CWS*) CIRCULATING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Cooling tower fans | 2.5 | K2 | 510001
64 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
71 | (292006K1.02) FISSION PRODUCT POISONS (CFR: 41.1) State the characteristics of xenon-135 as a fission product poison | 3.1 | R | 292006
72 | (292004K1.15) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain the differences between reactivity coefficients and reactivity defects | 2.7 | R | 292004
73 | (293006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14) Explain operational implications of fluid/water hammer | 3.3 | T | 293006
74 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
75 | (293008K1.06) THERMAL HYDRAULICS (CFR: 41.14) (POOL BOILING CURVE (TEMPERATURE VS. HEAT FLUX)) Define a natural convection heat transfer | 2.6 | T | 293008
76 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
77 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 295004
78 | (295016AA2.06) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Cooldown rate | 3.7 | A2 | 295016
79 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 295037
80 | (600000AA2.16) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Vital equipment and control systems to be maintained and operated during a fire | 3.4 | A2 | 600000
81 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 295026
82 | (295023AA2.05) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan implementation | 4.4 | A2 | 295023
83 | (295014AA2.01) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.5 | A2 | 295014
84 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 295032
85 | (295036EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Cause of the high water level | 3.6 | A2 | 295036
86 | (209002A2.18) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Keep fill system failure | 3.3 | A2 | 209002
87 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 215003
88 | (223002A2.05) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Nuclear boiler instrumentation failures | 3.8 | A2 | 223002
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 212000
90 | (262001A2.03) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of/degraded offsite power | 4.3 | A2 | 262001
91 | (241000) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 241000
92 | (288000A2.08) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of component cooling water system | 2.7 | A2 | 288000
93 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 215001
94 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G2.4 | G2.4
100 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4