## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AK2.03) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 3.5 | K1 | 295018
2 | (295023AA2.02) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Fuel pool level | 4.6 | A2 | 295023
3 | (295016AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Disabling/transferring control room controls | 4 | K3 | 295016
4 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 295030
5 | (295001AK2.09) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 2.8 | K2 | 295001
6 | (295005AA1.04) Ability to operate and/or monitor the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.7 / 45.6) Main turbine generator and auxiliaries | 2.9 | A1 | 295005
7 | (295037EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Shutdown conditions | 4.1 | K1 | 295037
8 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.8 | A2 | 600000
9 | (295038EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Elevated vs. ground level release | 3.6 | K3 | 295038
10 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 295025
11 | (295006AK2.02) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 4.1 | K2 | 295006
12 | (700000AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Turbine/generator controls | 3.4 | A1 | 700000
13 | (295003AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Emergency diesel generator load limits | 4 | K1 | 295003
14 | (295024EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.4 | A2 | 295024
15 | (295027EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Reactor SCRAM | 3.9 | K3 | 295027
16 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295019
17 | (295031EK2.17) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.9 | K2 | 295031
18 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
19 | (295026EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Heat capacity | 4.1 | K1 | 295026
20 | (295021AA2.04) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water temperature | 4.6 | A2 | 295021
21 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295012
22 | (295036EK2.01) Knowledge of the relationship between the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Equipment and floor drain sumps and pumps | 3.4 | K2 | 295036
23 | (295002AA1.02) Ability to operate and/or monitor the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.7 / 45.6) Offgas system | 3.5 | A1 | 295002
24 | (295022AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.8 to 41.10) Reactor pressure vs. rod insertion capability | 3.9 | K1 | 295022
25 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 3.9 | A2 | 295032
26 | (295008AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) HPCS isolation | 3.5 | K3 | 295008
27 | (215004K2.03) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive module control | 2.6 | K2 | 215004
28 | (203000A2.19) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low suppression pool level | 3.7 | A2 | 203000
29 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
30 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 263000
31 | (215005A3.05) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Flow converter/comparator signals | 3.2 | A3 | 215005
32 | (215003A4.06) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Detector drives | 3.4 | A4 | 215003
33 | (261000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) Primary containment oxygen level (Mark I and II) | 3 | A1 | 261000
34 | (259002K4.16) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dedication of feedwater string(s) to ECCS: FWCI | 3.4 | K4 | 259002
35 | (209002K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Loss of AC electrical distribution | 4.2 | K6 | 209002
36 | (217000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.3 | K1 | 217000
37 | (264000K3.04) Knowledge of the effect that a loss or malfunction of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Bus frequency/voltage | 3.9 | K3 | 264000
38 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
39 | (205000A2.09) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor low water level | 4.1 | A2 | 205000
40 | (510000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Radiation alarm response | 3 | K5 | 510000
41 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (291002K1.10) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Theory and operation of pressure detectors (bourdon tubes, diaphragms, bellows, forced balance, variable capacitance, and D/P cell) | 2.5 | C | 209001
42 | (212000A3.10) Ability to monitor automatic operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Bypassing SCRAM signals | 3.8 | A3 | 212000
43 | (218000A4.04) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS inhibit | 4.4 | A4 | 218000
44 | (211000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) SLCS lineup | 3.8 | A1 | 211000
45 | (223002K4.05) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Single failures will not impair the function ability of the system | 3.6 | K4 | 223002
46 | (262002K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.7 / 45.7) Motor generator | 3.2 | K6 | 262002
47 | (239002K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrument system | 3.6 | K1 | 239002
48 | (262001K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 AC) AC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 4.6 | K3 | 262001
49 | (215004K2.01) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SRMS channels/detectors | 3.3 | K2 | 215004
50 | (203000A2.20) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Surveillance acceptance criteria not being met | 3 | A2 | 203000
51 | (400000K3.18) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Reactor feedwater system | 3.1 | K5 | 400000
52 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 263000
53 | (202001K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF1, SF4 RS) RECIRCULATION SYSTEM and the following systems: (CFR: 41.2 to 41.8 / 45.7 / 45.8) Control rod drive system | 3 | K1 | 202001
54 | (204000K3.06) Knowledge of the effect that a loss or malfunction of the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Area radiation levels | 3 | K3 | 204000
55 | (272000K2.08) (SF7, SF9 RMS) RADIATION MONITORING SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Continuous air monitoring/post\u2011accident air monitoring systems | 2.7 | K2 | 272000
56 | (288000A2.01) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High drywell pressure | 3.5 | A2 | 288000
57 | (233000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP: (CFR: 41.5 / 45.3) Refueling operations | 3.4 | K5 | 233000
58 | (201001) (SF1 CRDH) CRD HYDRAULIC SYSTEM (291002K1.15) SENSORS AND DETECTORS (CFR: 41.7) (TEMPERATURE) Failure modes and indications of T/C, RTD or, thermometers | 2.8 | C | 201001
59 | (215001A3.08) Ability to monitor automatic operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.7 / 45.7) TIP detector retract during accident conditions (BWR 2, 3, 4, 5) | 3.7 | A3 | 215001
60 | (230000A4.05) Ability to manually operate and/or monitor the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Heat exchanger cooling flow | 3.4 | A4 | 230000
61 | (290002K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.5 / 45.3) Offsite radiation levels | 3.2 | A1 | 290002
62 | (290003K4.03) Knowledge of (SF9 CRV) CONTROL ROOM VENTILATION design features and/or interlocks that provide for the following: (CFR: 41.7) Differential pressure control | 3.1 | K4 | 290003
63 | (290001K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 SC) SECONDARY CONTAINMENT: (CFR: 41.7 / 45.7) SGTS/FRVS | 4 | K6 | 290001
64 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G2.4 | G2.4
70 | (292005K1.01) CONTROL RODS (CFR: 41.1) Relate notch and rod position | 3.3 | R | 292005
71 | (292008K1.19) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain transient and steady-state effects of a control rod withdrawal on reactor power and void fraction content | 3.2 | R | 292008
72 | (292006K1.03) FISSION PRODUCT POISONS (CFR: 41.1) Describe the production of xenon-135 | 2.9 | R | 292006
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293004K1.13) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain vacuum formation in condenser processes | 2.6 | T | 293004
75 | (293007K1.08) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) List functions of the main condenser in a power plant | 3.1 | T | 293007
76 | (295018AA2.06) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Surge tank level | 3 | A2 | 295018
77 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 295023
78 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.6 | A2 | 295016
79 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 295030
80 | (295001AA2.10) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Recirculation system/RPV differential temperatures | 3.7 | A2 | 295001
81 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295005
82 | (295037EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) SCRAM discharge volume level | 4 | A2 | 295037
83 | (295014AA2.03) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cause of reactivity addition | 4.2 | A2 | 295014
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 295020
85 | (295011AA2.02) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.3 | A2 | 295011
86 | (215005A2.05) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of recirculation flow signal | 3.9 | A2 | 215005
87 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 215003
88 | (261000A2.01) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low system flow | 3.5 | A2 | 261000
89 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 259002
90 | (209002A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of plant ventilation (HPCS room cooler) | 3.3 | A2 | 209002
91 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 268000
92 | (259001A2.09) Ability to (a) predict the impacts of the following on the (SF2 FWS) FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) TDRFP steam inlet pressure flow | 2.6 | A2 | 259001
93 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 201003
94 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4