## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295038
2 | (295026EK2.07) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) HPCI | 3.8 | K2 | 295026
3 | (295001AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor SCRAM | 4.1 | K3 | 295001
4 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
5 | (295018AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Securing individual components (preventing equipment damage) | 3.3 | K1 | 295018
6 | (295030EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/suppression chamber differential pressure (Mark I, II) | 4.2 | A2 | 295030
7 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295003
8 | (700000AK2.09) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) AC electrical distribution system | 3.5 | K2 | 700000
9 | (295006AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor water level setpoint setdown | 3.7 | K3 | 295006
10 | (295037EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Redundant reactivity control system | 4 | A1 | 295037
11 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
12 | (295016AA2.02) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.5 | A2 | 295016
13 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 295027
14 | (295031EK2.07) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) High-pressure core spray | 4.5 | K2 | 295031
15 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
16 | (295025EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) RFCS | 3.9 | A1 | 295025
17 | (295023AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Fuel positioning | 3.4 | K1 | 295023
18 | (295005AA2.09) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Turbine limitations | 2.9 | A2 | 295005
19 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 295021
20 | (600000AK2.05) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Fire alarm panels | 3.4 | K2 | 600000
21 | (295011AA1.01) Ability to operate and/or monitor the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling system | 3.7 | A1 | 295011
22 | (295008AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Moisture carryover | 3.3 | K1 | 295008
23 | (295012AA2.01) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell temperature | 4.4 | A2 | 295012
24 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295035
25 | (295007AK2.05) Knowledge of the relationship between the (APE 7) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Shutdown cooling system (RHR shutdown cooling mode) | 3.7 | K2 | 295007
26 | (295034EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.5 / 45.6) Isolating secondary containment ventilation | 4.1 | K3 | 295034
27 | (215005A3.06) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Maximum disagreement between flow comparator channels | 3.2 | A3 | 215005
28 | (205000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) Reactor water cleanup | 2.8 | K6 | 205000
29 | (209001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Abnormal differential pressure indication (leak detection) | 3.4 | K5 | 209001
30 | (203000K4.04) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump seal cooler | 2.7 | K4 | 203000
31 | (211000K3.03) Knowledge of the effect that a loss or malfunction of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Core plate differential pressure | 3 | K3 | 211000
32 | (262001A2.09) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding voltage limitations | 3.8 | A2 | 262001
33 | (209002K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection | 3.2 | K1 | 209002
34 | (264000A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Gas generator speed | 3 | A1 | 264000
35 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 261000
36 | (215004K2.02) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive modules | 2.7 | K2 | 215004
37 | (400000A4.01) Ability to manually operate and/or monitor the (SF8 CCS) COMPONENT COOLING WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) CCW indications and control | 3.8 | A4 | 400000
38 | (239002A3.01) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) SRV operation after ADS actuation | 4.1 | A3 | 239002
39 | (218000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) Pneumatic supply to ADS valves | 3.7 | K6 | 218000
40 | (263000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Battery charger and battery | 3.4 | K5 | 263000
41 | (300000K4.06) Knowledge of (SF8 IA) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Maintaining normal instrument air pressure | 3.4 | K4 | 300000
42 | (217000K3.07) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Secondary containment parameters | 3.4 | K3 | 217000
43 | (215003A2.02) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) IRM inoperable condition | 3.9 | A2 | 215003
44 | (262002K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fire protection system | 2.6 | K1 | 262002
45 | (223002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Plant process computer/parameter display systems | 3.3 | A1 | 223002
46 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (291002K1.07) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Theory and operation of level detectors | 3.2 | C | 510000
47 | (259002K2.03) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Feedwater controllers | 3.1 | K2 | 259002
48 | (212000A4.14) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset | 3.8 | A4 | 212000
49 | (215005A3.01) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Four rod display | 3.6 | A3 | 215005
50 | (205000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) AC electrical distribution | 3.7 | K6 | 205000
51 | (209001K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209001
52 | (203000K4.12) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) System redundancy | 3.5 | K4 | 203000
53 | (290003K2.04) (SF9 CRV) CONTROL ROOM VENTILATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Control room HVAC logic | 3.1 | K2 | 290003
54 | (215001A4.03) Ability to manually operate and/or monitor the (SF7 TIP) TRAVERSING IN CORE PROBE in the control room: (CFR: 41.7 / 45.5 to 45.8) Isolation valves (BWR 2, 3, 4, 5) | 3.6 | A4 | 215001
55 | (271000A3.06) Ability to monitor automatic operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.7 / 45.7) System differential pressure control | 2.6 | A3 | 271000
56 | (219000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.7 / 45.7) CCW system | 3 | K6 | 219000
57 | (230000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE: (CFR: 41.5 / 45.3) Pump cavitation/vortex | 3.3 | K5 | 230000
58 | (233000K4.02) Knowledge of (SF9 FPCCU) FUEL POOL COOLING/CLEANUP design features and/or interlocks that provide for the following: (CFR: 41.7) Pool clarity | 2.7 | K4 | 233000
59 | (223001K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Containment/drywell temperature | 3.8 | K3 | 223001
60 | (241000A2.21) Ability to (a) predict the impacts of the following on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Hydraulic pump trip | 3.4 | A2 | 241000
61 | (201003K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and the following systems: (CFR: 41.1 to 41.10 / 45.1 to 45.8) Control rod drive hydraulic system | 3.9 | K1 | 201003
62 | (202002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Reactor core flow | 4.2 | A1 | 202002
63 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 204000
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.4 | G2.4
70 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
71 | (292005K1.07) CONTROL RODS (CFR: 41.1) Define control rod worth, differential CRW, and integral control rod worth | 2.6 | R | 292005
72 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
73 | (293005K1.05) THERMODYNAMIC CYCLES (CFR: 41.14) State the advantages of moisture separators/reheaters and feedwater heaters for a typical steam cycle | 2.8 | T | 293005
74 | (293008K1.27) THERMAL HYDRAULICS (CFR: 41.14) (RECIRCULATION SYSTEM) Explain the necessity of determining core coolant flow | 3 | T | 293008
75 | (293010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the effect of fast neutron irradiation on reactor vessel metals | 2.8 | T | 293010
76 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 295038
77 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.9 | A2 | 295026
78 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 295001
79 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
80 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295018
81 | (295030EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) | 3.4 | A2 | 295030
82 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 295003
83 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295014
84 | (295033EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan | 4.3 | A2 | 295033
85 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G | 295017
86 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 211000
87 | (262001A2.06) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of a plant bus | 3.8 | A2 | 262001
88 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 209002
89 | (264000A2.09) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of safety bus | 4.3 | A2 | 264000
90 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 261000
91 | (245000A2.04) Ability to (a) predict the impacts of the following on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor SCRAM | 3.9 | A2 | 245000
92 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 239001
93 | (272000A2.08) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Offgas system failure | 3.4 | A2 | 272000
94 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4