## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295030
2 | (295018AA1.07) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.6 | A1 | 295018
3 | (295019AK2.13) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Isolation condenser (Nine Mile Point 1, Dresden) | 3.1 | K2 | 295019
4 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.2 | A2 | 295004
5 | (295006AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Pressure control | 4.1 | K1 | 295006
6 | (295005AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Extraction steam/moisture separator isolations | 2.8 | K3 | 295005
7 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295027
8 | (295031EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Low-pressure core spray | 4.3 | A1 | 295031
9 | (700000AK2.08) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Main turbine generator and auxiliary systems | 3.1 | K2 | 700000
10 | (295001AA2.11) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Individual loop flow(s) | 3.6 | A2 | 295001
11 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
12 | (295037EK3.06) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Maintaining heat sinks external to the containment | 4.1 | K3 | 295037
13 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 295023
14 | (295021AA1.02) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) RHR/shutdown cooling | 4.3 | A1 | 295021
15 | (295003AK2.02) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) Emergency generators | 4.3 | K2 | 295003
16 | (295026EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 3.6 | A2 | 295026
17 | (295024EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Containment building integrity (Mark III) | 4 | K1 | 295024
18 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
19 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 295016
20 | (295025EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) HPCI | 3.6 | A1 | 295025
21 | (295012AA2.04) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) System/component operating limitations | 3.8 | A2 | 295012
22 | (295029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Containment integrity | 3.8 | K1 | 295029
23 | (295010AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.5 / 45.6) Radiation level monitoring | 3.4 | K3 | 295010
24 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 295002
25 | (295032EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) Leak detection system | 3.8 | A1 | 295032
26 | (500000EK2.08) Knowledge of the relationship between the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION and the following systems or components: (CFR: 41.7 / 45.8) Wetwell vent | 3.7 | K2 | 500000
27 | (263000A4.04) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Ground detection circuit | 2.8 | A4 | 263000
28 | (215004A3.04) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block status | 3.7 | A3 | 215004
29 | (215003K4.11) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatically bypassing IRM SCRAM signals | 3.6 | K4 | 215003
30 | (217000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Turbine control failure | 3.7 | K6 | 217000
31 | (239002A2.05) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low reactor pressure | 3.9 | A2 | 239002
32 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 203000
33 | (212000K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RCIS (BWR 6) | 3.4 | K1 | 212000
34 | (300000K3.19) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Main steam system | 3.6 | K3 | 300000
35 | (215005K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.5 / 45.3) LPRM/OPRM/APRM channel assignments | 3.2 | K5 | 215005
36 | (261000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.5 / 45.5) System flow | 3.5 | A1 | 261000
37 | (211000K2.02) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Squib valves | 3.5 | K2 | 211000
38 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
39 | (218000A3.01) Ability to monitor automatic operation of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM including: (CFR: 41.7 / 45.7) ADS valves | 4.1 | A3 | 218000
40 | (264000K4.10) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic start logic | 4.2 | K4 | 264000
41 | (262001K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Emergency generators | 4.5 | K6 | 262001
42 | (209002A2.03) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve positions | 4.1 | A2 | 209002
43 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (291004K1.19) PUMPS (CFR: 41.3) (CENTRIFUGAL) Safety procedure and precautions associated with centrifugal pumps | 2.9 | C | 400000
44 | (223002K1.17) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K1 | 223002
45 | (510000K3.07) Knowledge of the effect that a loss or malfunction of the (SF4 SWS*) SERVICE WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Residual heat removal/low-pressure coolant injection | 3.7 | K3 | 510000
46 | (209001K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Heat removal (transfer) mechanisms | 3.2 | K5 | 209001
47 | (259002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Reactor water level | 4.3 | A1 | 259002
48 | (205000K2.01) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) Knowledge of electrical power supplies to the following: (CFR: 41.7) Pump motors | 3.6 | K2 | 205000
49 | (263000A4.01) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Operationally significant breakers and control power fuses | 3.7 | A4 | 263000
50 | (215004A3.03) Ability to monitor automatic operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) RPS status | 3.5 | A3 | 215004
51 | (215003K4.07) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Bypassing an IRM channel | 3.6 | K4 | 215003
52 | (217000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Low reactor pressure | 3.7 | K6 | 217000
53 | (245000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.5 / 45.5) Turbine valve position | 3.2 | A1 | 245000
54 | (271000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.7) Condensate system | 2.9 | K2 | 271000
55 | (226001A4.07) Ability to manually operate and/or monitor the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve logic reset/bypass/override | 3.8 | A4 | 226001
56 | (272000A3.01) Ability to monitor automatic operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.7 / 45.7) Main steam radiation alarms | 3.5 | A3 | 272000
57 | (234000K4.06) Knowledge of (SF8 FH) FUEL HANDLING design features and/or interlocks that provide for the following: (CFR: 41.7) Protection from dropping a fuel assembly | 3.6 | K4 | 234000
58 | (290002K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.7 / 45.7) Residual heat removal system | 3.7 | K6 | 290002
59 | (239003A2.09) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Outboard main steamline high pressure | 3 | A2 | 239003
60 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 201005
61 | (223001K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) LPCS | 3.9 | K1 | 223001
62 | (230000K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression chamber air temperature | 3.5 | K3 | 230000
63 | (219000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.5 / 45.3) NPSH/vortex | 3.4 | K5 | 219000
64 | (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, \u201cno-solo\u201d operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292005K1.02) CONTROL RODS (CFR: 41.1) Name the material used for thermal neutron absorption in control rods | 2.6 | R | 292005
71 | (292004K1.15) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain the differences between reactivity coefficients and reactivity defects | 2.7 | R | 292004
72 | (292006K1.06) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Transient xenon | 2.7 | R | 292006
73 | (293010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the definition of nil-ductility transition temperature | 2.7 | T | 293010
74 | (293008K1.36) THERMAL HYDRAULICS (CFR: 41.14) (NATURAL CIRCULATION) Describe means by which the operator can determine if natural circulation flow exists | 3.3 | T | 293008
75 | (293007K1.01) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Describe three mechanisms of heat transfer | 3.2 | T | 293007
76 | (295030EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Drywell/suppression chamber differential pressure (Mark I, II) | 3.5 | A2 | 295030
77 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295018
78 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
79 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295004
80 | (295006AA2.03) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.1 | A2 | 295006
81 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295005
82 | (295027EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4 | A2 | 295027
83 | (295036EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Operability of components within the affected area | 3.7 | A2 | 295036
84 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 295008
85 | (295017AA2.03) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295017
86 | (239002A2.02) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Leaking SRV | 3.6 | A2 | 239002
87 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 203000
88 | (212000A2.12) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Main turbine stop/control valve closure | 4.1 | A2 | 212000
89 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 300000
90 | (215005A2.10) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Changes in void concentration | 2.9 | A2 | 215005
91 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 510001
92 | (290001A2.07) Ability to (a) predict the impacts of the following on the (SF5 SC) SECONDARY CONTAINMENT and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent fire suppression system initiation | 2.7 | A2 | 290001
93 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 256000
94 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4