## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.8 | K1 | 295038
2 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295016
3 | (295027EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 3 | A1 | 295027
4 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
5 | (295026EK2.04) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 2.9 | K2 | 295026
6 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
7 | (700000AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Under-excitation | 3.2 | K1 | 700000
8 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 295037
9 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
10 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 4 | A2 | 295023
11 | (295004AK2.02) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Batteries | 4.1 | K2 | 295004
12 | (295031EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Automatic depressurization system actuation | 4.3 | K3 | 295031
13 | (295006AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Pressure control | 4.1 | K1 | 295006
14 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 295001
15 | (295024EA1.15) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Containment/drywell atmospheric monitoring | 3.5 | A1 | 295024
16 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.4 | A2 | 295003
17 | (295018AK2.05) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) RHR/LPCI | 3.3 | K2 | 295018
18 | (295005AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Feedwater temperature decrease | 3.2 | K3 | 295005
19 | (295025EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Pressure control strategies | 4.2 | K1 | 295025
20 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 295030
21 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 3.9 | A2 | 295032
22 | (295008AK2.09) Knowledge of the relationship between the (APE 8) HIGH REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system (ability to drain) | 3.3 | K2 | 295008
23 | (295034EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.5 / 45.6) Personnel evacuation | 3.8 | K3 | 295034
24 | (295007AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 41.10) Pump shutoff head | 3.6 | K1 | 295007
25 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 295009
26 | (295014AA1.02) Ability to operate and/or monitor the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.7 / 45.6) Recirculation flow control system | 4.2 | A1 | 295014
27 | (259002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor feedwater flow | 3.9 | K1 | 259002
28 | (262002K3.19) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor/turbine pressure regulating system | 3.2 | K3 | 262002
29 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 215003
30 | (211000K4.09) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dampening of positive displacement pump discharge oscillations | 2.7 | K4 | 211000
31 | (217000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Nuclear boiler instrumentation | 3.6 | K6 | 217000
32 | (209002A2.14) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool temperature | 3.4 | A2 | 209002
33 | (239002A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Tailpipe temperature | 3.8 | A1 | 239002
34 | (510000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Intake/traveling screen high differential pressure/ differential level | 3.3 | K5 | 510000
35 | (205000A4.06) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor water level | 4 | A4 | 205000
36 | (264000A3.06) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Cooling water system operation | 3.6 | A3 | 264000
37 | (212000K2.03) (SF7 RPS) REACTOR PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RPS alternate power supplies | 3.9 | K2 | 212000
38 | (218000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Safety/relief valves | 4.3 | K1 | 218000
39 | (223002K3.17) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor vessel head spray | 3.1 | K3 | 223002
40 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291006K1.18) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Reasons for noncondensable gas removal | 2.9 | C | 300000
41 | (203000K4.03) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump minimum flow protection | 3.2 | K4 | 203000
42 | (261000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Reactor protection system | 3.1 | K6 | 261000
43 | (209001A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 4.1 | A2 | 209001
44 | (262001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Load currents | 3.2 | A1 | 262001
45 | (400000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.5 / 45.3) Determine source(s) of RCS leakage into CCW | 3.1 | K5 | 400000
46 | (263000A4.05) Ability to manually operate and/or monitor the (SF6 DC) DC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Meters, dials, recorders, alarms, and indicating lights | 3.3 | A4 | 263000
47 | (215005A3.01) Ability to monitor automatic operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.7 / 45.7) Four rod display | 3.6 | A3 | 215005
48 | (215004K2.03) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Detector drive module control | 2.6 | K2 | 215004
49 | (259002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPS | 3.9 | K1 | 259002
50 | (262002K3.20) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Radiation monitoring system | 2.7 | K3 | 262002
51 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 215003
52 | (211000K4.05) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dispersal of boron upon injection into the vessel | 3.3 | K4 | 211000
53 | (239003A3.03) Ability to monitor automatic operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.7 / 45.7) Dilution air flows | 2.6 | A3 | 239003
54 | (202001K2.07) (SF1, SF4 RS) RECIRCULATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) VFD cooling water pumps | 3.4 | K2 | 202001
55 | (245000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor protection system | 3.8 | K1 | 245000
56 | (215001K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 TIP) TRAVERSING IN CORE PROBE will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Local power range monitoring system | 3.1 | K3 | 215001
57 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (291008K1.03) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Meaning and/or the loss of power supply circuit breaker indicator lights and capability to remotely open and close | 3.4 | C | 216000
58 | (271000K4.01) Knowledge of (SF9 OG) OFFGAS SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dilution of hydrogen gas concentration | 3.1 | K4 | 271000
59 | (239001K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM: (CFR: 41.7 / 45.7) Reactor/turbine pressure regulating system | 3.8 | K6 | 239001
60 | (290003A2.05) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of chillers | 3.2 | A2 | 290003
61 | (290001A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 SC) SECONDARY CONTAINMENT including: (CFR: 41.5 / 45.5) High area temperature (BWR 6) | 3.8 | A1 | 290001
62 | (201005K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.5 to 41.7 / 45.3 / 45.5) Rod groups | 3.3 | K5 | 201005
63 | (226001A4.04) Ability to manually operate and/or monitor the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE in the control room: (CFR: 41.7 / 45.5 to 45.8) Keep fill system | 3.2 | A4 | 226001
64 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.4 | G2.4
70 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
71 | (292004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain Doppler broadening and self-shielding | 2.7 | R | 292004
72 | (292006K1.07) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Xenon following a SCRAM | 3.2 | R | 292006
73 | (293003K1.09) STEAM (CFR: 41.14) Define the following term: Saturated vapor | 2.6 | T | 293003
74 | (293007K1.11) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.1 | T | 293007
75 | (293008K1.20) THERMAL HYDRAULICS (CFR: 41.14) (CORE INLET SUBCOOLING) Define carryunder | 2.6 | T | 293008
76 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295038
77 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.6 | A2 | 295016
78 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295027
79 | (295019AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Standby air compressor operation | 3.7 | A2 | 295019
80 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 295026
81 | (600000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Fire alarm | 3.7 | A2 | 600000
82 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 700000
83 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 295017
84 | (295013AA2.03) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Open/leaking Safety relief valve | 3.9 | A2 | 295013
85 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 295035
86 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 217000
87 | (209002A2.17) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Initiation logic failure | 4.2 | A2 | 209002
88 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 239002
89 | (510000A2.01) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Pump/motor failure | 3.7 | A2 | 510000
90 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 205000
91 | (272000A2.17) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Plant ventilation systems abnormal radiation levels | 3.3 | A2 | 272000
92 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 288000
93 | (219000A2.01) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate net positive suction head/vortex limits | 3.7 | A2 | 219000
94 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4
100 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4