## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (009EK3.25) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Monitoring of in-core T-cold | 3.5 | K3 | 395003
2 | (077AA1.02) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): Turbine/generator controls | 3.6 | A1 | 395020
3 | (026AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to the SFPCS | 3.6 | K1 | 395008
4 | (015AA2.02) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP oil system temperature and pressure | 3.4 | A2 | 395005
5 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 395010
6 | (CE06EK2.07) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): SGS | 4 | K2 | 395013
7 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
8 | (056AA1.08) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): HVAC chill water pump and unit | 2.9 | A1 | 395015
9 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
10 | (038EA2.18) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Steam and/or feedwater flow for mismatched condition | 3 | A2 | 395011
11 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395004
12 | (WE12EK2.09) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): PZR PCS | 3.4 | K2 | 395012
13 | (065AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in procedures for loss of instrument air | 3.7 | K3 | 395019
14 | (062AA1.01) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Service water temperature indications | 3.4 | A1 | 395018
15 | (027AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Latent heat of vaporization / condensation | 3.2 | K1 | 395009
16 | (022AA2.02) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Charging pump problems | 3.5 | A2 | 395006
17 | (395014) 000055 (EPE 55) Station Blackout (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395014
18 | (CE02EK2.09) Knowledge of the relationship between (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): NIS | 3.7 | K2 | 395001
19 | (074EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating safety injection tanks after discharge | 3.6 | K3 | 395040
20 | (003AA1.09) Ability to operate and/or monitor the following as they apply to (APE 3) DROPPED Control Rod (CFR: 41.7 / 45.5 / 45.6): NIS | 3.8 | A1 | 395025
21 | (WE14EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.7 / 45.7 / 45.8): Priority for containment spray pump operation if ECA‑1.1, “Loss of Emergency Recirculation,” is in effect | 3.9 | K1 | 395039
22 | (005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): ITM | 3.3 | A2 | 395026
23 | (395059) (CE E13*) Loss of Forced Circulation/LOOP/Blackout (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395059
24 | (CA16AK2.09) Knowledge of the relationship between (CE A16) EXCESS RCS Leakage and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): CNT | 3.5 | K2 | 395057
25 | (001AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.5 / 41.10 / 45.6 / 45.13): Matching T-ave. and T-ref. | 3.5 | K3 | 395024
26 | (060AA1.01) Ability to operate and/or monitor the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.7 / 45.5 / 45.6): PRMS | 3.4 | A1 | 395035
27 | (061K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): ESFAS | 4.2 | K1 | 400061
28 | (013K3.17) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): WGS | 2.7 | K3 | 400013
29 | (039K4.06) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevent reverse steam flow on steamline break | 3.5 | K4 | 400039
30 | (006A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): Boron concentration in safety injection tank and BAT | 3.4 | A1 | 400006
31 | (005K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR heat exchanger | 3.7 | K6 | 400005
32 | (026A4.04) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote sampling of the NaOH tank and RWST for chemical analysis | 2.5 | A4 | 400026
33 | (004A2.12) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Containment isolation actuation signal and ECCS actuation signal | 3.6 | A2 | 400004
34 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 400078
35 | (063K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Hydrogen generation during battery charging | 2.8 | K5 | 400063
36 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
37 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
38 | (073K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): PVS | 3.1 | K1 | 400073
39 | (012K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.9 | K3 | 400012
40 | (062K4.01) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bus lockouts | 3.6 | K4 | 400062
41 | (008A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW flow rate | 3.2 | A1 | 400008
42 | (010K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): PZR LCS | 3.4 | K6 | 400010
43 | (007A4.04) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PZR vent valve | 3.2 | A4 | 400007
44 | (059A2.02) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of feedwater heater | 3.1 | A2 | 400059
45 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (191008K1.11) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Control room indication of a breaker status | 3.3 | C | 400064
46 | (076K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Pump cavitation | 3.1 | K5 | 400076
47 | (003K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCPS | 3.7 | K2 | 400003
48 | (061A3.01) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): AFW system automatic start | 4.2 | A3 | 400061
49 | (013K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 3.8 | K1 | 400013
50 | (039K3.07) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Auxiliary steam system | 2.6 | K3 | 400039
51 | (006K4.17) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): ECCS valve interlocks | 3.8 | K4 | 400006
52 | (005A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RHR flow rate | 3.8 | A1 | 400005
53 | (026K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CCS motor-operated valves | 3.6 | K6 | 400026
54 | (004A4.03) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Construction and use of 1/M plots (inverse multiplication and criticality prediction method) (reference potential) | 3.4 | A4 | 400004
55 | (076K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): Turbine building CCW | 2.6 | K1 | 400076
56 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
57 | (008K4.09) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): The “standby” feature for the CCW pumps | 3.5 | K4 | 400008
58 | (025A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 ICE) ICE CONDENSER SYSTEM, including (CFR: 41.5 / 45.5): Ice condenser doors status | 3.9 | A1 | 400025
59 | (022K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4 | K6 | 400022
60 | (064A4.09) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Establishing power from the ring bus (to relieve EDG) | 3.5 | A4 | 400064
61 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
62 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 400062
63 | (063K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): System ground | 2.9 | K5 | 400063
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G2.4 | G2.4
70 | (192006K1.04) FISSION PRODUCT POISONS (CFR: 41.1): Describe the removal of xenon‑135 | 2.8 | R | 192006
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192005K1.08) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- boron concentration | 2.8 | R | 192005
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (058AA2.02) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): 125‑V DC bus voltage | 3.8 | A2 | 395017
77 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 395007
78 | (009EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): The time available for action before PZR is empty, given the rate of decrease of PZR level | 3.4 | A2 | 395003
79 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 395020
80 | (026AA2.05) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values for CCW-header flow rate and the flow rates to the components cooled by the CCWS | 3.1 | A2 | 395008
81 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 395005
82 | (036AA2.02) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Occurrence of a fuel handling incident | 3.8 | A2 | 395031
83 | (395027) 000024 (APE 24) Emergency Boration (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395027
84 | (028AA2.17) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Evaluate the TS for PZR level control malfunction | 3.8 | A2 | 395028
85 | (395042) 000078 (APE 78*) RCS Leak (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395042
86 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 3.1 | A2 | 400078
87 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400063
88 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
89 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 400103
90 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
91 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400006
92 | (013A2.07) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of IAS | 3.5 | A2 | 400013
93 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 400010
94 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4