## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (056AK2.11) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AFW | 4.4 | K2 | 395015
2 | (027AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails low | 3.9 | K3 | 395009
3 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
4 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 395013
5 | (022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Whether charging line leak exists | 3.3 | A2 | 395006
6 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
7 | (055EK2.04) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AFW system | 4.2 | K2 | 395014
8 | (025AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Securing RHR pumps | 3.7 | K3 | 395007
9 | (BE05EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.7 / 45.7 / 45.8): RCS T-cold greater than minimal required | 3.8 | K1 | 395012
10 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395019
11 | (BE10EA2.09) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 4.1 | A2 | 395001
12 | (008AA1.01) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): PZR spray block valve and/or PORV block valve | 4 | A1 | 395002
13 | (015AK2.11) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): AC electrical distribution (transformer) | 3.2 | K2 | 395005
14 | (077AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Actions contained in AOPs for voltage and grid disturbances | 3.5 | K3 | 395020
15 | (038EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Releasing steam from an S/G that has water in the steamline | 3.5 | K1 | 395011
16 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395010
17 | (009EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Actions to be taken, based on RCS temperature and pressure, saturated, and superheated | 4 | A2 | 395003
18 | (026AA1.03) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): SWS as a backup to the CCWS | 3.3 | A1 | 395008
19 | (061AK2.04) Knowledge of the relationship between (APE 61) AREA RADIATION MONITORING (ARM) System Alarms and the following systems or components (CFR: 41.7 / 45.7): RHR | 3 | K2 | 395036
20 | (CA16AK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (CE A16) EXCESS RCS Leakage (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying the RCS leak rate using tank or sump level changes | 3.4 | K3 | 395057
21 | (037AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.10 / 45.3): Effect on magnitude of atmospheric radioactive release if cooldown must be completed using steam | 3.7 | K1 | 395032
22 | (395058) (CE E09) Functional Recovery (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 395058
23 | (005AA2.01) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): In-core NIS | 3.4 | A2 | 395026
24 | (036AA1.03) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): Containment evacuation alarm | 3.5 | A1 | 395031
25 | (032AK2.04) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Rod control system | 3.2 | K2 | 395029
26 | (001AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.5 / 41.10 / 45.6 / 45.13): TS limits on rod operability | 3.8 | K3 | 395024
27 | (004A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Reactor power | 3.8 | A1 | 400004
28 | (003K4.01) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Minimizing power peaking | 3.1 | K4 | 400003
29 | (007K4.01) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank cooling | 2.9 | K2 | 400007
30 | (076K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Intake screens | 2.8 | K6 | 400076
31 | (013A2.05) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of DC control power | 3.4 | A2 | 400013
32 | (005K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SFPCS | 3.1 | K1 | 400005
33 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
34 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
35 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 400059
36 | (008K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Requirements on and for the CCWS for different conditions of the power plant | 3.1 | K5 | 400008
37 | (012A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manual trip button or handswitch | 4.4 | A4 | 400012
38 | (010A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure and temperature | 3.2 | A1 | 400010
39 | (039K4.11) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Gland steam | 2.7 | K4 | 400039
40 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K2 | 400073
41 | (078K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Air dryers | 3.2 | K6 | 400078
42 | (026A2.04) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of spray pump | 3.9 | A2 | 400026
43 | (062K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Non‑Class 1E DC distribution system | 3.1 | K1 | 400062
44 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
45 | (064K3.04) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution system | 4.2 | K3 | 400064
46 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191003K1.09) CONTROLLERS AND POSITIONERS (CFR: 41.7): Effects on operation of controllers due to proportional, integral (reset), derivative (rate), and their combinations | 2.5 | C | 400006
47 | (061K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Decay heat sources and magnitude | 3.9 | K5 | 400061
48 | (004A4.08) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Charging | 4 | A4 | 400004
49 | (003A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCP vibration | 3.5 | A1 | 400003
50 | (007K4.04) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank rupture disk | 3.7 | K4 | 400007
51 | (076K2.08) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) ESF-actuated motor-operated valves | 3.5 | K2 | 400076
52 | (013K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): Main steamline break | 4 | K6 | 400013
53 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
54 | (063K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Ground detection system | 2.6 | K1 | 400063
55 | (062A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Vital AC bus amperage | 3.3 | A1 | 400062
56 | (012K4.05) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Spurious trip protection | 3.7 | K4 | 400012
57 | (061K2.01) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) system power-operated valves | 3.6 | K2 | 400061
58 | (005K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): CVCS | 3.3 | K6 | 400005
59 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
60 | (039K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CDS | 3.1 | K1 | 400039
61 | (025A3.03) Ability to monitor automatic features of the (SF5 ICE) ICE CONDENSER SYSTEM, including (CFR: 41.7 / 45.5): Ice condenser doors | 3.7 | A3 | 400025
62 | (078K3.07) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 2.7 | K3 | 400078
63 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 400063
64 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G2.4 | G2.4
70 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
71 | (192003K1.11) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the necessity for installed neutron sources in a reactor core | 2.8 | R | 192003
72 | (192004K1.13) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the components of the power coefficient | 3.1 | R | 192004
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193008K1.17) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Explain the necessity of determining core coolant flow | 3.2 | T | 193008
75 | (193009K1.04) CORE THERMAL LIMITS (CFR: 41.14): Explain total peaking factor | 2.7 | T | 193009
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395004
77 | (062AA2.01) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): Location of a leak in the SWS | 3.5 | A2 | 395018
78 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395015
79 | (027AA2.10) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR heater energized/deenergized condition | 3.5 | A2 | 395009
80 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 395016
81 | (054AA2.05) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Status of MFW pumps, regulating and stop valves | 3.5 | A2 | 395013
82 | (395059) (CE E13*) Loss of Forced Circulation/LOOP/Blackout (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 395059
83 | (059AA2.07) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Radiation levels in the effluent | 3.3 | A2 | 395034
84 | (395027) 000024 (APE 24) Emergency Boration (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395027
85 | (060AA2.08) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): TS and/or TRM actions for accidental release (as applicable) | 3.8 | A2 | 395035
86 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400022
87 | (059A2.11) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of feedwater control system | 3.5 | A2 | 400059
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400008
89 | (012A2.06) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Failure of RPS signal to trip the reactor | 4.7 | A2 | 400012
90 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 400010
91 | (064A2.28) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FPS actuation | 3.1 | A2 | 400064
92 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400026
93 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.1 | A2 | 400103
94 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4