## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (058AK2.03) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery | 3.7 | K2 | 395017
2 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 395012
3 | (008AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs/AOPs for a PZR vapor space accident or LOCA | 4.1 | K3 | 395002
4 | (038EA2.23) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCP operating parameters | 3 | A2 | 395011
5 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
6 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A1 | 395021
7 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
8 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395018
9 | (026AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance actions contained in EOPs for loss of CCW | 3.8 | K3 | 395008
10 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.2 | A2 | 395005
11 | (BE02EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary to secondary heat transfer | 4.4 | K1 | 395001
12 | (055EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): AFW system | 4.4 | A1 | 395014
13 | (029EK2.12) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): CRDS | 3.9 | K2 | 395010
14 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 395022
15 | (WE05EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing MFW flow to at least one S/G | 4 | K3 | 395023
16 | (057AA2.21) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RWST level | 3.1 | A2 | 395016
17 | (011EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Containment hydrogen concentration | 3.6 | K1 | 395004
18 | (025AA1.24) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): PRT/quench tank | 2.9 | A1 | 395007
19 | (033AK2.02) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Sensors and detectors | 2.9 | K2 | 395030
20 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 395039
21 | (WE03EK3.18) Knowledge of the reasons for the following responses and/or actions as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.10 / 45.6 / 45.13): Aligning RCP seal return flow | 3 | K3 | 395053
22 | (076AA2.05) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): CVCS letdown flow rate | 2.8 | A2 | 395041
23 | (003AK1.23) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Multiple rod drops | 4.1 | K1 | 395025
24 | (059AA1.06) Ability to operate and/or monitor the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.7 / 45.5 / 45.6): LRS | 3.1 | A1 | 395034
25 | (WE16EK2.03) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment ventilation isolation | 3.7 | K2 | 395046
26 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 395029
27 | (063K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Battery capacity as it is affected by discharge rate/individual cell voltages | 3.1 | K5 | 400063
28 | (008K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): SFPCS | 3.6 | K1 | 400008
29 | (013K3.01) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Fuel | 3.9 | K3 | 400013
30 | (006A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): RWST level and temperature | 3.6 | A1 | 400006
31 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
32 | (103K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ESFAS | 4.1 | K2 | 400103
33 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
34 | (004A2.17) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Low PZR pressure | 3.2 | A2 | 400004
35 | (005K4.07) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): System protection logics, including high-pressure interlock, reset controls, and valve interlocks | 4.1 | K4 | 400005
36 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
37 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 400022
38 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
39 | (039K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): S/G | 3.8 | K1 | 400039
40 | (061K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): RCS | 4.3 | K3 | 400061
41 | (003A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): Seal water temperature | 3.6 | A1 | 400003
42 | (010K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): RPS | 3.8 | K6 | 400010
43 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
44 | (012A4.06) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Reactor trip breakers | 4.2 | A4 | 400012
45 | (007A2.05) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Exceeding PRT/quench tank high-pressure limits | 3.9 | A2 | 400007
46 | (062K4.13) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Load sequencing | 3.6 | K4 | 400062
47 | (064A3.13) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Opening/closing EDG output breaker | 3.8 | A3 | 400064
48 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (191002K1.05) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Operation of a D/P cell-type flow detector | 2.8 | C | 400063
49 | (008K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Gas accumulation | 2.5 | K5 | 400008
50 | (013K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCS | 3.9 | K1 | 400013
51 | (006K3.02) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): Fuel | 4.4 | K3 | 400006
52 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
53 | (103K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): MFW | 3.2 | K6 | 400103
54 | (076K2.08) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) ESF-actuated motor-operated valves | 3.5 | K2 | 400076
55 | (055K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.5 / 45.7): S/G chemistry related to main condenser air in-leakage | 2.9 | K5 | 400055
56 | (050K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 2.7 | K1 | 400050
57 | (045K3.06) Knowledge of the effect that a loss or malfunction of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main turbine and generator bearing oil system | 3.1 | K3 | 400045
58 | (041A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Reactor power | 4 | A1 | 400041
59 | (068K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.7 / 45.7 to 45.9): WGS | 2.8 | K6 | 400068
60 | (001K2.03) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) Logic circuits | 3.5 | K2 | 400001
61 | (034A4.03) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Containment refueling machine operation | 2.6 | A4 | 400034
62 | (086A2.02) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low FPS header pressure | 3.4 | A2 | 400086
63 | (033K4.02) Knowledge of (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Maintaining cleanliness of spent fuel pool water | 2.9 | K4 | 400033
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193009K1.03) CORE THERMAL LIMITS (CFR: 41.14): Explain local peaking factor | 2.7 | T | 193009
75 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
76 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395009
77 | (077AA2.03) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator current | 3.2 | A2 | 395020
78 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395003
79 | (CE06EA2.01) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.3 | A2 | 395013
80 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395006
81 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.7 | A2 | 395017
82 | (395032) 000037 (APE 37) Steam Generator Tube Leak (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395032
83 | (WE08EA2.09) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Charging flow | 3.5 | A2 | 395056
84 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395054
85 | (001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Reactor power | 4.3 | A2 | 395024
86 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400004
87 | (005A2.04) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR valve malfunction | 3.7 | A2 | 400005
88 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 400026
89 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
90 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G | 400078
91 | (014A2.09) Ability to (a) predict the impacts of the following on the (SF1 RPI) ROD POSITION INDICATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 43.6 / 45.3 / 45.12 / 45.13): Urgent alarm | 3.5 | A2 | 400014
92 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 400071
93 | (028A2.03) Ability to (a) predict the impacts of the following on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Hydrogen air concentration in excess of limit, flame propagation or detonation with resulting equipment damage in containment | 3 | A2 | 400028
94 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4