## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Identification and elimination of RCS voids | 3.3 | K1 | 395013
2 | (026AK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating CVCS letdown heat exchanger | 3.4 | K3 | 395008
3 | (062AA1.04) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CRDM high-temperature alarm system | 3.1 | A1 | 395018
4 | (WE04EK2.05) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS leakage paths to outside containment | 4 | K2 | 395021
5 | (038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Radiation levels | 3.2 | A2 | 395011
6 | (395014) 000055 (EPE 55) Station Blackout (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 395014
7 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
8 | (WE12EK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing instrument air to containment | 3.1 | K3 | 395012
9 | (008AA1.05) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): ECCS | 4 | A1 | 395002
10 | (BE04EK2.10) Knowledge of the relationship between (BW E04) INADEQUATE HEAT TRANSFER and the following systems or components (CFR: 41.8 / 41.10 / 45.3): EFICs | 4.4 | K2 | 395023
11 | (057AA2.08) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395016
12 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 395001
13 | (022AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): How long a PZR level can be maintained within limits | 3.5 | K1 | 395006
14 | (056AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Order and time to initiation of power for the load sequencer | 3.6 | K3 | 395015
15 | (058AA1.06) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): DC distribution system | 3.7 | A1 | 395017
16 | (011EK2.10) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): CSS | 4 | K2 | 395004
17 | (065AA2.03) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Location and isolation of leaks | 4 | A2 | 395019
18 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395005
19 | (078AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.8 / 41.10 / 45.3): Leaking PZR safety valve or PORV | 4.1 | K1 | 395042
20 | (WE14EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating feed to faulted S/Gs | 4 | K3 | 395039
21 | (WE02EA1.04) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): AC electrical distribution system | 3.4 | A1 | 395043
22 | (037AK2.24) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): AFW system | 3.7 | K2 | 395032
23 | (068AA2.12) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): Cooldown rate limits | 3.4 | A2 | 395038
24 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395024
25 | (067AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 67) PLANT Fire On Site (CFR: 41.8 / 41.10 / 45.3): Fire‑fighting methods for each type of fire | 3 | K1 | 395037
26 | (BE08EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verify proper ESAS actuation | 4.4 | K3 | 395053
27 | (059K4.02) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic turbine / reactor trip runback | 3.8 | K4 | 400059
28 | (010K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Reactor trip | 4 | K5 | 400010
29 | (006A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): CVCS letdown flow | 3 | A1 | 400006
30 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
31 | (061K2.01) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) system power-operated valves | 3.6 | K2 | 400061
32 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
33 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 400076
34 | (064A2.26) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of AC power | 3.8 | A2 | 400064
35 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
36 | (005K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.4 | K1 | 400005
37 | (062K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Control power | 3.6 | K6 | 400062
38 | (008K4.03) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Total CCW flow rate and flow rates to the components | 2.6 | K4 | 400008
39 | (013K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.3 to 41.5 / 45.7): Reason for starting an additional service water booster pump for the train not being tested and for stopping the pump on train undergoing testing | 3 | K5 | 400013
40 | (004A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): S/G pressure and level | 2.6 | A1 | 400004
41 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
42 | (007A2.05) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Exceeding PRT/quench tank high-pressure limits | 3.9 | K2 | 400007
43 | (078K3.23) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): WGS | 2.5 | K3 | 400078
44 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191004K1.04) PUMPS (CFR: 41.3): (CENTRIFUGAL) Consequences of operating a pump dead headed or for extended times without adequate recirculation | 3.4 | C | 400022
45 | (039A2.01) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Decrease in turbine load as it relates to steam escaping from relief valves | 3.8 | A2 | 400039
46 | (063A4.03) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Battery discharge rate | 3.5 | A4 | 400063
47 | (073K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): LRS | 3.3 | K1 | 400073
48 | (059K6.23) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): Motor-driven MFW pumps | 3 | K6 | 400059
49 | (010K4.05) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Low-temperature overpressure protection | 3.8 | K4 | 400010
50 | (006K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): LPI ECCS pumps for CSS | 3.7 | K5 | 400006
51 | (012A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Trip setpoint adjustment | 3.5 | A1 | 400012
52 | (061A3.03) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW S/G level control | 3.8 | A3 | 400061
53 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
54 | (076K3.11) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG | 4.1 | K3 | 400076
55 | (015K4.03) Knowledge of (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Reading of source range/intermediate range/power range outside control room | 3.3 | K4 | 400015
56 | (050K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.5 / 45.3): Airborne contamination (e.g., radiological, toxic gas, and smoke) control | 3.6 | K5 | 400050
57 | (011A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.2 | A1 | 400011
58 | (028A3.01) Ability to monitor automatic features of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.7 / 45.8): Containment isolation | 3 | A3 | 400028
59 | (035K4.01) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G level control | 4.2 | K2 | 400035
60 | (086K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG systems | 3 | K3 | 400086
61 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 400045
62 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.1 | A2 | 400017
63 | (068A4.03) Ability to manually operate and/or monitor the (SF9 LRS) LIQUID RADWASTE SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Stoppage of release if limits exceeded | 3.5 | A4 | 400068
64 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192005K1.08) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- boron concentration | 2.8 | R | 192005
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192008K1.01) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) List parameters that should be monitored and controlled during the approach to criticality | 3.5 | R | 192008
73 | (193007K1.07) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Define percent reactor power | 2.8 | T | 193007
74 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
75 | (193006K1.09) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- gas binding | 2.8 | T | 193006
76 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 395022
77 | (027AA2.13) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Seal return flow | 3.1 | A2 | 395009
78 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 395020
79 | (025AA2.02) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Leakage of reactor coolant from RHR into closed cooling water system or into reactor building atmosphere | 3.8 | A2 | 395007
80 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 395010
81 | (CE06EA2.07) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): CETs and/or subcooling | 3.9 | A2 | 395013
82 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 395056
83 | (WE15EA2.04) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Tank levels and/or system flow indications for systems that supply components inside containment | 3.4 | A2 | 395045
84 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395040
85 | (036AA2.05) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Containment isolation/closure | 3.8 | A2 | 395031
86 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 400064
87 | (103A2.04) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions requiring containment evacuation (including recognition of the alarm) | 3.4 | A2 | 400103
88 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 400005
89 | (062A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 3.1 | A2 | 400062
90 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400008
91 | (071A2.07) Ability to (a) predict the impacts of the following on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): Loss of meteorological tower | 2.3 | A2 | 400071
92 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 400033
93 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
94 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4