## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
2 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395005
3 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
4 | (WE11EA1.06) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): ITM | 3.9 | A1 | 395022
5 | (009EK2.02) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): ECCS pumps | 4 | K2 | 395003
6 | (055EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Load shedding | 3.8 | K1 | 395014
7 | (BE10EA2.08) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Letdown flow | 3.3 | A2 | 395001
8 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 395017
9 | (022AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Avoiding plant transients | 3.5 | K3 | 395006
10 | (040AA1.10) Ability to operate and/or monitor the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.7 / 45.6 / 45.6): AFW system | 3.9 | A1 | 395012
11 | (WE05EK2.19) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): MFW system | 3.9 | K2 | 395023
12 | (054AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.8 / 41.10 / 45.3): RCS parameters on a complete loss of feedwater (all S/Gs dried out) | 3.9 | K1 | 395013
13 | (077AA2.10) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator overheating | 3.7 | A2 | 395020
14 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 395019
15 | (025AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating potential leakage paths | 3.6 | K3 | 395007
16 | (062AA1.08) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Alignment/cross-connection of backup systems | 3.5 | A1 | 395018
17 | (056AK2.10) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 4.3 | K2 | 395015
18 | (008AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Effects on indicated PZR pressure and/or level of sensing line leakage | 3.7 | K1 | 395002
19 | (028AA2.11) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Leak in PZR | 4 | A2 | 395028
20 | (395027) 000024 (APE 24) Emergency Boration (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395027
21 | (BE08EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for S/G tube integrity | 4 | K3 | 395053
22 | (WE02EA1.13) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): RCS | 3.7 | A1 | 395043
23 | (WE15EK2.08) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment sump sampling | 2.9 | K2 | 395045
24 | (059AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.8 / 41.10 / 45.3): The relationship between background radiation intensity and the alarm setpoints on a rad | 3 | K1 | 395034
25 | (060AA2.07) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): Failure modes, symptoms, and/or indications of a radioactive gaseous monitor failure | 3.4 | A2 | 395035
26 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395024
27 | (004K4.11) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Temperature/pressure control in letdown line | 3.7 | K4 | 400004
28 | (006K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): ESFAS | 4.4 | K1 | 400006
29 | (007K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Method of forming a steam bubble in the PZR | 3.4 | K5 | 400007
30 | (059K6.23) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): Motor-driven MFW pumps | 3 | K6 | 400059
31 | (026A2.07) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of containment spray pump suction when in recirculation mode | 4 | A2 | 400026
32 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400022
33 | (010A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): RCS or PZR pressure | 3.9 | A1 | 400010
34 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
35 | (103A2.03) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment isolation signal | 4.4 | K2 | 400103
36 | (076A3.06) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): ESFAS | 3.9 | A3 | 400076
37 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
38 | (063K4.04) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Battery charger trip/shutdown (high voltage) | 3.1 | K4 | 400063
39 | (078K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Valves controlled by instrument air | 3.6 | K1 | 400078
40 | (012K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Departure from nucleate boiling | 3.9 | K5 | 400012
41 | (008K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Power supply to CCWS pumps and/or valves | 3.7 | K6 | 400008
42 | (061A2.01) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Inadvertent actuation of AFW at power | 3.9 | A2 | 400061
43 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191007K1.12) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Definition of “boron saturated” as it relates to a demineralizer | 2.9 | C | 400005
44 | (013A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): RCS pressure | 4.1 | A1 | 400013
45 | (003K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.2 | K3 | 400003
46 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
47 | (064A3.06) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Stop | 3.6 | A3 | 400064
48 | (004A4.21) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Letdown demineralizer flow-divert valve control switch | 3.2 | A4 | 400004
49 | (006K4.03) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Flushing of piping following transfer of highly concentrated boric acid | 2.9 | K4 | 400006
50 | (007K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | K1 | 400007
51 | (059K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Reasons for monitoring MFW pump suction flow/pressure | 3.3 | K5 | 400059
52 | (026K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CSS pumps | 3.9 | K6 | 400026
53 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.7 | A2 | 400022
54 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 400010
55 | (014K4.10) Knowledge of (SF1 RPI) ROD POSITION INDICATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.5 / 41.7 / 45.7): Rod stop, C-11 (W) | 3.4 | K4 | 400014
56 | (029K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): ESFAS | 3.5 | K1 | 400029
57 | (050K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.5 / 45.3): Control room habitability | 3.7 | K5 | 400050
58 | (002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.7 / 45.7): RCS level indication system | 3.7 | K6 | 400002
59 | (086A2.05) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fire in the plant | 4 | A2 | 400086
60 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (191002K1.14) SENSORS AND DETECTORS (CFR: 41.7): (TEMPERATURE) Failure modes of thermocouple, RTD, and/or thermometers | 2.9 | C | 400068
61 | (027A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Filter temperature | 2.5 | A1 | 400027
62 | (034K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM will have on the following systems or system parameters (CFR: 41.2 to 41.7 / 43.6 / 43.7 / 45.6 to 45.8): Reactor components | 2.9 | K3 | 400034
63 | (055K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.7 / 45.7): Flow sensors | 2.5 | K2 | 400055
64 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
71 | (192006K1.02) FISSION PRODUCT POISONS (CFR: 41.1): State the characteristics of xenon‑135 as a fission product poison | 3.1 | R | 192006
72 | (192003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the prompt critical, prompt jump, and prompt drop | 2.9 | R | 192003
73 | (193009K1.03) CORE THERMAL LIMITS (CFR: 41.14): Explain local peaking factor | 2.7 | T | 193009
74 | (193007K1.04) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe how the presence of gases or steam can affect heat transfer and fluid flow in heat exchangers | 3 | T | 193007
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (026AA2.02) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The cause of possible CCW loss | 3.5 | A2 | 395008
77 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395011
78 | (011EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): CCW temperatures | 3.4 | A2 | 395004
79 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395010
80 | (027AA2.13) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): Seal return flow | 3.1 | A2 | 395009
81 | (395021) (W E04) LOCA Outside Containment (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395021
82 | (BA08AA2.04) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Radiation levels | 4.1 | A2 | 395031
83 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395036
84 | (074EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 43.5 / 45.13): ITM and/or RCS pressure | 4.2 | A2 | 395040
85 | (395046) (W E16) High Containment Radiation (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395046
86 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
87 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400103
88 | (076A2.08) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Malfunction of breakers, relays, and disconnects | 3.1 | A2 | 400076
89 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 400039
90 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.8 | A2 | 400063
91 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400015
92 | (001A2.13) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ATWS | 4.3 | A2 | 400001
93 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400035
94 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
100 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4