## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE11EA2.17) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Alternate makeup source to RCS flow | 3.5 | A2 | 395022
2 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A1 | 395021
3 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395001
4 | (056AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Long‑term spent fuel pool cooling | 3.6 | K1 | 395015
5 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
6 | (025AK2.14) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): PRT/quench tank | 2.9 | K2 | 395007
7 | (022AA2.08) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): RCP seal flows, temperatures, pressures, and vibrations | 3 | A2 | 395006
8 | (062AA1.04) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CRDM high-temperature alarm system | 3.1 | A1 | 395018
9 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 395019
10 | (BE04EK1.13) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary heat sink | 3.9 | K1 | 395023
11 | (027AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for a PZR PCS malfunction | 3.9 | K3 | 395009
12 | (008AK2.07) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR LCS | 3.6 | K2 | 395002
13 | (009EA2.39) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Adequate core cooling | 3.5 | A2 | 395003
14 | (057AA1.07) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Interlocks in effect on loss of AC vital electrical instrument bus that must be bypassed to restore normal equipment operation | 3.7 | A1 | 395016
15 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 395017
16 | (BE05EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.7 / 45.7 / 45.8): PTS limits | 3.8 | K1 | 395012
17 | (055EK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs | 4.2 | K3 | 395014
18 | (CE06EK2.05) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): S/G LCS and PCS | 3.8 | K2 | 395013
19 | (028AA2.03) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Charging flow | 3.4 | A2 | 395028
20 | (BA06AA1.14) Ability to operate and/or monitor the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.5 / 41.7 / 45.5 to 45.8): RCS | 3.9 | A1 | 395038
21 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395054
22 | (BE08EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary inventory control | 4.1 | K1 | 395053
23 | (051AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor and/or turbine | 4.2 | K3 | 395033
24 | (059AK2.06) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): LRS | 3.1 | K2 | 395034
25 | (WE08EA2.03) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Indications of large‑break LOCA | 3.3 | A2 | 395056
26 | (074EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.7 / 45.5 / 45.6): AFW system | 4.1 | A1 | 395040
27 | (004K4.03) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Protection of ion exchangers | 3.2 | K4 | 400004
28 | (026A4.04) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The remote sampling of the NaOH tank and RWST for chemical analysis | 2.5 | A4 | 400026
29 | (078A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air compressor parameters | 2.9 | A1 | 400078
30 | (059K6.17) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW control system failures | 3.6 | K6 | 400059
31 | (005K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.4 | K1 | 400005
32 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
33 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 400003
34 | (062A3.08) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Load shedding | 3.6 | A3 | 400062
35 | (006K3.02) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): Fuel | 4.4 | K3 | 400006
36 | (008K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Gas accumulation | 2.5 | K5 | 400008
37 | (061A2.08) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Improper flow rates | 3.8 | A2 | 400061
38 | (076K4.05) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Service water train flow and discharge pressure when service water flow to heat exchanger for CCW is throttled | 3.3 | K4 | 400076
39 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
40 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
41 | (010K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): RCS | 3.7 | K6 | 400010
42 | (063K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Battery ventilation system | 2.7 | K1 | 400063
43 | (103K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): MRSS | 3.1 | K2 | 400103
44 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (191008K1.06) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Interpreting a one-line diagram of control circuitry | 3.6 | C | 400012
45 | (064A3.05) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Frequency and voltage control in parallel operation | 3.8 | A3 | 400064
46 | (007K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.9): Containment | 3.4 | K3 | 400007
47 | (022K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Postaccident pressure reduction | 2.8 | K5 | 400022
48 | (004A2.17) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Low PZR pressure | 3.2 | A2 | 400004
49 | (026K4.11) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment spray actuation signal actuation and/or reset | 4 | K4 | 400026
50 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
51 | (059A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater pump bearing temperatures | 2.7 | A1 | 400059
52 | (005K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RCS and containment isolation valves | 3.9 | K6 | 400005
53 | (013K1.22) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.9 | K1 | 400013
54 | (003K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCP lube oil pumps and RCP bearing lift oil pumps | 2.9 | K2 | 400003
55 | (075K4.08) Knowledge of (SF8 CW) CIRCULATING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.4 / 41.7 / 45.8): Prevention of system freezing/ice melt operation | 2.7 | K4 | 400075
56 | (034A4.06) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Fuel transfer system operation | 2.6 | A4 | 400034
57 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
58 | (033K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): PVS | 2.5 | K6 | 400033
59 | (050K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Nuclear steam supply system | 2.8 | K1 | 400050
60 | (035K3.03) Knowledge of the effect that a loss or malfunction of the (SF4P SG) STEAM GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MRSS | 3.4 | K2 | 400035
61 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 400011
62 | (045A3.05) Ability to monitor automatic features of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): EHC | 3.3 | A3 | 400045
63 | (015K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400015
64 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G2.4 | G2.4
70 | (192003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Describe the factors affecting the startup rate | 3.3 | R | 192003
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192008K1.26) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (NORMAL REACTOR SHUTDOWN) Define decay heat | 3.2 | R | 192008
73 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
74 | (193003K1.25) STEAM (CFR: 41.14): Explain and use saturated and superheated steam tables | 3.4 | T | 193003
75 | (193008K1.22) THERMAL HYDRAULICS (CFR: 41.14): (NATURAL CIRCULATION) Describe means to determine whether natural circulation flow exists | 4.2 | T | 193008
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 395004
77 | (015AA2.14) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Reactor power | 3.6 | A2 | 395005
78 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 395008
79 | (029EA2.13) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): RCS cooldown or heatup | 3.9 | A2 | 395010
80 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395011
81 | (WE11EA2.16) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Reactor vessel level | 3.7 | A2 | 395022
82 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395024
83 | (060AA2.07) Ability to determine and/or interpret the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 43.5 / 45.13): Failure modes, symptoms, and/or indications of a radioactive gaseous monitor failure | 3.2 | A2 | 395035
84 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 395031
85 | (WE02EA2.05) Ability to determine and/or interpret the following as they apply to (W E02) SI TERMINATION (CFR: 41.10 / 43.5 / 45.13): BAT level | 3 | A2 | 395043
86 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400062
87 | (006A2.01) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): High bearing temperature | 3.1 | A2 | 400006
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400008
89 | (061A2.03) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Loss of DC power | 3.8 | A2 | 400061
90 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400076
91 | (029A2.05) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): ESFAS actuation | 3.6 | A2 | 400029
92 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400017
93 | (056A2.03) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Demineralizer D/P | 2.7 | A2 | 400056
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4