## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
2 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 395016
3 | (BE04EA2.15) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): Tube to shell delta T | 3.9 | A2 | 395023
4 | (056AA1.29) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): CCW heat exchanger temperature control valves | 3 | A1 | 395015
5 | (055EK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs | 4.2 | K3 | 395014
6 | (WE04EK2.04) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.9 | K2 | 395021
7 | (058AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Effect of battery discharge rate on capacity | 3.7 | K1 | 395017
8 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395002
9 | (062AA2.01) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): Location of a leak in the SWS | 3.5 | A2 | 395018
10 | (065AA1.02) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Components served by instrument air to minimize drain on the system | 2.9 | A1 | 395019
11 | (WE11EK3.21) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Placing RHRS in operation and maintaining RCS heat removal | 3.8 | K3 | 395022
12 | (026AK2.05) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RMS | 3 | K2 | 395008
13 | (027AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Expansion of liquids as temperature increases | 3.2 | K1 | 395009
14 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 395013
15 | (BE05EA2.03) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): SCM | 4.4 | A2 | 395012
16 | (038EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): SGS | 3.8 | A1 | 395011
17 | (011EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Starting service water pumps | 3.8 | K3 | 395004
18 | (022AK2.10) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): PZR LCS | 3.8 | K2 | 395006
19 | (003AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Effects of turbine-reactor power mismatch on rod control | 3.6 | K1 | 395025
20 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395040
21 | (WE16EA2.05) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Containment atmosphere filtration system status | 2.7 | A2 | 395046
22 | (069AA1.01) Ability to operate and/or monitor the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 41.7 / 45.5 / 45.6): Containment isolation valves, dampers, and/or other devices | 4 | A1 | 395039
23 | (068AK3.20) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 68) Control Room Evacuation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Local alignments for system instrumentation | 3.6 | K3 | 395038
24 | (WE08EK2.08) Knowledge of the relationship between (W E08) Pressurized Thermal Shock and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395056
25 | (032AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Effects of voltage changes on performance | 2.9 | K1 | 395029
26 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395034
27 | (064A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Diesel engine operating parameters | 3.6 | A1 | 400064
28 | (062A4.02) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Racking in and out of breakers | 2.9 | A4 | 400062
29 | (007K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Leakage collection | 2.9 | K2 | 400007
30 | (004K4.08) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Hydrogen control in RCS | 3 | K4 | 400004
31 | (010K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7 / 45.7): AFW | 2.9 | K6 | 400010
32 | (039K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Primary system temperature indications and required values during main steam system warmup | 3.3 | K5 | 400039
33 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
34 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
35 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G | 400005
36 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.9 | A2 | 400078
37 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
38 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
39 | (013A4.06) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Containment integrity system isolation actuation/reset | 4 | A4 | 400013
40 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
41 | (076K4.05) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Service water train flow and discharge pressure when service water flow to heat exchanger for CCW is throttled | 3.3 | K4 | 400076
42 | (063K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery | 4 | K6 | 400063
43 | (026K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Water chemistry relationship to corrosion control | 2.8 | K5 | 400026
44 | (008K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): SFPCS | 3.6 | K1 | 400008
45 | (006A3.01) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Safety injection tanks | 3.7 | A3 | 400006
46 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191005K1.04) MOTORS AND GENERATORS (CFR: 41.7): Relationship between pump motor current (ammeter reading) and the: pump fluid flow, head, speed, and stator temperature | 2.8 | C | 400003
47 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
48 | (064K3.04) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution system | 4.2 | K3 | 400064
49 | (062A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Vital AC bus amperage | 3.3 | A1 | 400062
50 | (007A4.03) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): Nitrogen block valve | 2.6 | A4 | 400007
51 | (004K2.06) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Control instrumentation | 3.3 | K2 | 400004
52 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
53 | (039K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): CDS | 2.9 | K6 | 400039
54 | (012K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Departure from nucleate boiling | 3.9 | K5 | 400012
55 | (055A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Alarms and lights | 3.1 | A1 | 400055
56 | (017A4.03) Ability to manually operate and/or monitor the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Defeating a degraded in-core thermocouple | 2.7 | A4 | 400017
57 | (001K2.02) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) Reactor trip breakers | 4.1 | K2 | 400001
58 | (041K4.13) Knowledge of (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Relationship of S/G pressure to steam flow | 3 | K4 | 400041
59 | (011K6.25) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7 / 45.7): RPS | 3.6 | K6 | 400011
60 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
61 | (086K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FPS) FIRE PROTECTION SYSTEM and the following systems (CFR: 41.4 / 41.7 / 41.8 / 45.7 / 45.8): Service water | 3 | K1 | 400086
62 | (028A3.01) Ability to monitor automatic features of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.7 / 45.8): Containment isolation | 3 | A3 | 400028
63 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400072
64 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192005K1.06) CONTROL RODS (CFR: 41.1): Explain the shape of curves for differential and integral rod worth versus rod position | 2.9 | R | 192005
71 | (192004K1.18) REACTIVITY COEFFICIENTS (CFR: 41.1): Explain and describe the effect of power defect and Doppler defect on reactivity | 2.9 | R | 192004
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193003K1.08) STEAM (CFR: 41.14): Define the following term: -- saturated liquid | 2.8 | T | 193003
74 | (193006K1.07) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- two-phase flow | 2.9 | T | 193006
75 | (193010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the effect of fast neutron irradiation on reactor vessel metals | 3 | T | 193010
76 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 395001
77 | (029EA2.14) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a reactor trip | 4.3 | A2 | 395010
78 | (395003) 000009 (EPE 9) Small Break LOCA (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395003
79 | (025AA2.14) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Midloop level | 4.1 | A2 | 395007
80 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 395020
81 | (015AA2.02) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP oil system temperature and pressure | 3 | A2 | 395005
82 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 395031
83 | (005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): ITM | 3.1 | A2 | 395026
84 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395024
85 | (033AA2.14) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Intermediate range level | 3.2 | A2 | 395030
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 400103
87 | (005A2.05) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR heat exchanger malfunction | 3.5 | A2 | 400005
88 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 400078
89 | (061A2.03) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Loss of DC power | 3.8 | A2 | 400061
90 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400073
91 | (035A2.03) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Pressure/level transmitter failure | 3.8 | A2 | 400035
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 400016
93 | (075A2.08) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Ice buildup on intake structure | 3.1 | A2 | 400075
94 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4