## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EA2.09) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Charging and letdown flow | 2.7 | A2 | 395013
2 | (056AA1.33) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): PZR PORV block valve | 3.4 | A1 | 395015
3 | (011EK2.07) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RHR | 4.1 | K2 | 395004
4 | (025AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Start an RHR pump | 3.8 | K3 | 395007
5 | (008AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Probable PZR steam space leakage paths other than PORV or code safety | 3.6 | K1 | 395002
6 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395005
7 | (057AA2.11) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): MFW pump running | 3 | A2 | 395016
8 | (WE11EA1.17) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): HRPS | 3 | A1 | 395022
9 | (055EK2.09) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 4 | K2 | 395014
10 | (065AK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolation of leaking components or headers | 3.3 | K3 | 395019
11 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
12 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395011
13 | (BE05EA2.07) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): Main steam component positions | 4.3 | A2 | 395012
14 | (062AA1.08) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Alignment/cross-connection of backup systems | 3.5 | A1 | 395018
15 | (027AK2.11) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 3.9 | K2 | 395009
16 | (BE02EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for proper instrument air pressure | 3.3 | K3 | 395001
17 | (077AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Declining grid frequency or voltage | 3.6 | K1 | 395020
18 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395008
19 | (BA06AA2.04) Ability to determine and/or interpret the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.10 / 43.5 / 45.13): S/G pressure | 4.6 | A2 | 395038
20 | (028AA1.03) Ability to operate and/or monitor the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 45.5 / 45.6): RCP and seal water system | 3.1 | A1 | 395028
21 | (033AK2.01) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.1 | K2 | 395030
22 | (WE14EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing containment and/or containment ventilation isolation | 4 | K3 | 395039
23 | (001AK1.24) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.8 / 41.10 / 45.3): Effect of rod motion on PZR level | 3 | K1 | 395024
24 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 395054
25 | (078AA2.11) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): SDM | 3 | A2 | 395042
26 | (WE02EA1.20) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): SGS | 3.3 | A1 | 395043
27 | (013K4.01) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): ECCS signal actuation/reset | 4.2 | K4 | 400013
28 | (010K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Hard PZR bubble | 3.4 | K5 | 400010
29 | (012K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4 | K1 | 400012
30 | (003A2.01) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Problems with RCP seals, especially seal leakoff rates | 4 | A2 | 400003
31 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 400059
32 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
33 | (076K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Ultimate heat sink | 3.5 | K6 | 400076
34 | (022A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 3.9 | A1 | 400022
35 | (004A3.11) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Charging and letdown | 3.9 | A3 | 400004
36 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | A4 | 400073
37 | (008K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW pumps | 3.9 | K2 | 400008
38 | (078K4.07) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Maintaining normal instrument air pressure | 3.1 | K4 | 400078
39 | (005K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.5 / 45.7): Refueling operations | 3.5 | K5 | 400005
40 | (064K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG cooling water system | 4.1 | K1 | 400064
41 | (062A2.20) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of offsite power sources | 3.8 | A2 | 400062
42 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191006K1.04) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Effects of heat exchanger flow rates that are too high or too low and methods of proper flow adjustment | 2.7 | C | 400006
43 | (063K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution system | 4 | K3 | 400063
44 | (026K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400026
45 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | A1 | 400007
46 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
47 | (061A4.03) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump turbines | 4.1 | A4 | 400061
48 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
49 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
50 | (012K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Departure from nucleate boiling | 3.9 | K5 | 400012
51 | (003K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS/RPS | 3.6 | K1 | 400003
52 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
53 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 400103
54 | (076K3.17) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): IAS | 2.8 | K3 | 400076
55 | (056K4.23) Knowledge of (SF4S CDS) CONDENSATE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Demineralizer bypass valve (prevent water impact on resin beds during pump startup) | 2.7 | K4 | 400056
56 | (075K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.5 / 45.8): Isolation of a condenser waterbox at power | 2.9 | K5 | 400075
57 | (072K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8 / 9 / 11): Containment isolation | 3.8 | K1 | 400072
58 | (034A2.02) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Dropped fuel cask | 3.2 | A2 | 400034
59 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (191008K1.03) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Meaning and/or loss of power supply circuit breaker indicator lights and capability to remotely open and close | 3.1 | C | 400045
60 | (035K3.06) Knowledge of the effect that a loss or malfunction of the (SF4P SG) STEAM GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/GB system | 3 | K3 | 400035
61 | (068K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.7 / 45.7 to 45.9): WGS | 2.8 | K6 | 400068
62 | (050A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.5 / 45.5): Lights and alarms | 3.3 | A1 | 400050
63 | (029A3.01) Ability to monitor automatic features of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.7 / 45.5 / 45.8): CPS isolation | 3.4 | A3 | 400029
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G2.4 | G2.4
70 | (192002K1.07) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-eff and discuss its relationship to the state of a reactor (critical, subcritical, and supercritical) | 3.1 | R | 192002
71 | (192008K1.21) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Explain the relationship between steam flow and reactor power given specific conditions | 3.8 | R | 192008
72 | (192004K1.17) REACTIVITY COEFFICIENTS (CFR: 41.1): Explain differences between reactivity coefficients and reactivity defects | 2.7 | R | 192004
73 | (193003K1.17) STEAM (CFR: 41.14): Define the following term: -- subcooling | 3.2 | T | 193003
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
77 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395023
78 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
79 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 395010
80 | (022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Failures of flow control valve or controller | 3.6 | A2 | 395006
81 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395013
82 | (051AA2.01) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Condenser vacuum | 3.7 | A2 | 395033
83 | (395046) (W E16) High Containment Radiation (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 395046
84 | (037AA2.14) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Actions to be taken if S/G goes solid and water enters steamlines | 3.8 | A2 | 395032
85 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395041
86 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
87 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400004
88 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
89 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 400008
90 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.2 | A2 | 400078
91 | (400014) 014 (SF1 RPI) ROD POSITION INDICATION SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400014
92 | (016A2.02) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of power supply | 3.3 | A2 | 400016
93 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 400027
94 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4