## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
2 | (007EK2.12) Knowledge of the relationship between (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.5 | K2 | 395001
3 | (025AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Securing RHR pumps | 3.7 | K3 | 395007
4 | (038EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): RMS | 3.6 | A1 | 395011
5 | (008AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Why PZR level may come back on scale if RCS is saturated | 3.7 | K1 | 395002
6 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395010
7 | (062AA2.02) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The cause of possible SWS loss | 3.8 | A2 | 395018
8 | (015AK2.14) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): Thermal barrier valves | 3.4 | K2 | 395005
9 | (055EK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Length of time for which battery capacity is designed | 4.1 | K3 | 395014
10 | (026AA1.06) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Control of flow rates to components cooled by the CCWS | 3.1 | A1 | 395008
11 | (058AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.6 | K1 | 395017
12 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 395009
13 | (022AA2.06) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): CVCS charging pump ammeters | 3 | A2 | 395006
14 | (054AK2.09) Knowledge of the relationship between (APE 54) LOSS OF Main Feedwater and the following systems or components (CFR: 41.7 / 45.7): AFW | 3.9 | K2 | 395013
15 | (BE04EK3.22) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Lower S/G pressure as required based on source of feed | 4.1 | K3 | 395023
16 | (057AA1.02) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Manual control of PZR level | 3.8 | A1 | 395016
17 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
18 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395004
19 | (BA08AA2.05) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Containment closure | 3.9 | A2 | 395031
20 | (WE14EK2.07) Knowledge of the relationship between (W E14) HIGH CONTAINMENT PRESSURE and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CCS | 4 | K2 | 395039
21 | (037AK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Blocking ESFAS before cooldown | 3.8 | K3 | 395032
22 | (WE15EA1.10) Ability to operate and/or monitor the following as they apply to (W E15) Containment Flooding (CFR: 41.5 to 41.8 / 45.5. to 45.8): AFW system | 3.2 | A1 | 395045
23 | (028AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Cause for PZR level deviation alarm: controller malfunction or other instrument | 3.6 | K1 | 395028
24 | (395044) (W E13) Steam Generator Overpressure (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 395044
25 | (WE06EA2.12) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): CETs and/or subcooling | 4 | A2 | 395040
26 | (001AK2.10) Knowledge of the relationship between (APE 1) CONTINUOUS Rod Withdrawal and the following systems or components (CFR: 41.7 / 45.7): PZR | 3.2 | K2 | 395024
27 | (012A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Individual channels | 3.6 | A1 | 400012
28 | (076K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Radioactive liquid waste discharges | 2.8 | K3 | 400076
29 | (073K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): Postaccident sampling system | 2.7 | K1 | 400073
30 | (007A2.07) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Recirculating PRT/quench tank | 2.8 | A2 | 400007
31 | (063A4.02) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Load shedding | 3.6 | A4 | 400063
32 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 400010
33 | (022K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Postaccident pressure reduction | 2.8 | K5 | 400022
34 | (026K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CCS motor-operated valves | 3.6 | K6 | 400026
35 | (039A3.01) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Moisture separator reheater steam supply | 2.8 | A3 | 400039
36 | (008K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW pumps | 3.9 | K2 | 400008
37 | (013K4.08) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): Redundancy | 3.7 | K4 | 400013
38 | (004A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): PZR pressure and level | 4.2 | A1 | 400004
39 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
40 | (061K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): RCS | 3.9 | K1 | 400061
41 | (059A2.01) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Actuation of AFW system | 4 | A2 | 400059
42 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
43 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (191004K1.06) PUMPS (CFR: 41.3): (CENTRIFUGAL) Need for NPSH; effects of loss of suction | 3.3 | C | 400062
44 | (078K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Diesel effect | 2.8 | K5 | 400078
45 | (005K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR heat exchanger | 3.7 | K6 | 400005
46 | (006A3.06) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Valve lineups | 3.7 | A3 | 400006
47 | (064K2.02) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Fuel oil pumps | 3.2 | K2 | 400064
48 | (012K4.08) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Logic matrix testing | 3.3 | K4 | 400012
49 | (076A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.2 | A1 | 400076
50 | (073K3.06) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): CCWS | 3.2 | K3 | 400073
51 | (007K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Nitrogen system | 2.6 | K1 | 400007
52 | (063A2.04) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Battery malfunctions | 3.9 | A2 | 400063
53 | (010A4.05) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR auxiliary spray valves | 3.2 | A4 | 400010
54 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 400022
55 | (015A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.5 / 45.5): Quadrant power tilt ratio | 3.5 | A1 | 400015
56 | (016K3.09) Knowledge of the effect that a loss or malfunction of the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.8 | K3 | 400016
57 | (086K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FPS) FIRE PROTECTION SYSTEM and the following systems (CFR: 41.4 / 41.7 / 41.8 / 45.7 / 45.8): CCWS | 2.5 | K1 | 400086
58 | (027K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Containment | 3.1 | A2 | 400027
59 | (068A4.02) Ability to manually operate and/or monitor the (SF9 LRS) LIQUID RADWASTE SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Remote radwaste release | 3.1 | A4 | 400068
60 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (191004K1.22) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) NPSH requirements for a positive displacement pump | 2.8 | C | 400072
61 | (071K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.5 / 45.8 / 45.9): Sampling oxygen, hydrogen, and nitrogen concentrations in WGS decay tank; knowledge of limits | 3.3 | K5 | 400071
62 | (055K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.7 / 45.7): Air ejectors | 3.2 | K6 | 400055
63 | (014A3.01) Ability to monitor automatic features of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.6 / 41.7 / 45.7): RPI accuracy | 3.4 | A3 | 400014
64 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192008K1.08) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (CRITICALITY) List parameters that should be monitored and controlled upon reaching criticality | 3.7 | R | 192008
72 | (192004K1.12) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- core age | 2.9 | R | 192004
73 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193008K1.02) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe the means by which boiling affects convection heat transfer | 3 | T | 193008
76 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 395003
77 | (CE05EA2.16) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): CEA position | 3.5 | A2 | 395012
78 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395015
79 | (WE11EA2.17) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Alternate makeup source to RCS flow | 3.5 | A2 | 395022
80 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 395020
81 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A2 | 395021
82 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 395034
83 | (078AA2.11) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): SDM | 3.4 | A2 | 395042
84 | (395025) 000003 (APE 3) Dropped Control Rod (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395025
85 | (067AA2.14) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Equipment that will be affected by fire suppression activities in each zone | 3.3 | A2 | 395037
86 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400026
87 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 3.7 | A2 | 400039
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 400008
89 | (013A2.03) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Rapid depressurization | 4.2 | A2 | 400013
90 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 400004
91 | (045A2.10) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Voltage regulator malfunction | 3.2 | A2 | 400045
92 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 400001
93 | (056A2.17) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): IAS malfunction | 2.9 | A2 | 400056
94 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
100 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4