## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395020
2 | (062AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The automatic actions (alignments) within the service water resulting from the actuation of the ESFAS | 3.9 | K3 | 395018
3 | (008AK2.05) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395002
4 | (011EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Long term cooling of the core | 4.3 | K1 | 395004
5 | (026AA2.06) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The length of time after the loss of CCW flow to a component before that component may be damaged | 3.8 | A2 | 395008
6 | (058AA1.01) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Alternate supply | 3.6 | A1 | 395017
7 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395015
8 | (WE11EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing charging flow | 3.4 | K3 | 395022
9 | (057AK2.11) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): CVCS instrumentation | 3.6 | K2 | 395016
10 | (WE04EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Leakage accumulation in RHR pump area | 3.6 | K1 | 395021
11 | (055EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): RCS core cooling through natural circulation | 4.2 | A2 | 395014
12 | (038EA1.36) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): RCS | 3.8 | A1 | 395011
13 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 395003
14 | (022AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating letdown | 3.7 | K3 | 395006
15 | (027AK2.11) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 3.9 | K2 | 395009
16 | (CE06EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Identification and elimination of RCS voids | 3.3 | K1 | 395013
17 | (065AA2.12) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Implementation of TS and/or TRM as appropriate for loss of, or degraded, IAS | 3 | A2 | 395019
18 | (WE05EA1.09) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): PZR PCS | 3.3 | A1 | 395023
19 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 395040
20 | (076AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maximizing demineralizer flow rates | 3.3 | K3 | 395041
21 | (001AK2.10) Knowledge of the relationship between (APE 1) CONTINUOUS Rod Withdrawal and the following systems or components (CFR: 41.7 / 45.7): PZR | 3.2 | K2 | 395024
22 | (WE15EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.7 / 45.7 / 45.8): Design‑basis flood level in containment | 3.1 | K1 | 395045
23 | (BA08AA2.05) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Containment closure | 3.9 | A2 | 395031
24 | (061AA1.07) Ability to operate and/or monitor the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.7 / 45.5 / 45.6): SFPCS | 3.2 | A1 | 395036
25 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 395056
26 | (032AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures for loss of source range NI | 3.5 | K3 | 395029
27 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
28 | (061A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): S/G pressure | 3.8 | A1 | 400061
29 | (039A2.02) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA | 4.1 | A2 | 400039
30 | (013A4.15) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Upper head injection accumulator isolation | 3.7 | A4 | 400013
31 | (012A3.07) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip breakers | 4.1 | A3 | 400012
32 | (010K2.05) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) Pressure channels | 3.3 | K2 | 400010
33 | (004K4.20) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Purpose of centrifugal pump miniflows (recirculation) | 3.1 | K4 | 400004
34 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400003
35 | (064K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Effects (verification) of stopping an EDG under load on an isolated bus | 3.4 | K5 | 400064
36 | (059K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Auxiliary steam system | 2.9 | K1 | 400059
37 | (078K3.11) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Feedwater system | 3.3 | K3 | 400078
38 | (005K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR flow controllers | 3.7 | K6 | 400005
39 | (007A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): Containment radiation levels | 3.2 | A1 | 400007
40 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.7 | A2 | 400063
41 | (006A4.10) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDSs | 3.6 | A4 | 400006
42 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
43 | (076K2.09) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Intake screens | 2.6 | K2 | 400076
44 | (062K4.01) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bus lockouts | 3.6 | K4 | 400062
45 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (191003K1.07) CONTROLLERS AND POSITIONERS (CFR: 41.7): Safety precautions with respect to the operation of controllers and positioners | 2.6 | C | 400008
46 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
47 | (022K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ESFAS | 4.1 | K1 | 400022
48 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K3 | 400073
49 | (061K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4 | K6 | 400061
50 | (039A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Air ejector PRM | 3.1 | A1 | 400039
51 | (013A2.07) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Loss of IAS | 2.6 | A2 | 400013
52 | (012A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manual trip button or handswitch | 4.4 | A4 | 400012
53 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
54 | (004K2.02) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Pumps used to makeup to CVCS | 3 | K2 | 400004
55 | (002K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.7 / 45.7): Valves | 3.2 | K6 | 400002
56 | (034A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.5 / 41.6 / 43.7 / 45.5 / 45.8): Refueling water level | 3.6 | A1 | 400034
57 | (011A2.10) Ability to (a) predict the impacts of the following on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR level instrument – high | 3.9 | A2 | 400011
58 | (016A4.01) Ability to manually operate and/or monitor the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): NNI channel select controls | 3.3 | A4 | 400016
59 | (027K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Containment | 3.1 | A3 | 400027
60 | (017K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.5 / 45.7): Thermocouple open and short circuits | 3.3 | K2 | 400017
61 | (041K4.18) Knowledge of (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Turbine trip | 3.8 | K4 | 400041
62 | (400029) 029 (SF8 CPS) CONTAINMENT PURGE SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400029
63 | (035K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P SG) STEAM GENERATOR SYSTEM (CFR: 41.5 / 45.7): S/G tube leakage detection | 4.1 | K5 | 400035
64 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
71 | (192004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- moderator temperature | 2.9 | R | 192004
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193007K1.01) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe three mechanisms of heat transfer | 2.5 | T | 193007
74 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
75 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
76 | (BE05EA2.12) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): EFW pumps, valves, and/or flow | 3.9 | A2 | 395012
77 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395001
78 | (025AA2.15) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Refueling water cavity level | 3.7 | A2 | 395007
79 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 395010
80 | (015AA2.09) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP high stator temperature | 3.4 | A2 | 395005
81 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 395020
82 | (028AA2.02) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): PZR level as a function of power level, T-ave., Tc, or the appropriate parameter from which the PZR level is programmed | 3.7 | A2 | 395028
83 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395043
84 | (069AA2.02) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Verification of automatic and/or manual means of restoring integrity | 4 | A2 | 395039
85 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395033
86 | (003A2.04) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of fluctuation of VCT pressure on RCP seal injection flow | 3.2 | A2 | 400003
87 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 400064
88 | (059A2.13) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of condensate/heater draining flow | 2.8 | A2 | 400059
89 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 400078
90 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.9 | A2 | 400005
91 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400055
92 | (056A2.07) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Removal of condensate demineralizer from service | 2.5 | A2 | 400056
93 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 400072
94 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G2.4 | G2.4