## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE11EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Blocking low steamline pressure SI when PZR pressure lowers less than P-11 setpoint during cooldown | 3.4 | K1 | 395022
2 | (022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Failures of flow control valve or controller | 3.5 | A2 | 395006
3 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 395005
4 | (058AA1.05) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Valves or components affected by loss of DC | 3.9 | A1 | 395017
5 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
6 | (027AK2.11) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR PORVs | 3.9 | K2 | 395009
7 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
8 | (062AA2.02) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The cause of possible SWS loss | 3.8 | A2 | 395018
9 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 395011
10 | (029EA1.17) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): ECCS | 3.8 | A1 | 395010
11 | (CE02EK3.16) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to ensure RCS temperature control during reactor trip recovery | 4 | K3 | 395001
12 | (056AK2.12) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395015
13 | (026AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to the SFPCS | 3.6 | K1 | 395008
14 | (065AA2.12) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Implementation of TS and/or TRM as appropriate for loss of, or degraded, IAS | 3 | A2 | 395019
15 | (395014) 000055 (EPE 55) Station Blackout (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 395014
16 | (WE05EA1.13) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): ECCS | 3.9 | A1 | 395023
17 | (011EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Starting service water pumps | 3.8 | K3 | 395004
18 | (WE04EK2.03) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395021
19 | (074EK1.14) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.8 / 41.10 / 45.3): Containment hydrogen concentration | 3.2 | K1 | 395040
20 | (028AA2.01) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): PZR level | 4 | A2 | 395028
21 | (395045) (W E15) Containment Flooding (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395045
22 | (WE02EA1.21) Ability to operate and/or monitor the following as they apply to (W E02) SI TERMINATION (CFR: 41.5 to 4.18 / 45.5 to 45.8): AFW system | 3.7 | A1 | 395043
23 | (024AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs/AOPs for emergency boration | 4.1 | K3 | 395027
24 | (068AK2.16) Knowledge of the relationship between (APE 68) Control Room Evacuation and the following systems or components (CFR: 41.7 / 45.7): Electrical distribution system | 3.7 | K2 | 395038
25 | (WE16EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Value(s) of high radiation and/or associated radiation monitors that require entry into the FRZ EOP for high radiation | 3.4 | K1 | 395046
26 | (051AA2.03) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Circulating water flow | 3 | A2 | 395033
27 | (006A4.03) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Transfer from BAT to BIT | 3.4 | A4 | 400006
28 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
29 | (004A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Normal operating band for letdown flow rate | 3.3 | A1 | 400004
30 | (005K3.06) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CSS | 3.6 | K3 | 400005
31 | (039K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Use of steam pressure program control when steam dumping through atmospheric relief/dump valves, including T-ave. limits | 3.5 | K5 | 400039
32 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 400059
33 | (063K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery | 4 | K6 | 400063
34 | (010A3.05) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PORV and block valve operation | 3.8 | A3 | 400010
35 | (064K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG building ventilation system | 3.3 | K1 | 400064
36 | (076A2.03) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Pump and/or motor failure | 3.9 | A2 | 400076
37 | (062K4.02) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Circuit breaker automatic trips | 3.6 | K4 | 400062
38 | (061A4.01) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4.2 | A4 | 400061
39 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
40 | (022A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.3 | A1 | 400022
41 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
42 | (007K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Principles of steam quenching | 3 | K5 | 400007
43 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191002K1.10) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Theory and operation of pressure detectors (bourdon tubes, diaphragms, bellows, forced balance, variable capacitance, and D/P cell) | 2.5 | C | 400003
44 | (008K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): RCP cooling water flow instrument | 3.1 | K6 | 400008
45 | (078A3.05) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air to containment | 3.3 | A3 | 400078
46 | (103K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ECCS | 3.8 | K1 | 400103
47 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
48 | (006K4.24) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Water inventory control | 3.3 | K4 | 400006
49 | (013A4.16) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): ESF testing | 3.3 | A4 | 400013
50 | (004K2.06) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Control instrumentation | 3.3 | K2 | 400004
51 | (005A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RWST level | 3.4 | A1 | 400005
52 | (039K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.4 | K3 | 400039
53 | (059K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Reasons for monitoring MFW pump suction flow/pressure | 3.3 | K5 | 400059
54 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400063
55 | (072A4.02) Ability to manually operate and/or monitor the (SF7 ARM) AREA RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Radiation monitor function | 3.4 | A4 | 400072
56 | (014K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF1 RPI) ROD POSITION INDICATION SYSTEM Rod position main control room display panel | 3 | K2 | 400014
57 | (071A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): PVS | 2.7 | A1 | 400071
58 | (045K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MRSS | 3 | K3 | 400045
59 | (035K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P SG) STEAM GENERATOR SYSTEM (CFR: 41.5 / 45.7): Chemistry control | 2.9 | K5 | 400035
60 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (191002K1.03) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Effects of gas or steam on liquid flow rate indications (erroneous reading) | 2.9 | C | 400028
61 | (017K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.7 / 45.7): Temperature measuring device (for example thermocouple) | 3.2 | K6 | 400017
62 | (033K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 2.6 | A3 | 400033
63 | (027K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CSS | 3.2 | K1 | 400027
64 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192008K1.17) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Describe reactor power and startup rate response after reaching the POAH | 3.4 | R | 192008
71 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
72 | (192005K1.05) CONTROL RODS (CFR: 41.1): Define control rod worth, differential control rod worth, and integral control rod worth | 3.1 | R | 192005
73 | (193007K1.06) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.3 | T | 193007
74 | (193003K1.08) STEAM (CFR: 41.14): Define the following term: -- saturated liquid | 2.8 | T | 193003
75 | (193006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- pressure spike | 2.7 | T | 193006
76 | (025AA2.07) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Pump cavitation | 4 | A2 | 395007
77 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 395020
78 | (054AA2.08) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Steam flow and/or MFW flow | 3.4 | A2 | 395013
79 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395012
80 | (008AA2.05) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PORV block valve position | 3.9 | A2 | 395002
81 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395022
82 | (061AA2.02) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Normal operating characteristics | 3.1 | A2 | 395036
83 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 395031
84 | (WE03EA2.03) Ability to determine and/or interpret the following as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.10 / 43.5 / 45.13): RCS pressure, temperature, and/or PZR level | 4.2 | A2 | 395053
85 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395024
86 | (010A2.03) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PORV failures | 4 | A2 | 400010
87 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400064
88 | (076A2.07) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Heat exchanger and condenser failure | 3.2 | A2 | 400076
89 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 400062
90 | (061A2.06) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Backleakage of MFW | 3 | A2 | 400061
91 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400055
92 | (050A2.04) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Initiation/failure of FPS | 3 | A2 | 400050
93 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 400016
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G2.4 | G2.4