## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (029EK2.12) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): CRDS | 3.9 | K2 | 395010
2 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395023
3 | (007EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): Failure of an automatic safety function to operate | 4.3 | A2 | 395001
4 | (025AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Start an RHR pump | 3.8 | K3 | 395007
5 | (077AA1.04) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): Reactor controls | 3.6 | A1 | 395020
6 | (027AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Why pressure recovers much more slowly if the PZR level is lost and then re | 3.2 | K1 | 395009
7 | (015AK2.08) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): CCWS | 3.5 | K2 | 395005
8 | (395021) (W E04) LOCA Outside Containment (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395021
9 | (062AA2.06) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The length of time after the loss of SWS flow to a component before that component may be damaged | 3.3 | A2 | 395018
10 | (038EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Securing RCPs | 3.6 | K3 | 395011
11 | (056AA1.37) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Instrument air | 3.4 | A1 | 395015
12 | (055EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): RCP seal leakage and inventory control | 4 | K1 | 395014
13 | (WE12EK2.15) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CSS | 3.8 | K2 | 395012
14 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395004
15 | (057AA2.21) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RWST level | 3.1 | A2 | 395016
16 | (022AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Avoiding plant transients | 3.5 | K3 | 395006
17 | (058AA1.06) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): DC distribution system | 3.7 | A1 | 395017
18 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
19 | (032AK2.03) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): RPS | 3.9 | K2 | 395029
20 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395039
21 | (001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395024
22 | (WE16EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Placing containment atmosphere filtration system in service | 3.3 | K3 | 395046
23 | (051AA1.01) Ability to operate and/or monitor the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.7 / 45.5 / 45.6): Condenser vacuum pump | 3.1 | A1 | 395033
24 | (WE03EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.7 / 45.7 / 45.8): Positive PZR level-measurement error for plants without sealed reference legs | 3.3 | K1 | 395053
25 | (024AK2.09) Knowledge of the relationship between (APE 24) EMERGENCY Boration and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395027
26 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395026
27 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
28 | (006K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): LPI ECCS pumps for CSS | 3.7 | K5 | 400006
29 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
30 | (012A4.04) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Bistable, trips, reset, and test switches | 3.9 | A4 | 400012
31 | (004A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): VCT level | 3.8 | A1 | 400004
32 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 400063
33 | (061K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Cooling water for AFW components | 3.4 | K1 | 400061
34 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
35 | (026K4.10) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic start of CSS | 4.1 | K4 | 400026
36 | (059K6.18) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW pump malfunctions | 3.7 | K6 | 400059
37 | (003K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.9 | K3 | 400003
38 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
39 | (062K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Consequence of paralleling out-of-phase/mismatch in volts | 3.7 | K5 | 400062
40 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
41 | (008A4.12) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): CRDM temperatures | 2.9 | A4 | 400008
42 | (005A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Detection of RHR leak | 3.7 | A1 | 400005
43 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191005K1.05) MOTORS AND GENERATORS (CFR: 41.7): Explanation of the difference between starting current and operating (running) current in a motor | 2.8 | C | 400103
44 | (073K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): Postaccident sampling system | 2.7 | K1 | 400073
45 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.9 | A2 | 400078
46 | (010K4.01) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Spray valve warmup | 2.8 | K4 | 400010
47 | (076K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Service water pumps | 3.7 | K6 | 400076
48 | (007K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.9): Containment | 3.4 | K3 | 400007
49 | (006A3.03) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): ESFAS-operated valves | 4.2 | A3 | 400006
50 | (013K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.3 to 41.5 / 45.7): Avoidance of PTS | 3.7 | K5 | 400013
51 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
52 | (004A4.14) Ability to manually operate and/or monitor the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM in the control room (CFR: 41.5 to 41.7 / 45.5 to 45.8): Ion exchangers and demineralizers | 3 | A4 | 400004
53 | (063A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery charger voltage and/or current | 3.3 | A1 | 400063
54 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 400061
55 | (056A3.09) Ability to monitor automatic features of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.7 / 45.5): Automatic protection of MFW pump low suction pressure | 3.6 | A3 | 400056
56 | (033K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.5 / 45.7): Decay heat | 3.8 | K5 | 400033
57 | (050K2.01) Knowledge of electrical power supplies to the following: (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.7) Fans | 3 | K2 | 400050
58 | (028A4.03) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Hydrogen sampling | 2.7 | A4 | 400028
59 | (002A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM, including (CFR: 41.5 / 45.7): RCS T-ref. | 3.7 | A1 | 400002
60 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (191004K1.08) PUMPS (CFR: 41.3): (CENTRIFUGAL) Purpose of starting a pump with discharge valve closed | 2.6 | C | 400086
61 | (035K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P SG) STEAM GENERATOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.1 | K1 | 400035
62 | (029A2.02) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): Adverse environmental conditions affecting radioactive release | 3 | A2 | 400029
63 | (068K4.03) Knowledge of (SF9 LRS) LIQUID RADWASTE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic system realignments | 3 | K4 | 400068
64 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
71 | (192005K1.05) CONTROL RODS (CFR: 41.1): Define control rod worth, differential control rod worth, and integral control rod worth | 3.1 | R | 192005
72 | (192006K1.02) FISSION PRODUCT POISONS (CFR: 41.1): State the characteristics of xenon‑135 as a fission product poison | 3.1 | R | 192006
73 | (193009K1.06) CORE THERMAL LIMITS (CFR: 41.14): Describe the function of the core protection calculator (thermal margin calculator) | 3.7 | T | 193009
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
76 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 395022
77 | (026AA2.06) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The length of time after the loss of CCW flow to a component before that component may be damaged | 3.3 | A2 | 395008
78 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 395013
79 | (008AA2.15) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): ECCS status | 3.9 | A2 | 395002
80 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 395019
81 | (029EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Reactor power | 4.1 | A2 | 395010
82 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395028
83 | (WE08EA2.09) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): Charging flow | 3.5 | A2 | 395056
84 | (395037) 000067 (APE 67) Plant Fire On Site (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 395037
85 | (WE13EA2.02) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 3.9 | A2 | 395044
86 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400022
87 | (026A2.08) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): When to secure CSS | 3.7 | A2 | 400026
88 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400059
89 | (003A2.05) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of VCT pressure on RCP seal leakoff flows | 3.2 | A2 | 400003
90 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 400039
91 | (001A2.18) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Incorrect rod stepping sequence | 3.6 | A2 | 400001
92 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 400075
93 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.2 | A2 | 400017
94 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G2.4 | G2.4