## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE04EK2.05) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS leakage paths to outside containment | 4 | K2 | 395021
2 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 395016
3 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.2 | A2 | 395005
4 | (058AA1.03) Ability to operate and/or monitor the following as they apply to (APE 58) LOSS OF DC Power (CFR: 41.7 / 45.5 / 45.6): Vital bus and battery bus components | 3.8 | A1 | 395017
5 | (009EK3.22) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maintenance of heat sink | 3.9 | K3 | 395003
6 | (062AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.8 / 41.10 / 45.3): Knowledge of backup cooling water systems | 3.5 | K1 | 395018
7 | (077AK2.09) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Motors for ESF pumps | 3.6 | K2 | 395020
8 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395023
9 | (029EA2.14) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a reactor trip | 4.6 | A2 | 395010
10 | (WE11EA1.04) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): ESFAS | 3.9 | A1 | 395022
11 | (CE02EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions and/or contingency actions to verify containment isolation during standard post‑trip actions | 4.1 | K3 | 395001
12 | (022AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Relationship between charging flow and PZR level | 3.6 | K1 | 395006
13 | (025AK2.13) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.9 | K2 | 395007
14 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 395009
15 | (038EA2.24) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Reactor coolant temperature/ITM | 4 | A2 | 395011
16 | (056AA1.37) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Instrument air | 3.4 | A1 | 395015
17 | (054AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs for loss of MFW | 3.9 | K3 | 395013
18 | (008AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Expected RCS response from an open PORV or code safety | 4.1 | K1 | 395002
19 | (005AK2.09) Knowledge of the relationship between (APE 5) INOPERABLE/STUCK Control Rod and the following systems or components (CFR: 41.7 / 45.7): MT/G | 2.9 | K2 | 395026
20 | (395046) (W E16) High Containment Radiation (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 395046
21 | (036AA2.01) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Radiation monitoring equipment indications | 3.1 | A2 | 395031
22 | (078AA1.04) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.9 | A1 | 395042
23 | (051AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor and/or turbine | 4.2 | K3 | 395033
24 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
25 | (WE03EK2.08) Knowledge of the relationship between (W E03) LOCA COOLDOWN AND Depressurization and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): NIS | 3.1 | K2 | 395053
26 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395028
27 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
28 | (039A2.02) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA | 4.1 | A2 | 400039
29 | (005K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM Containment isolation valves | 3.3 | K2 | 400005
30 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G | 400063
31 | (006K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): ESFAS | 4.4 | K1 | 400006
32 | (076K3.12) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Switch gear room coolers | 3 | K3 | 400076
33 | (004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Definition of pH, reasons for importance, and range of acceptability in RCS | 2.7 | K5 | 400004
34 | (022K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Cooling water system | 3.5 | K6 | 400022
35 | (003A1.14) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.5 | A1 | 400003
36 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A4 | 400073
37 | (059K4.01) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): MFW and startup feedwater valve combination | 3.2 | K4 | 400059
38 | (010A3.03) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR heater operation | 3.3 | A3 | 400010
39 | (064A2.15) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Water buildup in cylinders | 3.4 | A2 | 400064
40 | (078K2.01) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 400078
41 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191003K1.11) CONTROLLERS AND POSITIONERS (CFR: 41.7): Cautions for placing a valve controller in manual mode | 2.9 | C | 400061
42 | (103K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ECCS | 3.8 | K1 | 400103
43 | (008K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): RCP | 4.2 | K3 | 400008
44 | (062K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Exceeding current limitations | 3.4 | K5 | 400062
45 | (026K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): ESFAS | 4.1 | K6 | 400026
46 | (013A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): Main control room HVAC filtration system status | 3.4 | A1 | 400013
47 | (007A4.04) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PZR vent valve | 3.2 | A4 | 400007
48 | (012K4.06) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic or manual enable/disable of RPS trips | 4.1 | K4 | 400012
49 | (039A3.01) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Moisture separator reheater steam supply | 2.8 | A3 | 400039
50 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
51 | (063K2.03) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery chargers | 4 | K2 | 400063
52 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 400006
53 | (076K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): RHRS | 3.6 | K1 | 400076
54 | (004K3.04) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): RCPS | 3.7 | K3 | 400004
55 | (017K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | A3 | 400017
56 | (071A2.01) Ability to (a) predict the impacts of the following on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): High oxygen concentration | 3.6 | A2 | 400071
57 | (034K4.01) Knowledge of (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7 / 43.7 / 45.8): Fuel protection from binding and dropping | 3.1 | K2 | 400034
58 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (191002K1.16) SENSORS AND DETECTORS (CFR: 41.7): (POSITION DETECTORS) Applications of reed switches, magnets, LVDTs, potentiometers, and limit switches | 2.7 | C | 400028
59 | (072K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8 / 9 / 11): Fuel building isolation | 3.6 | K1 | 400072
60 | (001K3.03) Knowledge of the effect that a loss or malfunction of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM will have on the following systems or system parameters (CFR: 41.6): CCW | 2.5 | K3 | 400001
61 | (033K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.5 / 45.7): Decay heat | 3.8 | K5 | 400033
62 | (041K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.7 / 45.7): Controller and positioners, including ICS (BW), S/G, and CRDS | 3.2 | K6 | 400041
63 | (029A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Radiation levels | 3.2 | A1 | 400029
64 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.4 | G2.4
70 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
71 | (192005K1.03) CONTROL RODS (CFR: 41.1): Predict direction of change in reactor power for a change in control rod position | 3.6 | R | 192005
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 395004
77 | (CE05EA2.16) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): CEA position | 3.5 | A2 | 395012
78 | (395014) 000055 (EPE 55) Station Blackout (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 395014
79 | (065AA2.12) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Implementation of TS and/or TRM as appropriate for loss of, or degraded, IAS | 3.7 | A2 | 395019
80 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 395008
81 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
82 | (395027) 000024 (APE 24) Emergency Boration (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395027
83 | (WE15EA2.01) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.8 | A2 | 395045
84 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 395029
85 | (076AA2.08) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): Implement TS as applicable | 3.9 | A2 | 395041
86 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 400022
87 | (003A2.01) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Problems with RCP seals, especially seal leakoff rates | 4 | A2 | 400003
88 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 400073
89 | (059A2.06) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of steam flow to MFW system | 3.4 | A2 | 400059
90 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 400010
91 | (016A2.02) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of power supply | 3.3 | A2 | 400016
92 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 400086
93 | (055A2.03) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of air ejector cooling water | 2.9 | A2 | 400055
94 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4
100 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4