## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
2 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395004
3 | (WE11EA2.11) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Core exit temperatures and/or subcooling | 3.5 | A2 | 395022
4 | (040AK2.08) Knowledge of the relationship between (APE 40) STEAM LINE RUPTURE and the following systems or components (CFR: 41.7 / 45.7): CNT | 3.7 | K2 | 395012
5 | (062AA1.01) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Service water temperature indications | 3.4 | A1 | 395018
6 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
7 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
8 | (395021) (W E04) LOCA Outside Containment (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395021
9 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.4 | A2 | 395017
10 | (015AK2.11) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): AC electrical distribution (transformer) | 3.2 | K2 | 395005
11 | (055EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395014
12 | (025AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Core cooling | 4.2 | K1 | 395007
13 | (029EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Closing the MSIVs | 3.7 | K3 | 395010
14 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G | 395008
15 | (CE06EA2.06) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): PZR level and pressure | 3.7 | A2 | 395013
16 | (057AK2.07) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): Secondary system instrumentation | 3.3 | K2 | 395016
17 | (BE04EA1.05) Ability to operate and/or monitor the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.5 to 45.8): Makeup and purification system | 3.7 | A1 | 395023
18 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
19 | (033AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Termination of startup following loss of intermediate range instrumentation | 3.6 | K3 | 395030
20 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 395034
21 | (WE15EA2.01) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 2.5 | A2 | 395045
22 | (037AK2.09) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): S/GB | 3.2 | K2 | 395032
23 | (WE16EA1.06) Ability to operate and/or monitor the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 to 41.8 / 45.5. to 45.8): ARM system | 3.4 | A1 | 395046
24 | (BE09EK1.14) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary heat transfer | 4.2 | K1 | 395054
25 | (061AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in alarm response for the ARM system | 3.4 | K3 | 395036
26 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 3 | G | 395033
27 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
28 | (078K4.06) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Maintaining dry air | 2.9 | K4 | 400078
29 | (010K2.03) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PORV and block valves | 3.4 | K2 | 400010
30 | (064A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.5 | A1 | 400064
31 | (003K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): CVCS | 3.4 | K6 | 400003
32 | (005K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SFPCS | 3.1 | K1 | 400005
33 | (012A2.04) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Erratic power supply operation | 3.4 | A2 | 400012
34 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A4 | 400073
35 | (059K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Quadrant power tilt | 2.5 | K5 | 400059
36 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400004
37 | (008K3.03) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): RCP | 4.2 | K3 | 400008
38 | (061A3.03) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): Automatic AFW S/G level control | 3.8 | A3 | 400061
39 | (006K4.08) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Recirculation flowpath of reactor building sump | 3.9 | K4 | 400006
40 | (007A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank temperature | 3 | K2 | 400007
41 | (026A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment sump level | 3.9 | A1 | 400026
42 | (062K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Grounds | 3.1 | K6 | 400062
43 | (076K1.18) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): SWS normal heat loads | 3.2 | K1 | 400076
44 | (063A2.05) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of all AC | 4.2 | A2 | 400063
45 | (013A4.05) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): ECCS signal actuation/reset | 4 | A4 | 400013
46 | (039K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Indications and alarms for main steam and radiation monitors (during S/G tube rupture) | 4 | K5 | 400039
47 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191002K1.13) SENSORS AND DETECTORS (CFR: 41.7): (TEMPERATURE) Theory and operation of thermocouple, RTD, thermostats, and/or thermometers (expanding fluid) | 2.8 | C | 400103
48 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
49 | (078A3.04) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air from service air | 3.1 | A3 | 400078
50 | (010K4.01) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Spray valve warmup | 2.8 | K4 | 400010
51 | (064K2.03) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Control power | 3.7 | K2 | 400064
52 | (003A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCP pump and motor bearing temperatures | 3.7 | A1 | 400003
53 | (005K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR heat exchanger | 3.7 | K6 | 400005
54 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
55 | (002A3.01) Ability to monitor automatic features of the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM, including (CFR: 41.7 / 45.5): Reactor coolant leak detection system | 3.9 | A3 | 400002
56 | (033K4.06) Knowledge of (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): K-eff | 3.3 | K4 | 400033
57 | (001K2.01) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) M/G sets | 3.6 | K2 | 400001
58 | (014A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Axial and/or radial power distribution | 3.8 | A1 | 400014
59 | (068K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.7 / 45.7 to 45.9): CWS | 2.6 | K6 | 400068
60 | (041K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): MT/G system | 3 | K1 | 400041
61 | (034A2.08) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Refueling/fuel handling machine malfunction | 2.6 | A2 | 400034
62 | (028A4.01) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): HRPS controls | 2.8 | A4 | 400028
63 | (075K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.5 / 45.8): Isolation of a condenser waterbox at power | 2.9 | K5 | 400075
64 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
70 | (192006K1.06) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- transient xenon | 3.4 | R | 192006
71 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
72 | (192004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- moderator temperature | 2.9 | R | 192004
73 | (193007K1.05) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Define core thermal power | 2.9 | T | 193007
74 | (193006K1.11) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- water hammer | 3.4 | T | 193006
75 | (193003K1.08) STEAM (CFR: 41.14): Define the following term: -- saturated liquid | 2.8 | T | 193003
76 | (038EA2.18) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Steam and/or feedwater flow for mismatched condition | 3.3 | A2 | 395011
77 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 395006
78 | (056AA2.07) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of AFW | 4.2 | A2 | 395015
79 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395001
80 | (009EA2.39) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Adequate core cooling | 4.2 | A2 | 395003
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395002
82 | (WE08EA2.11) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): S/G level, pressure, and/or feedwater flow | 3.5 | A2 | 395056
83 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 395041
84 | (001AA2.09) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): RPI | 3.8 | A2 | 395024
85 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 395035
86 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
87 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400059
88 | (004A2.28) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Depressurizing of RCS while it is hot | 3.1 | A2 | 400004
89 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400008
90 | (061A2.07) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Air-operated valve, solenoid-operated valve, or motor-operated valve failure | 3.5 | A2 | 400061
91 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 400015
92 | (055A2.01) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CWS | 3.3 | A2 | 400055
93 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 400045
94 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4